### Antarctic Automatic Weather Station Data

for the calendar year 2000

by

- Linda M. Keller

George A. Weidner

Charles R. Stearns

Matthew T. Whittaker

Robert E. Holmes

Matthew A. Lazzara

Space Science and Engineering Center

University of Wisconsin

1225 W. Dayton St.

Madison, Wisconsin

December 2004

- Antarctic Automatic Weather Station Data

- For The Calendar Year

2000

by

- Linda M. Keller

- George A. Weidner

- Charles R. Stearns

- Matthew T. Whittaker

- Robert E. Holmes

Matthew A. Lazzara

- Space Science and Engineering Center

- University of Wisconsin

- 1225 W. Dayton St.

- Madison, Wisconsin

December 2004

- TABLE OF CONTENTS

- Page

1.  Introduction.........................................................................................................................	  1

2.  Data Transmission..............................................................................................................   	  1

3.  AWS Identification and Location......................................................................................... 	  1

4.  AWS Data Summaries........................................................................................................   	  9

4.1. Monthly Data Summaries..............................................................................................  	  9

D-10..............................................................................................................................	 10

D-47..............................................................................................................................	 10

D-57…………………………………………………………………………………………….	 10

Dome C II..................................................................................................................... 	 11

Port Martin…………………………………………………………………………………….	 11

Cape Denison…………………………………………………………………………………	 11

Penguin Point............................................................................................................... 	 12

Sutton........................................................................................................................... 	 12

Byrd Station.................................................................................................................. 	 12

Mount Siple...................................................................................................................  	 13                   Theresa........................................................................................................................ 	 13

Doug............................................................................................................................. 	 13

Elizabeth....................................................................................................................... 	 14

Brianna…………………………………………………………………………………………           14

Harry……………………………………………………………………………………………	 14

Erin............................................................................................................................... 	 15

Siple Dome................................................................................................................... 	 15

Swithinbank................................................................................................................... 	 15

Noel/ITASE……………………………………………………………………………………            16

Marble Point..................................................................................................................	 16

Ferrell............................................................................................................................ 	 16

Pegasus North...............................................................................................................	 16

Pegasus South.............................................................................................................. 	 17

Minna Bluff.................................................................................................................... 	 17

Linda............................................................................................................................. 	 17

Willie Field....................................................................................................................	 18

Windless Bight..............................................................................................................	 18

Herbie Alley……………………………………………………………………………………	 18

Cape Spencer…………………………………………………………………………………	 19

Cape Bird....................................................................................................................... 	 19

Laurie II……...................................................................................................................	 19

Possession Island..........................................................................................................	 20

Manuela.........................................................................................................................	 20

Marilyn...........................................................................................................................	 20

Schwerdtfeger................................................................................................................	 21

Gill.................................................................................................................................	 21

Lettau............................................................................................................................	 21

Elaine............................................................................................................................	 22

Larsen Ice Shelf.............................................................................................................	 22

Butler Island................................................................................................................... 	 22

Uranus Glacier…………………………………………………………………………………          23

Limbert.......................................................................................................................... 	 23

Racer Rock.................................................................................................................... 	 23

Bonaparte Point.............................................................................................................	 24

Sky-Blu............................................................................................................................ 	 24

Santa Claus Island......................................................................................................... 	 24

Clean Air (South Pole)................................................................................................... 	 25

Henry............................................................................................................................. 	 25

Nico............................................................................................................................... 	 25

Relay Station.................................................................................................................	 26

Mizuho………………………………………………………………………………………….           26

4.2. Three Hourly Data Summaries....................................................................................... 	 27

5.   AWS Calibration................................................................................................................. 	 27

5.1. Temperature................................................................................................................. 	 27

5.2. Pressure....................................................................................................................... 	 27

5.3. Wind Direction and Speed............................................................................................ 	 27

5.4. Relative Humidity......................................................................................................... 	 28

5.5. Vertical Air Temperature Difference.............................................................................. 	 28

6.   AWS Operations Summary for 2000...................................................................................	 28

6.1. AWS Performance........................................................................................................ 	 28

6.2. AWS Antarctic Field Activities....................................................................................... 	 30

7.   Global Telecommunications System.................................................................................... 	 32

8.   Data Availability................................................................................................................... 	 32

9.   Acknowledgments................................................................................................................ 	 33

- 1.  INTRODUCTION

A network of automatic weather station (AWS) units is deployed to collect Antarctic surface weather observations in support of specific meteorological research projects as well as operational activities in  Antarctica.  The 2000 network consisted of 52 installed AWS units providing observations on the Ross Ice Shelf, east of the Transantarctic Mountains and north of McMurdo to the Adelie Coast, along the Antarctic Peninsula, West Antarctica, and climatological locations such as the South Pole.  Each unit measures air temperature, wind speed, and wind direction at the top of the unit's tower at a nominal height of three meters and air pressure at the electronics enclosure (Figure 1).  Some AWS units also measure the relative humidity at three meters and vertical air temperature difference between 0.5 and 3 meters.  Measurement heights relative to the actual surface at the site are nominal due to snow accumulation around the AWS unit.

- 2.  DATA TRANSMISSION

The transmitted AWS data are received and stored by the ARGOS data collection system on the NOAA series of polar orbiting satellites.  The data are retransmitted by the satellite for use in the High Resolution Picture Transmission (HRPT) broadcast at McMurdo, Antarctica.  The data are processed into scientific units and are available for local use.  The complete data set is received at the University of Wisconsin-Madison from Service ARGOS, Largo, Maryland, for processing and distribution to the users.

- 3.  AWS IDENTIFICATION AND LOCATION

Site location is defined by the latitude and longitude which is determined by various methods: sun shots, angles to geographical features, aircraft data, ice breaker data, the platform location system of Service ARGOS, and the Global Positioning System.  AWS elevation is obtained by barometry and Global Positioning System (GPS) and should be correct to within +/- 5 meters.  Site names were introduced for convenience. Table 3.1 lists the site name, ARGOS identification number, latitude, longitude, elevation, start date for the site, and the World Meteorological Organization (WMO) number for the site.  Figures 2, 3, and 4 show the locations of the AWS units in the Antarctic for 2000.

The ARGOS identification number (ID) is used to identify the data sets distributed to the users.  AWS units are sometimes moved from one location to another, and as a result, the ID at a given site may change from year to year. The site name does not change. Table 3.2 lists the site name with the ARGOS ID, the site start date, and the ID start and stop dates.

Figure 1.  Layout of the AWS unit used in the Antarctic.  The installed AWS unit has a 3-meter tower with a horizontal boom supporting the antenna, aerovane for measuring wind speed and direction, air temperature resistance thermometer, upper thermopile for measuring vertical air temperature difference, and the relative humidity sensor.  The electronics enclosure is mounted at the midpoint of the tower.  The gel cell batteries are placed at the tower base.  The solar panel, located near the tower top, faces north. The Acoustic Depth Gauge (ADG) is installed on some of the AWS units to measure snow depth for precipitation studies.

# Table 3.1

AWS site name, geographic location and elevation, site start date, and WMO number for 2000.

| Site Name | ARGOS ID | Lat. (deg ) | Long. (deg) | Elev. (m) | Site Start Date | WMO No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ## Adelie Land |  |  |  |
| D-10 | 8914 | 66.71oS | 139.83oE | 243 | 08 Jan 80 | 89832 |
| D-47 | 8986 | 67.397oS | 138.726oE | 1560 | 24 Nov 82 | 89834 |
| D-57 | 8912 | 68.20oS | 137.54oE | 2105 M | 16 Jan 81 |  |
| Dome C II | 8989 | 75.121oS | 123.374oE | 3250 | 12 Dec 95 | 89828 |
| Port Martin | #8909 | 66.82oS | 141.40oE | 39 | 19 Jan 90 |  |
| Cape Denison | 8988 | 67.009oS | 142.664oE | 31 | 20 Jan 90 |  |
| Penguin Point | 8910 | 67.617oS | 146.18oE | 30 | 24 Dec 92 | 89847 |
| Sutton | 8939 | 67.08oS | 141.37oE | 871 | 26 Dec 94 |  |
|  |  |  | ## West Antarctica |  |  |  |
| Byrd Station | 8903 | 80.007oS | 119.404oW | 1530 | 05 Feb 80 | 89324 |
| Mount Siple | 8981 | 73.198oS | 127.052oW | 230 | 20 Feb 92 | 89327 |
| Theresa | 21358 | 84.599oS | 115.811oW | 1463 | 29 Nov 94 | 89314 |
| Doug | 8922 | 82.315oS | 113.24oW | 1433 | 29 Nov 94 |  |
| Elizabeth | 21361 | 82.607oS | 137.078oW | 519 | 30 Nov 94 | 89332 |
| Brianna | 21362 | 83.889oS | 134.150oW | 526 | 30 Nov 94 |  |
| Harry | 8900 | 83.003S | 121.393W | 945 | 29 Nov 94 |  |
| Erin | 21363 | 84.904oS | 128.828oW | 990 | 29 Nov 94 |  |
| Siple Dome | 8938 | 81.656oS | 148.773oW | 668 | 21 Jan 97 | 89345 |
| Swithinbank | 21356 | 81.20oS | 126.174oW | 945 | 18 Jan 97 |  |
| Noel/ITASE* | #8936 | 79.334oS | 111.077oW | 1833 | 19 Jan 00 |  |
|  |  |  | ## Ross Island Region |  |  |  |
| Marble Point | 8906 | 77.439oS | 163.754oE | 108 | 05 Feb 80 | 89866 |
| Ferrell | #21355 | 77.910oS | 170.817oE | 45 | 10 Dec 80 | 89872 |
| Pegasus North | #21357 | 77.952oS | 166.500oE | 8 | 23 Jan 90 | 89667 |
| Pegasus South | 8937 | 77.99oS | 166.576oE | 10 | 14 Jan 91 |  |
| Minna Bluff | 8935 | 78.554oS | 166.656oE | 920 | 22 Jan 91 | 89768 |
| Linda | 8919 | 78.464oS | 168.382oE | 47 | 21 Jan 91 | 89769 |
| Willie Field | 8929 | 77.865oS | 167.017oE | 40 | 25 Jan 92 |  |
| Windless Bight | 8927 | 77.728oS | 167.703oE | 61 | 09 Dec 98 |  |
| Herbie Alley | 8697 | 78.10oS | 166.67oE | 30 | 11 Jan 99 |  |
| Cape Spencer | 8722 | 77.97oS | 167.55oE | 30 | 11 Jan 99 |  |
| Cape Bird | 8901 | 77.224oS | 166.440oE | 42 | 28 Jan 99 |  |
| Laurie II* | #21364 | 77.549oS | 170.817oE | 30 | 1 Feb 00 |  |
|  |  |  | ## Ocean Islands |  |  |  |
| Whitlock | 8921 | 76.144oS | 168.392oE | 274 | 23 Jan 82 | 89865 |
| Possession Is. | 8984 | 71.891oS | 171.21oE | 30 | 29 Dec 92 | 89879 |
| Manuela | 8905 | 74.946oS | 163.687oE | 80 | 06 Feb 84 | 89864 |
|  |  |  | ## Ross Ice Shelf |  |  |  |
| Marilyn | 8931 | 79.954oS | 165.13oE | 75 | 16 Jan 84 | 89869 |
| Schwerdtfeger | 8913 | 79.904oS | 169.973oE | 60 | 24 Jan 85 | 89868 |
| Gill | 8911 | 79.985oS | 178.611oW | 55 | 24 Jan 85 | 89376 |
| Lettau | 8908 | 82.518oS | 174.452oW | 55 | 29 Jan 86 | 89377 |
| Elaine | 8915 | 83.134oS | 174.169oE | 60 | 28 Jan 86 | 89873 |

| Site Name | ARGOS ID | Lat. (deg) | Long. (deg) | Elev. (m) | Site Start Date | WMO No. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ## Antarctic Peninsula |  |  |  |
| Larsen Ice | 8926 | 66.949oS | 60.897oW | 17 | 21 Oct 85 | 89262 |
| Butler Island | 8902 | 72.207oS | 60.160oW | 91 | 01 Mar 86 | 89266 |
| Uranus Glacier | 8920 | 71.43oS | 68.93oW | 780 | 06 Mar 86 | 89264 |
| Limbert | 8925 | 75.422oS | 59.851oW | 40 | 30 Nov 95 |  |
| Racer Rock | 8947 | 64.067oS | 61.613oW | 17 | 15 Oct 89 | 89261 |
| Bonaparte Pt. | 8923 | 64.778oS | 64.067oW | 8 | 05 Jan 92 | 89269 |
| Sky-Blu | 8917 | 74.972oS | 71.489oW |  | 07 Feb 99 |  |
| Santa Claus Is. | 8933 | 64.964oS | 65.67oW | 25 | 10 Dec 94 |  |
|  |  |  | ## High Polar Plateau |  |  |  |
| Clean Air | 8987 | 90.00oS |  | 2835 | 29 Jan 86 | 89208 |
| Henry | 8985 | 89.011oS | 1.025oW | 2755 | 26 Jan 93 | 89108 |
| Nico | 8924 | 89.00oS | 89.669oE | 2935 | 26 Jan 93 | 89799 |
| Relay Station | 8918 | 74.017oS | 43.062oE | 3353 | 01 Feb 95 | 89744 |
| Mizuho* | #21359 | 70.70oS | 44.29oE | 2260 | 07 Oct 00 |  |

* New sites started during 2000

# New ARGOS ID for 2000 at the site

Figure 2.  Antarctic automatic weather station locations during 2000 identified by the site name. Area         around Ross Island is shown in Figure 3. Adelie Coast area is shown in Figure 4.

Figure 3.  Location of Antarctic automatic weather stations in the vicinity of Ross Island, Antarctica during 2000.

Figure 4.  Location of Antarctic automatic weather stations along the Adelie Coast during 2000.

- Table 3.2

2000 Antarctic AWS site name, ARGOS identification number (ID), site start date, ID start date, and ID stop date if occurring in 2000.

| Site | ARGOS ID | Site Start Date | ID Start Date | ID Stop Date |
| --- | --- | --- | --- | --- |
| D-10 | 8914 | 08 Jan 80 | 28 Jan 98 |  |
| D-47 | 8986 | 24 Nov 82 | 11 Feb 96 |  |
| Dome C II | 8989 | 12 Dec 95 | 12 Dec 95 |  |
| Port Martin | 8930 | 19 Jan 90 | 23 Dec 92 | 18 Dec 00 |
|  | 8909 |  | 18 Dec 00 |  |
| Cape Denison | 8988 | 20 Jan 90 | 17 Dec 99 |  |
| Penguin Point | 8910 | 24 Dec 92 | 21 Dec 98 |  |
| Sutton | 8939 | 26 Dec 94 | 26 Dec 94 |  |
| Byrd Station | 8903 | 05 Feb 80 | 05 Feb 80 |  |
| Mount Siple | 8981 | 20 Feb 92 | 20 Feb 92 |  |
| Theresa | 21358 | 29 Nov 94 | 29 Nov 94 |  |
| Doug | 8922 | 29 Nov 94 | 20 Jan 97 |  |
| Brianna | 21362 | 30 Nov 94 | 30 Nov 94 |  |
| Harry | 8900 | 29 Nov 94 | 26 Jan 99 |  |
| Elizabeth | 21361 | 30 Nov 94 | 17 Jan 96 |  |
| Erin | 21363 | 29 Nov 94 | 18 Jan 96 |  |
| Siple Dome | 8938 | 21 Jan 97 | 24 Jan 99 |  |
| Swithinbank | 21356 | 18 Jan 97 | 18 Jan 97 |  |
| Noel/ITASE | 8936 | 19 Jan 00 | 19 Jan 00 |  |
| Marble Point | 8906 | 05 Feb 80 | 05 Feb 80 |  |
| Ferrell | 8934 | 10 Dec 80 | 13 Jan 93 | 01 Feb 00 |
|  | 21355 |  | 01 Feb 00 |  |
| Pegasus North | 8928 | 23 Jan 90 | 13 Jan 99 | 03 Feb 00 |
|  | 21357 |  | 03 Feb 00 |  |
| Pegasus South | 8937 | 14 Jan 91 | 14 Jan 91 |  |
| Minna Bluff | 8935 | 22 Jan 91 | 25 Jan 99 |  |
| Linda | 8919 | 21 Jan 91 | 15 Jan 98 |  |
| Willie Field | 8929 | 25 Jan 92 | 16 Jan 99 |  |
| Windless Bight | 8927 | 09 Dec 98 | 25 Jan 99 |  |
| Herbie Alley | 8697 | 11 Jan 99 | 11 Jan 99 |  |
| Cape Spencer | 8722 | 11 Jan 99 | 11 Jan 99 |  |
| Cape Bird | 8901 | 28 Jan 99 | 28 Jan 99 |  |
| Laurie II | 21364 | 01 Feb 00 | 01 Feb 00 |  |
| Whitlock | 8921 | 23 Jan 82 | 23 Feb 94 |  |
| Possession Island | 8984 | 29 Dec 92 | 29 Dec 92 |  |
| Marilyn | 8931 | 16 Jan 84 | 18 Jan 91 |  |
| Schwerdtfeger | 8913 | 24 Jan 85 | 22 Jan 93 |  |
| Gill | 8911 | 24 Jan 85 | 25 Jan 91 |  |
| Elaine | 8915 | 23 Jan 93 | 02 Jan 97 |  |
| Lettau | 8908 | 29 Jan 86 | 29 Jan 86 |  |
| Manuela | 8905 | 06 Feb 84 | 15 Feb 87 |  |
| Larsen Ice Shelf | 8926 | 21 Oct 85 | 01 Jan 86 |  |
| Butler Island | 8902 | 01 Mar 86 | 01 Mar 86 |  |
| Uranus Glacier | 8920 | 06 Mar 86 | 24 Jan 92 |  |
| Limbert | 8925 | 30 Nov 95 | 30 Nov 95 |  |
| Racer Rock | 8947 | 15 Oct 89 | 08 Dec 91 |  |
| Bonaparte Point | 8923 | 05 Jan 92 | 23 Dec 96 |  |
| Sky-Blu | 8917 | 07 Feb 99 | 07 Feb 99 |  |
| Santa Claus Is. | 8933 | 10 Dec 94 | 07 Dec 99 |  |
| Clean Air | 8987 | 29 Jan 86 | 25 Jan 94 |  |
| Henry | 8985 | 26 Jan 93 | 26 Jan 93 |  |
| Nico | 8924 | 26 Jan 93 | 26 Jan 93 |  |
| Relay Station | 8918 | 01 Feb 95 | 01 Feb 95 |  |
| Dome Fuji | 8904 | 08 Feb 95 | 04 Feb 97 |  |
| Mizuho | 21359 | 07 Oct 00 | 07 Oct 00 |  |

4. AWS DATA SUMMARIES

The data received by the University of Wisconsin, Space Science and Engineering Center, contain all the information received by the ARGOS system including duplicate and erroneous transmissions.  Invalid data are eliminated during a quality check, and the valid data are converted to scientific units producing the complete data set.  Data selected at three hourly intervals, plus or minus forty minutes, produce a three hourly data set for each AWS unit month.  Section 6.1, AWS Performance, provides some explanations for missing and invalid data.

Use of the 2000 Antarctic AWS data for publication should acknowledge the support of NSF-OPP Grant 9726040 or reference this publication.

- 4.1.  Monthly Data Summaries

The monthly summaries consist of the monthly means, from the three hourly data set, and the extremes, from the complete data set.  For monthly values to be included, 25% of the three hourly observations must be available.  Months with 50-75% of data missing occur most often when a station is started or stopped in the middle of the month.  This can cause a bias in the monthly mean, especially during seasons when parameters such as temperature change rapidly.  Annual means are calculated only when twelve months of data are available.  The data are presented in the same order as the sites listed in Table 3.1.  Definitions of the monthly data summary headings are listed below.

Heading                                                Definition

Mean air temperature, oC.	Mean value for the month.

Percent of monthly data missing. 	Ratio of the number of missing observations to the number of

possible observations X 100.

Maximum air temperature, oC.	Maximum value for the month.

Minimum air temperature, oC.	Minimum value for the month.

Mean wind speed, m/s. 		            Mean value for the month.

Percent of monthly data missing.	Ratio of the number of missing observations to the number of

possible observations X 100.

Resultant wind speed, dir/vv.	Resultant speed and direction for the month.

Constancy.                  		Ratio of the monthly resultant to the monthly mean wind speed.

Maximum wind speed, dir/vv.	Maximum wind speed and direction for the month.

Mean air pressure, mb.		Mean value for the month.

Percent of monthly data missing.	Ratio of the number of missing observations to the number of

possible observations X 100.

Maximum air pressure, mb.	Maximum value for the month.

Minimum air pressure, mb.	Minimum value for the month.

Potential temperature, K                    Mean value for the month.

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| D-10 (8914) |  |  | 66.71S |  |  |  | 139.83E |  |  |  | 243 M |  |  |  |  |  |
| Jan | -6.0 | 02 | 2.5 | -13.8 | 8.5 | 02 | 148 | 7.5 | 0.88 | 132 | 24 | 948.5 | 02 | 967.7 | 926.7 | 271.2 |
| Feb | -8.4 | 03 | -0.8 | -17.5 | 10.3 | 02 | 155 | 9.8 | 0.95 | 156 | 34 | 951.4 | 02 | 969.6 | 936.0 | 268.5 |
| Mar | -12.4 | 03 | -5.8 | -21.4 | 10.8 | 03 | 157 | 10.3 | 0.95 | 146 | 29 | 951.4 | 03 | 962.8 | 935.3 | 264.5 |
| Apr | -20.0 | 05 | -8.0 | -28.1 | 11.0 | 05 | 163 | 10.6 | 0.96 | 161 | 34 | 951.1 | 05 | 968.9 | 933.0 | 256.9 |
| May | -17.0 | 08 | -10.1 | -27.9 | 14.2 | 08 | 160 | 13.6 | 0.96 | 165 | 35 | 943.9 | 08 | 982.5 | 921.4 | 260.4 |
| Jun | -18.6 | 06 | -12.0 | -32.4 | 10.6 | 08 | 154 | 10.1 | 0.95 | 156 | 33 | 953.8 | 06 | 969.9 | 934.2 | 258.0 |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug | -16.7 | 30 | -2.2 | -36.0 | 8.4 | 38 | 161 | 6.6 | 0.79 | 178 | 28 | 960.8 | 30 | 977.8 | 934.4 | 259.4 |
| Sep | -12.0 | 70 | -3.1 | -24.0 | 9.1 | 70 | 150 | 8.9 | 0.98 | 157 | 30 | 973.0 | 70 | 988.3 | 947.5 | 263.2 |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov | -7.3 | 25 | 1.8 | -15.5 | 9.8 | 25 | 149 | 8.8 | 0.90 | 180 | 25 | 955.6 | 25 | 970.2 | 938.1 | 269.3 |
| Dec | -4.1 | 08 | 1.9 | -11.6 | 9.1 | 08 | 144 | 8.5 | 0.93 | 149 | 24 | 959.8 | 08 | 977.1 | 950.1 | 272.2 |
| D-47 (8986) |  |  | 67.40S |  |  |  | 138.73E |  |  |  | 1560 M |  |  |  |  |  |
| Jan |  |  |  |  | 10.3 | 02 | 055 | 9.6 | 0.93 | 046 | 22 | 805.1 | 00 | 819.8 | 789.4 |  |
| Feb |  |  |  |  | 11.0 | 00 | 049 | 10.2 | 0.92 | 021 | 24 | 807.2 | 00 | 822.7 | 795.3 |  |
| Mar |  |  |  |  | 12.0 | 01 | 057 | 11.4 | 0.95 | 049 | 23 | 805.5 | 01 | 814.9 | 792.4 |  |
| Apr |  |  |  |  | 13.2 | 01 | 068 | 12.9 | 0.98 | 078 | 23 | 801.7 | 01 | 816.1 | 787.2 |  |
| May |  |  |  |  | 13.8 | 08 | 061 | 13.3 | 0.97 | 060 | 26 | 796.6 | 08 | 832.3 | 780.3 |  |
| Jun |  |  |  |  | 12.7 | 12 | 056 | 12.2 | 0.97 | 050 | 23 | 804.0 | 12 | 820.4 | 788.1 |  |
| Jul |  |  |  |  | 12.5 | 37 | 067 | 11.7 | 0.93 | 043 | 24 | 806.4 | 37 | 819.1 | 793.0 |  |
| Aug |  |  |  |  | 11.9 | 64 | 071 | 11.7 | 0.98 | 074 | 21 | 803.9 | 64 | 817.2 | 783.0 |  |
| Sep |  |  |  |  | 12.6 | 39 | 050 | 11.8 | 0.94 | 050 | 25 | 799.7 | 39 | 807.6 | 789.8 |  |
| Oct |  |  |  |  | 11.1 | 16 | 057 | 10.7 | 0.96 | 043 | 25 | 795.6 | 16 | 808.0 | 775.9 |  |
| Nov |  |  |  |  | 12.1 | 19 | 061 | 11.4 | 0.95 | 036 | 25 | 810.9 | 19 | 825.1 | 794.9 |  |
| Dec |  |  |  |  | 10.6 | 04 | 056 | 10.3 | 0.97 | 053 | 20 | 815.8 | 04 | 832.4 | 808.4 |  |
| MEAN |  |  |  |  | 12.0 |  | 059 | 11.4 | 0.95 |  |  | 804.4 |  |  |  |  |
| D-57 (8912) |  |  | 68.20S |  |  |  | 137.54E |  |  |  | 2105 M |  |  |  |  |  |
| Jan | -18.6 | 47 | -9.0 | -28.5 | 8.4 | 47 | 128 | 7.2 | 0.85 | 084 | 19 | 747.4 | 47 | 760.5 | 736.4 | 276.7 |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Dome C II (8989) |  |  | 75.12S |  |  |  | 123.37E |  |  |  | 3250 M |  |  |  |  |  |
| Jan | -30.1 | 00 | -18.2 | -45.9 | 3.0 | 00 | 191 | 2.0 | 0.65 | 106 | 10 | 650.2 | 00 | 660.6 | 643.8 | 274.9 |
| Feb | -40.8 | 03 | -23.6 | -60.2 | 2.6 | 03 | 282 | 1.3 | 0.50 | 023 | 9 | 649.4 | 03 | 663.6 | 632.7 | 262.9 |
| Mar | -55.1 | 00 | -35.8 | -69.4 | 3.0 | 00 | 209 | 1.5 | 0.49 | 201 | 9 | 647.8 | 00 | 659.6 | 640.5 | 246.9 |
| Apr | -64.4 | 00 | -51.0 | -76.6 | 4.0 | 00 | 202 | 3.6 | 0.90 | 213 | 15 | 649.4 | 00 | 659.6 | 636.6 | 236.3 |
| May | -62.6 | 01 | -45.2 | -76.0 | 3.3 | 01 | 162 | 1.6 | 0.47 | 133 | 12 | 647.0 | 01 | 676.9 | 634.5 | 238.5 |
| Jun | -61.0 | 00 | -41.8 | -75.4 | 3.0 | 00 | 193 | 2.0 | 0.67 | 168 | 11 | 651.7 | 00 | 665.3 | 634.5 | 239.8 |
| Jul | -62.5 | 00 | -38.1 | -79.1 | 2.4 | 00 | 216 | 0.5 | 0.20 | 054 | 14 | 651.2 | 00 | 675.9 | 631.0 | 238.2 |
| Aug | -60.9 | 02 | -33.0 | -78.9 | 3.5 | 02 | 254 | 1.2 | 0.34 | 309 | 13 | 651.0 | 02 | 666.1 | 632.1 | 240.0 |
| Sep | -53.7 | 00 | -30.0 | -74.4 | 2.8 | 00 | 251 | 0.2 | 0.08 | 275 | 9 | 653.7 | 00 | 683.3 | 634.5 | 247.8 |
| Oct | -52.9 | 00 | -34.6 | -67.8 | 3.3 | 00 | 165 | 1.3 | 0.38 | 262 | 13 | 641.4 | 00 | 651.5 | 632.2 | 250.0 |
| Nov | -38.5 | 00 | -22.8 | -62.2 | 4.2 | 00 | 214 | 3.3 | 0.79 | 261 | 11 | 658.4 | 00 | 670.8 | 633.7 | 264.5 |
| Dec | -28.8 | 00 | -16.5 | -39.9 | 3.0 | 00 | 180 | 2.5 | 0.83 | 188 | 10 | 659.1 | 00 | 672.6 | 650.0 | 275.3 |
| MEAN | -50.9 |  |  |  | 3.2 |  | 202 | 1.5 | 0.53 |  |  | 650.9 |  |  |  |  |
| Port Martin (8909) |  |  | 66.82S |  |  |  | 141.40E |  |  |  | 39 M |  |  |  |  |  |
| Jan | -3.9 | 04 | 1.8 | -11.5 | 13.9 | 04 | 166 | 13.2 | 0.95 | 165 | 34 | 980.7 | 04 | 1000.0 | 958.4 | 270.7 |
| Feb | -6.8 | 06 | 0.6 | -15.2 | 17.3 | 50 | 171 | 16.8 | 0.97 | 176 | 46 | 984.2 | 06 | 1004.3 | 969.1 | 267.6 |
| Mar | -11.5 | 06 | -3.2 | -20.9 |  |  |  |  |  |  |  | 985.0 | 06 | 997.5 | 969.4 | 262.8 |
| Apr | -19.1 | 07 | -6.0 | -26.2 |  |  |  |  |  |  |  | 985.4 | 07 | 1003.6 | 965.1 | 255.1 |
| May | -16.1 | 07 | -9.0 | -26.4 |  |  |  |  |  |  |  | 978.0 | 07 | 1019.3 | 953.5 | 258.7 |
| Jun | -17.5 | 08 | -9.8 | -29.1 |  |  |  |  |  |  |  | 987.7 | 08 | 1006.1 | 967.9 | 256.6 |
| Jul | -16.1 | 10 | -8.5 | -29.6 |  |  |  |  |  |  |  | 989.1 | 11 | 1009.2 | 968.2 | 257.8 |
| Aug | -16.3 | 10 | -1.1 | -30.4 |  |  |  |  |  |  |  | 994.0 | 10 | 1011.7 | 967.6 | 257.3 |
| Sep | -12.5 | 10 | -1.8 | -22.6 |  |  |  |  |  |  |  | 988.3 | 10 | 1023.3 | 959.7 | 261.6 |
| Oct | -13.9 | 09 | -4.6 | -21.6 |  |  |  |  |  |  |  | 975.6 | 09 | 991.2 | 947.9 | 261.1 |
| Nov | -6.7 | 12 | 2.5 | -17.6 |  |  |  |  |  |  |  | 988.9 | 12 | 1007.5 | 969.6 | 267.3 |
| Dec | -1.9 | 10 | 3.6 | -8.2 |  |  |  |  |  |  |  | 991.9 | 10 | 1009.2 | 981.8 | 271.9 |
| MEAN | -11.9 |  |  |  |  |  |  |  |  |  |  | 985.7 |  |  |  |  |
| Cape Denison (8988) |  |  | 67.01S |  |  |  | 142.67E |  |  |  | 30 M |  |  |  |  |  |
| Jan | -2.8 | 02 | 3.5 | -10.1 | 13.9 | 02 | 152 | 13.1 | 0.94 | 164 | 32 | 980.0 | 02 | 999.4 | 958.7 | 272.0 |
| Feb | -6.1 | 03 | 1.1 | -13.0 | 20.2 | 03 | 159 | 20.0 | 0.97 | 158 | 50 | 983.5 | 03 | 1003.1 | 969.3 | 268.3 |
| Mar | -12.0 | 04 | -1.2 | -21.6 | 25.0 | 04 | 163 | 24.5 | 0.98 | 157 | 46 | 984.1 | 04 | 997.3 | 967.2 | 262.3 |
| Apr | -20.5 | 10 | -6.4 | -27.5 | 27.6 | 10 | 163 | 27.2 | 0.98 | 167 | 50 | 985.6 | 11 | 1003.0 | 966.2 | 253.8 |
| May |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun | -17.0 | 28 | -8.9 | -28.5 | 24.5 | 28 | 162 | 23.7 | 0.97 | 167 | 56 | 988.9 | 28 | 1005.8 | 969.2 | 256.9 |
| Jul | -15.9 | 20 | -8.0 | -25.5 | 22.9 | 20 | 165 | 22.4 | 0.98 | 161 | 49 | 988.3 | 20 | 1002.2 | 973.3 | 258.1 |
| Aug | -15.9 | 26 | -0.1 | -32.0 | 17.2 | 26 | 165 | 16.2 | 0.94 | 156 | 56 | 994.2 | 26 | 1009.1 | 967.9 | 257.6 |
| Sep | -13.7 | 54 | -4.1 | -23.1 | 23.0 | 54 | 162 | 22.5 | 0.98 | 140 | 53 | 994.4 | 54 | 1025.5 | 968.1 | 259.8 |
| Oct | -12.9 | 39 | -3.2 | -20.9 | 21.5 | 39 | 162 | 19.9 | 0.92 | 170 | 52 | 977.4 | 40 | 990.8 | 949.2 | 262.0 |
| Nov | -6.4 | 08 | 3.4 | -18.8 | 19.6 | 08 | 160 | 18.8 | 0.96 | 170 | 47 | 987.9 | 08 | 1007.3 | 968.1 | 267.7 |
| Dec | -0.8 | 08 | 5.9 | -7.1 | 14.5 | 08 | 150 | 13.7 | 0.95 | 161 | 39 | 991.2 | 08 | 1007.5 | 981.5 | 273.1 |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Penguin Point (8910) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 67.62S |  |  |  | 146.18E |  |  |  | 30 M |  |  |  |  |  |
| Jan | -3.8 | 03 | 2.6 | -10.8 | 7.5 | 03 | 168 | 7.0 | 0.93 | 147 | 21 | 973.3 | 03 | 990.6 | 955.9 | 271.5 |
| Feb | -7.3 | 04 | -0.1 | -15.0 | 12.9 | 03 | 169 | 12.2 | 0.94 | 150 | 45 | 977.0 | 03 | 997.5 | 964.8 | 267.7 |
| Mar | -11.9 | 04 | -2.6 | -22.5 | 14.3 | 03 | 178 | 13.7 | 0.95 | 181 | 37 | 977.4 | 03 | 993.8 | 958.8 | 262.9 |
| Apr | -20.5 | 04 | -7.8 | -30.0 | 15.4 | 04 | 184 | 14.8 | 0.96 | 192 | 38 | 977.8 | 04 | 996.9 | 958.7 | 254.3 |
| May | -15.7 | 03 | -5.8 | -28.6 | 16.0 | 03 | 168 | 14.9 | 0.93 | 178 | 49 | 970.1 | 03 | 1007.7 | 948.3 | 259.7 |
| Jun | -20.0 | 03 | -11.4 | -34.4 | 17.0 | 28 | 171 | 16.2 | 0.95 | 174 | 38 | 981.4 | 03 | 1005.7 | 964.2 | 254.5 |
| Jul | -17.8 | 04 | -7.0 | -35.8 | 15.2 | 04 | 172 | 14.1 | 0.93 | 171 | 41 | 981.8 | 04 | 1003.7 | 960.2 | 256.7 |
| Aug | -17.2 | 25 | -3.9 | -30.9 | 11.5 | 25 | 175 | 10.6 | 0.92 | 201 | 48 | 989.6 | 25 | 1004.2 | 971.6 | 256.8 |
| Sep | -13.9 | 04 | -0.2 | -29.2 | 15.5 | 04 | 164 | 14.6 | 0.94 | 178 | 37 | 983.1 | 04 | 1020.4 | 953.7 | 260.5 |
| Oct | -14.7 | 03 | -4.9 | -24.4 | 14.3 | 03 | 171 | 13.4 | 0.93 | 174 | 47 | 968.2 | 03 | 982.4 | 947.3 | 260.9 |
| Nov | -7.9 | 03 | 3.1 | -21.4 | 11.6 | 03 | 173 | 11.1 | 0.96 | 180 | 40 | 980.7 | 03 | 1001.1 | 961.0 | 266.7 |
| Dec | -1.7 | 02 | 3.6 | -7.4 | 10.2 | 02 | 154 | 9.7 | 0.95 | 178 | 33 | 985.3 | 02 | 1000.1 | 976.7 | 272.6 |
| MEAN | -12.7 |  |  |  | 13.5 |  | 171 | 12.6 | 0.94 |  |  | 978.8 |  |  |  |  |
| Sutton (8939) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 67.08S |  |  |  | 141.37E |  |  |  | 871 M |  |  |  |  |  |
| Jan | -11.9 | 00 | -2.9 | -21.2 |  |  |  |  |  |  |  | 878.6 | 00 | 893.6 | 860.3 | 271.2 |
| Feb | -15.0 | 05 | -6.8 | -25.2 |  |  |  |  |  |  |  | 881.1 | 05 | 898.5 | 867.9 | 267.7 |
| Mar | -20.6 | 02 | -11.2 | -31.0 |  |  |  |  |  |  |  | 879.8 | 02 | 891.6 | 864.1 | 262.0 |
| Apr | -29.0 | 02 | -16.0 | -35.9 |  |  |  |  |  |  |  | 876.8 | 02 | 893.5 | 861.1 | 253.5 |
| May | -25.2 | 04 | -16.8 | -36.5 |  |  |  |  |  |  |  | 871.3 | 04 | 904.6 | 851.5 | 257.9 |
| Jun | -26.6 | 04 | -18.4 | -39.5 |  |  |  |  |  |  |  | 879.8 | 04 | 896.4 | 861.1 | 255.7 |
| Jul | -25.2 | 04 | -17.9 | -35.2 |  |  |  |  |  |  |  | 882.2 | 04 | 901.2 | 865.3 | 257.0 |
| Aug | -26.8 | 74 | -20.8 | -33.1 |  |  |  |  |  |  |  | 883.9 | 74 | 892.3 | 874.1 | 255.2 |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct | -20.4 | 67 | -12.8 | -30.4 |  |  |  |  |  |  |  | 872.1 | 67 | 884.5 | 849.0 | 262.8 |
| Nov | -14.2 | 37 | -4.9 | -27.4 |  |  |  |  |  |  |  | 886.9 | 37 | 901.2 | 868.7 | 268.0 |
| Dec | -10.1 | 49 | -2.9 | -17.9 |  |  |  |  |  |  |  | 887.4 | 49 | 893.5 | 880.2 | 272.2 |
| Byrd (8903) |  |  | 80.01S |  |  |  | 119.4W |  |  |  | 1530 M |  |  |  |  |  |
| Jan | -17.3 | 00 | -9.6 | -27.4 |  |  |  |  |  |  |  | 809.8 | 00 | 820.7 | 800.6 | 271.8 |
| Feb | -19.7 | 00 | -10.2 | -33.8 |  |  |  |  |  |  |  | 812.6 | 00 | 823.5 | 789.1 | 268.9 |
| Mar | -22.7 | 00 | -10.6 | -42.3 |  |  |  |  |  |  |  | 813.6 | 00 | 829.1 | 802.0 | 265.7 |
| Apr | -35.0 | 00 | -14.6 | -51.4 |  |  |  |  |  |  |  | 808.6 | 00 | 820.7 | 795.6 | 253.1 |
| May | -30.3 | 01 | -16.9 | -50.7 |  |  |  |  |  |  |  | 809.7 | 01 | 835.4 | 789.5 | 258.0 |
| Jun | -30.9 | 00 | -11.0 | -50.9 |  |  |  |  |  |  |  | 811.0 | 00 | 822.7 | 788.2 | 257.2 |
| Jul | -30.3 | 00 | -14.7 | -55.0 |  |  |  |  |  |  |  | 805.7 | 00 | 828.1 | 779.3 | 258.4 |
| Aug | -35.2 | 00 | -18.9 | -56.0 |  |  |  |  |  |  |  | 809.2 | 00 | 828.5 | 788.3 | 252.9 |

|  | Mean | % of |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air |  |  | Min Air |  |  | Wind |  |  | Mon |  |  | Result |  |  |  |  |  |  |  |  | Max |  |  |  |  |  |  |  | Air |  |  | Mon |  |  | Max Air |  |  | Min Air |  |  | Potential |  |  |
|  | Temp | Data | Temp |  |  | Temp |  |  | Speed |  |  | Data |  |  | Wind |  |  |  |  |  |  |  |  | Wind |  |  |  |  |  |  |  | Press |  |  | Data |  |  | Press |  |  | Press |  |  | Temp |  |  |
| Mon | (C) | Abs | (C) |  |  | (C) |  |  | (m/s) |  |  | Abs |  |  | (dir |  |  | vv) |  |  | Con |  |  | (dir |  |  | vv) |  |  |  |  | (mb) |  |  | Abs |  |  | (mb) |  |  | (mb) |  |  | (K) |  |  |
| Mount Siple (8981) |  |  | 73.20S |  |  |  |  |  |  |  |  |  |  |  | 127.0W |  |  |  |  |  |  |  |  |  |  |  | 230 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -3.4 | 02 | 1.9 |  |  | -7.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb | -4.3 | 03 | 0.1 |  |  | -9.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar | -6.2 | 01 | -1.6 |  |  | -13.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 955.1 |  |  | 01 |  |  | 983.4 |  |  | 926.6 |  |  | 270.6 |  |  |
| Apr | -13.9 | 00 | -2.9 |  |  | -27.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 953.4 |  |  | 00 |  |  | 971.8 |  |  | 938.5 |  |  | 262.8 |  |  |
| May | -11.8 | 06 | -2.6 |  |  | -23.8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 952.3 |  |  | 06 |  |  | 983.1 |  |  | 922.6 |  |  | 265.0 |  |  |
| Jun | -15.1 | 05 | -2.0 |  |  | -26.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 955.9 |  |  | 05 |  |  | 982.1 |  |  | 921.5 |  |  | 261.4 |  |  |
| Jul | -15.1 | 06 | -3.0 |  |  | -33.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 949.7 |  |  | 06 |  |  | 979.3 |  |  | 913.7 |  |  | 261.9 |  |  |
| Aug | -14.6 | 08 | -4.6 |  |  | -29.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 953.5 |  |  | 08 |  |  | 976.4 |  |  | 918.4 |  |  | 262.1 |  |  |
| Sep | -13.8 | 03 | -1.4 |  |  | -26.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 959.0 |  |  | 03 |  |  | 1000.5 |  |  | 915.5 |  |  | 262.6 |  |  |
| Oct | -12.5 | 03 | -1.6 |  |  | -22.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 947.4 |  |  | 03 |  |  | 969.4 |  |  | 917.3 |  |  | 264.8 |  |  |
| Nov | -6.3 | 05 | 0.4 |  |  | -15.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 952.5 |  |  | 28 |  |  | 975.3 |  |  | 926.4 |  |  | 269.9 |  |  |
| Dec | -3.7 | 02 | 0.5 |  |  | -7.6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MEAN | -10.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Theresa (21358) |  |  | 84.60S |  |  |  |  |  |  |  |  |  |  |  | 115.8W |  |  |  |  |  |  |  |  |  |  |  | 1463 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -14.2 | 02 | -7.1 |  |  | -21.2 |  |  | 6.6 |  |  | 02 |  |  | 072 |  |  | 6.2 |  |  | 0.94 |  |  | 073 |  |  | 16 |  |  |  |  | 815.7 |  |  | 02 |  |  | 829.4 |  |  | 808.7 |  |  | 274.5 |  |  |
| Feb | -16.4 | 00 | -10.5 |  |  | -24.4 |  |  | 8.5 |  |  | 00 |  |  | 077 |  |  | 8.2 |  |  | 0.96 |  |  | 085 |  |  | 25 |  |  |  |  | 818.1 |  |  | 00 |  |  | 830.2 |  |  | 798.8 |  |  | 272.0 |  |  |
| Mar | -20.7 | 00 | -9.1 |  |  | -33.9 |  |  | 9.9 |  |  | 07 |  |  | 077 |  |  | 9.3 |  |  | 0.95 |  |  | 071 |  |  | 28 |  |  |  |  | 820.2 |  |  | 00 |  |  | 833.2 |  |  | 807.8 |  |  | 267.2 |  |  |
| Apr | -26.9 | 00 | -13.6 |  |  | -37.0 |  |  | 10.5 |  |  | 00 |  |  | 079 |  |  | 9.6 |  |  | 0.92 |  |  | 094 |  |  | 21 |  |  |  |  | 816.1 |  |  | 00 |  |  | 826.8 |  |  | 800.5 |  |  | 261.0 |  |  |
| May | -27.5 | 01 | -14.5 |  |  | -50.8 |  |  | 9.0 |  |  | 01 |  |  | 062 |  |  | 8.0 |  |  | 0.89 |  |  | 068 |  |  | 22 |  |  |  |  | 814.8 |  |  | 01 |  |  | 842.3 |  |  | 799.4 |  |  | 260.5 |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul | -29.5 | 69 | -19.5 |  |  | -38.9 |  |  | 14.1 |  |  | 69 |  |  | 082 |  |  | 13.0 |  |  | 0.92 |  |  | 105 |  |  | 26 |  |  |  |  | 808.1 |  |  | 69 |  |  | 819.6 |  |  | 793.6 |  |  | 259.0 |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct | -22.4 | 00 | -11.2 |  |  | -36.5 |  |  | 9.3 |  |  | 07 |  |  | 073 |  |  | 8.7 |  |  | 0.94 |  |  | 085 |  |  | 22 |  |  |  |  | 810.0 |  |  | 00 |  |  | 823.5 |  |  | 795.4 |  |  | 266.3 |  |  |
| Nov | -16.9 | 00 | -8.0 |  |  | -25.6 |  |  | 9.5 |  |  | 00 |  |  | 084 |  |  | 9.0 |  |  | 0.94 |  |  | 073 |  |  | 27 |  |  |  |  | 820.6 |  |  | 00 |  |  | 834.2 |  |  | 794.8 |  |  | 271.1 |  |  |
| Dec | -13.6 | 00 | -8.0 |  |  | -18.6 |  |  | 6.2 |  |  | 00 |  |  | 081 |  |  | 5.5 |  |  | 0.88 |  |  | 080 |  |  | 13 |  |  |  |  | 829.0 |  |  | 00 |  |  | 841.2 |  |  | 821.6 |  |  | 273.8 |  |  |
| Doug (8922) |  |  | 82.32 S |  |  |  |  |  |  |  |  |  |  |  | 113.2W |  |  |  |  |  |  |  |  |  |  |  | 1433 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -16.5 | 06 | -7.6 |  |  | -23.2 |  |  | 6.2 |  |  | 06 |  |  | 092 |  |  | 5.5 |  |  | 0.88 |  |  | 080 |  |  | 14 |  |  |  |  | 810.8 |  |  | 06 |  |  | 823.9 |  |  | 803.1 |  |  | 272.6 |  |  |
| Feb | -17.9 | 00 | -10.5 |  |  | -25.1 |  |  | 7.1 |  |  | 00 |  |  | 084 |  |  | 6.5 |  |  | 0.91 |  |  | 067 |  |  | 18 |  |  |  |  | 813.5 |  |  | 00 |  |  | 824.7 |  |  | 791.4 |  |  | 270.8 |  |  |
| Mar | -22.0 | 00 | -10.2 |  |  | -37.6 |  |  | 8.7 |  |  | 00 |  |  | 087 |  |  | 7.9 |  |  | 0.91 |  |  | 071 |  |  | 22 |  |  |  |  | 815.4 |  |  | 00 |  |  | 828.2 |  |  | 804.5 |  |  | 266.3 |  |  |
| Apr | -31.5 | 00 | -14.8 |  |  | -41.6 |  |  | 9.0 |  |  | 00 |  |  | 086 |  |  | 7.3 |  |  | 0.81 |  |  | 077 |  |  | 21 |  |  |  |  | 810.5 |  |  | 00 |  |  | 820.9 |  |  | 795.3 |  |  | 256.6 |  |  |
| May | -28.9 | 01 | -16.0 |  |  | -49.4 |  |  | 6.3 |  |  | 01 |  |  | 066 |  |  | 5.4 |  |  | 0.86 |  |  | 077 |  |  | 18 |  |  |  |  | 810.4 |  |  | 01 |  |  | 837.1 |  |  | 794.2 |  |  | 259.4 |  |  |
| Jun | -28.2 | 00 | -11.1 |  |  | -44.1 |  |  | 9.9 |  |  | 05 |  |  | 050 |  |  | 7.4 |  |  | 0.75 |  |  | 358 |  |  | 25 |  |  |  |  | 812.9 |  |  | 00 |  |  | 824.8 |  |  | 793.3 |  |  | 260.0 |  |  |
| Jul | -28.9 | 00 | -15.8 |  |  | -49.9 |  |  | 9.9 |  |  | 00 |  |  | 038 |  |  | 7.5 |  |  | 0.76 |  |  | 082 |  |  | 27 |  |  |  |  | 808.0 |  |  | 00 |  |  | 828.1 |  |  | 785.6 |  |  | 259.6 |  |  |
| Aug | -31.5 | 00 | -18.9 |  |  | -44.8 |  |  | 9.4 |  |  | 00 |  |  | 044 |  |  | 8.5 |  |  | 0.90 |  |  | 016 |  |  | 18 |  |  |  |  | 810.1 |  |  | 00 |  |  | 829.3 |  |  | 790.3 |  |  | 256.6 |  |  |
| Sep | -30.8 | 00 | -12.0 |  |  | -55.4 |  |  | 9.8 |  |  | 26 |  |  | 034 |  |  | 7.5 |  |  | 0.77 |  |  | 122 |  |  | 23 |  |  |  |  | 813.2 |  |  | 00 |  |  | 835.7 |  |  | 791.1 |  |  | 257.1 |  |  |
| Oct | -23.8 | 00 | -13.0 |  |  | -39.1 |  |  | 8.6 |  |  | 00 |  |  | 030 |  |  | 7.0 |  |  | 0.82 |  |  | 360 |  |  | 22 |  |  |  |  | 805.6 |  |  | 00 |  |  | 819.0 |  |  | 789.1 |  |  | 265.3 |  |  |
| Nov | -16.6 | 03 | -8.4 |  |  | -24.5 |  |  | 7.0 |  |  | 03 |  |  | 093 |  |  | 6.1 |  |  | 0.88 |  |  | 074 |  |  | 20 |  |  |  |  | 814.7 |  |  | 03 |  |  | 829.0 |  |  | 787.2 |  |  | 272.0 |  |  |
| Dec | -15.9 | 09 | -7.6 |  |  | -21.2 |  |  | 4.6 |  |  | 09 |  |  | 085 |  |  | 3.4 |  |  | 0.73 |  |  | 097 |  |  | 12 |  |  |  |  | 823.4 |  |  | 09 |  |  | 834.6 |  |  | 814.8 |  |  | 272.0 |  |  |
| MEAN | -24.4 |  |  |  |  |  |  |  | 8.0 |  |  |  |  |  | 064 |  |  | 6.1 |  |  | 0.83 |  |  |  |  |  |  |  |  |  |  | 812.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean | % of |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Air | Mon | Max Air |  |  | Min Air |  |  | Wind |  |  | Mon |  |  | Result |  |  |  |  |  |  |  |  | Max |  |  |  |  |  |  | Air |  |  | Mon |  |  | Max Air |  |  | Min Air |  |  | Potential |  |  |  |
|  | Temp | Data | Temp |  |  | Temp |  |  | Speed |  |  | Data |  |  | Wind |  |  |  |  |  |  |  |  | Wind |  |  |  |  |  |  | Press |  |  | Data |  |  | Press |  |  | Press |  |  | Temp |  |  |  |
| Mon | (C) | Abs | (C) |  |  | (C) |  |  | (m/s) |  |  | Abs |  |  | (dir |  |  | vv) |  |  | Con |  |  | (dir |  |  | vv) |  |  |  | (mb) |  |  | Abs |  |  | (mb) |  |  | (mb) |  |  | (K) |  |  |  |
| Elizabeth (21361) |  |  | 82.61S |  |  |  |  |  |  |  |  |  |  |  | 137.0W |  |  |  |  |  |  |  |  |  |  |  | 549 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -11.6 | 02 | -3.0 |  |  | -21.9 |  |  | 4.4 |  |  | 02 |  |  | 047 |  |  | 3.4 |  |  | 0.77 |  |  | 035 |  |  | 11 |  |  |  | 917.2 |  |  | 02 |  |  | 931.4 |  |  | 902.6 |  |  | 268.1 |  |  |  |
| Feb | -17.2 | 00 | -5.5 |  |  | -30.8 |  |  | 3.4 |  |  | 00 |  |  | 049 |  |  | 2.3 |  |  | 0.68 |  |  | 358 |  |  | 12 |  |  |  | 921.4 |  |  | 00 |  |  | 936.3 |  |  | 893.4 |  |  | 262.1 |  |  |  |
| Mar | -21.1 | 00 | -6.6 |  |  | -38.2 |  |  | 6.1 |  |  | 00 |  |  | 048 |  |  | 5.4 |  |  | 0.89 |  |  | 043 |  |  | 17 |  |  |  | 921.7 |  |  | 00 |  |  | 942.3 |  |  | 901.3 |  |  | 258.1 |  |  |  |
| Apr | -29.5 | 00 | -8.2 |  |  | -44.1 |  |  | 6.8 |  |  | 00 |  |  | 056 |  |  | 6.5 |  |  | 0.95 |  |  | 068 |  |  | 16 |  |  |  | 918.3 |  |  | 00 |  |  | 932.8 |  |  | 900.9 |  |  | 249.7 |  |  |  |
| May | -29.3 | 01 | -11.9 |  |  | -48.8 |  |  | 6.7 |  |  | 01 |  |  | 043 |  |  | 5.9 |  |  | 0.89 |  |  | 052 |  |  | 17 |  |  |  | 918.9 |  |  | 01 |  |  | 951.7 |  |  | 900.4 |  |  | 249.9 |  |  |  |
| Jun | -30.4 | 00 | -11.5 |  |  | -46.6 |  |  | 6.5 |  |  | 00 |  |  | 050 |  |  | 5.6 |  |  | 0.86 |  |  | 081 |  |  | 17 |  |  |  | 921.2 |  |  | 00 |  |  | 933.5 |  |  | 900.1 |  |  | 248.5 |  |  |  |
| Jul | -29.8 | 00 | -12.4 |  |  | -47.8 |  |  | 9.6 |  |  | 69 |  |  | 063 |  |  | 8.8 |  |  | 0.92 |  |  | 084 |  |  | 23 |  |  |  | 915.6 |  |  | 00 |  |  | 941.1 |  |  | 886.1 |  |  | 249.6 |  |  |  |
| Aug | -32.4 | 00 | -12.1 |  |  | -49.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 918.6 |  |  | 00 |  |  | 937.8 |  |  | 897.0 |  |  | 246.7 |  |  |  |
| Sep | -30.9 | 00 | -7.8 |  |  | -56.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 922.5 |  |  | 00 |  |  | 951.4 |  |  | 893.6 |  |  | 247.9 |  |  |  |
| Oct | -24.5 | 00 | -11.0 |  |  | -39.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 912.4 |  |  | 00 |  |  | 934.8 |  |  | 887.5 |  |  | 255.2 |  |  |  |
| Nov | -12.9 | 00 | -1.2 |  |  | -31.8 |  |  | 5.5 |  |  | 00 |  |  | 050 |  |  | 4.5 |  |  | 0.81 |  |  | 071 |  |  | 16 |  |  |  | 921.4 |  |  | 00 |  |  | 942.5 |  |  | 890.0 |  |  | 266.4 |  |  |  |
| Dec | -10.7 | 00 | -2.9 |  |  | -18.2 |  |  | 3.0 |  |  | 00 |  |  | 039 |  |  | 1.6 |  |  | 0.53 |  |  | 056 |  |  | 8 |  |  |  | 934.2 |  |  | 00 |  |  | 947.3 |  |  | 927.5 |  |  | 267.6 |  |  |  |
| MEAN | -23.4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 920.3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Brianna (21362) |  |  | 83.89S |  |  |  |  |  |  |  |  |  |  |  | 134.1W |  |  |  |  |  |  |  |  |  |  |  | 549 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -11.0 | 59 | -6.2 |  |  | -15.1 |  |  | 7.7 |  |  | 59 |  |  | 077 |  |  | 7.4 |  |  | 0.96 |  |  | 092 |  |  | 16 |  |  |  | 917.7 |  |  | 59 |  |  | 930.5 |  |  | 909.9 |  |  | 268.7 |  |  |  |
| Feb | -15.7 | 00 | -6.6 |  |  | -25.2 |  |  | 4.8 |  |  | 00 |  |  | 063 |  |  | 4.4 |  |  | 0.92 |  |  | 057 |  |  | 15 |  |  |  | 920.5 |  |  | 00 |  |  | 935.1 |  |  | 890.5 |  |  | 263.6 |  |  |  |
| Mar | -19.1 | 00 | -5.2 |  |  | -36.4 |  |  | 8.2 |  |  | 00 |  |  | 068 |  |  | 7.9 |  |  | 0.96 |  |  | 098 |  |  | 23 |  |  |  | 922.2 |  |  | 00 |  |  | 940.8 |  |  | 900.8 |  |  | 260.0 |  |  |  |
| Apr | -26.0 | 00 | -10.2 |  |  | -36.8 |  |  | 11.0 |  |  | 00 |  |  | 077 |  |  | 10.8 |  |  | 0.98 |  |  | 085 |  |  | 22 |  |  |  | 919.9 |  |  | 00 |  |  | 933.2 |  |  | 901.4 |  |  | 253.1 |  |  |  |
| May | -27.6 | 01 | -11.5 |  |  | -46.9 |  |  | 8.9 |  |  | 01 |  |  | 071 |  |  | 8.6 |  |  | 0.96 |  |  | 068 |  |  | 22 |  |  |  | 919.5 |  |  | 01 |  |  | 952.6 |  |  | 902.9 |  |  | 251.5 |  |  |  |
| Jun | -26.6 | 00 | -9.1 |  |  | -41.4 |  |  | 9.6 |  |  | 00 |  |  | 071 |  |  | 9.1 |  |  | 0.95 |  |  | 099 |  |  | 21 |  |  |  | 922.3 |  |  | 00 |  |  | 936.3 |  |  | 898.7 |  |  | 252.3 |  |  |  |
| Jul | -26.3 | 00 | -11.2 |  |  | -44.2 |  |  | 9.0 |  |  | 00 |  |  | 078 |  |  | 8.4 |  |  | 0.93 |  |  | 092 |  |  | 27 |  |  |  | 916.9 |  |  | 00 |  |  | 940.8 |  |  | 883.7 |  |  | 253.1 |  |  |  |
| Aug | -28.5 | 00 | -14.8 |  |  | -42.1 |  |  | 9.7 |  |  | 00 |  |  | 072 |  |  | 9.4 |  |  | 0.96 |  |  | 081 |  |  | 18 |  |  |  | 919.5 |  |  | 00 |  |  | 938.8 |  |  | 898.1 |  |  | 250.6 |  |  |  |
| Sep | -28.8 | 00 | -7.8 |  |  | -51.6 |  |  | 9.6 |  |  | 02 |  |  | 074 |  |  | 8.7 |  |  | 0.91 |  |  | 092 |  |  | 25 |  |  |  | 923.5 |  |  | 00 |  |  | 951.8 |  |  | 894.2 |  |  | 250.0 |  |  |  |
| Oct | -22.7 | 00 | -10.0 |  |  | -36.8 |  |  | 7.6 |  |  | 00 |  |  | 067 |  |  | 6.8 |  |  | 0.90 |  |  | 097 |  |  | 23 |  |  |  | 912.9 |  |  | 00 |  |  | 933.5 |  |  | 887.9 |  |  | 257.1 |  |  |  |
| Nov | -12.2 | 00 | -3.8 |  |  | -30.2 |  |  | 7.7 |  |  | 00 |  |  | 075 |  |  | 6.9 |  |  | 0.89 |  |  | 105 |  |  | 19 |  |  |  | 920.9 |  |  | 00 |  |  | 940.8 |  |  | 889.9 |  |  | 267.2 |  |  |  |
| Dec | -10.2 | 00 | -3.1 |  |  | -16.1 |  |  | 4.4 |  |  | 00 |  |  | 070 |  |  | 3.7 |  |  | 0.84 |  |  | 088 |  |  | 12 |  |  |  | 932.3 |  |  | 00 |  |  | 945.3 |  |  | 925.1 |  |  | 268.3 |  |  |  |
| MEAN | -21.2 |  |  |  |  |  |  |  | 8.2 |  |  |  |  |  | 073 |  |  | 7.7 |  |  | 0.93 |  |  |  |  |  |  |  |  |  | 920.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Harry (8900) |  |  | 83.00S |  |  |  |  |  |  |  |  |  |  |  | 121.3W |  |  |  |  |  |  |  |  |  |  |  | 945 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -13.9 | 02 | -4.2 |  |  | -19.0 |  |  | 6.1 |  |  | 02 |  |  | 029 |  |  | 5.8 |  |  | 0.95 |  |  | 021 |  |  | 16 |  |  |  | 869.2 |  |  | 02 |  |  | 883.3 |  |  | 859.3 |  |  | 269.9 |  |  |  |
| Feb | -16.7 | 03 | -8.8 |  |  | -25.9 |  |  | 6.6 |  |  | 03 |  |  | 025 |  |  | 6.3 |  |  | 0.96 |  |  | 015 |  |  | 20 |  |  |  | 872.0 |  |  | 03 |  |  | 885.2 |  |  | 845.2 |  |  | 266.7 |  |  |  |
| Mar | -20.7 | 00 | -7.8 |  |  | -35.2 |  |  | 8.8 |  |  | 06 |  |  | 031 |  |  | 8.5 |  |  | 0.97 |  |  | 049 |  |  | 21 |  |  |  | 873.9 |  |  | 00 |  |  | 890.6 |  |  | 859.2 |  |  | 262.4 |  |  |  |
| Apr | -28.9 | 00 | -12.5 |  |  | -38.2 |  |  | 10.2 |  |  | 03 |  |  | 036 |  |  | 10.0 |  |  | 0.99 |  |  | 037 |  |  | 19 |  |  |  | 870.3 |  |  | 00 |  |  | 882.1 |  |  | 852.6 |  |  | 254.2 |  |  |  |
| May | -29.2 | 01 | -14.1 |  |  | -48.2 |  |  | 9.2 |  |  | 13 |  |  | 031 |  |  | 8.9 |  |  | 0.96 |  |  | 053 |  |  | 17 |  |  |  | 869.9 |  |  | 01 |  |  | 899.0 |  |  | 854.6 |  |  | 254.0 |  |  |  |
| Jun | -26.8 | 00 | -9.0 |  |  | -40.6 |  |  | 10.0 |  |  | 18 |  |  | 037 |  |  | 9.6 |  |  | 0.97 |  |  | 060 |  |  | 23 |  |  |  | 872.4 |  |  | 00 |  |  | 886.0 |  |  | 850.2 |  |  | 256.1 |  |  |  |
| Jul | -27.3 | 00 | -13.1 |  |  | -48.0 |  |  | 11.3 |  |  | 38 |  |  | 035 |  |  | 10.8 |  |  | 0.96 |  |  | 045 |  |  | 24 |  |  |  | 867.3 |  |  | 00 |  |  | 888.6 |  |  | 839.6 |  |  | 256.1 |  |  |  |
| Aug | -30.2 | 00 | -17.1 |  |  | -44.2 |  |  | 9.9 |  |  | 12 |  |  | 030 |  |  | 9.7 |  |  | 0.98 |  |  | 360 |  |  | 19 |  |  |  | 869.5 |  |  | 00 |  |  | 890.1 |  |  | 848.7 |  |  | 252.9 |  |  |  |
| Sep | -29.7 | 00 | -10.5 |  |  | -53.4 |  |  | 9.4 |  |  | 66 |  |  | 032 |  |  | 8.8 |  |  | 0.93 |  |  | 049 |  |  | 26 |  |  |  | 873.5 |  |  | 00 |  |  | 898.9 |  |  | 848.6 |  |  | 253.1 |  |  |  |
| Oct | -23.0 | 00 | -10.9 |  |  | -36.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 863.9 |  |  | 00 |  |  | 878.8 |  |  | 844.4 |  |  | 260.8 |  |  |  |
| Nov | -14.7 | 00 | -6.8 |  |  | -26.2 |  |  | 7.3 |  |  | 02 |  |  | 033 |  |  | 6.9 |  |  | 0.94 |  |  | 039 |  |  | 19 |  |  |  | 873.5 |  |  | 00 |  |  | 891.0 |  |  | 843.0 |  |  | 268.6 |  |  |  |
| Dec | -13.2 | 00 | -6.8 |  |  | -18.5 |  |  | 5.1 |  |  | 00 |  |  | 032 |  |  | 4.5 |  |  | 0.89 |  |  | 015 |  |  | 13 |  |  |  | 883.7 |  |  | 00 |  |  | 896.3 |  |  | 876.0 |  |  | 269.3 |  |  |  |
| MEAN | -22.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 871.6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean | % of |  |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Air | Mon |  |  | Max Air |  |  | Min Air |  |  | Wind |  |  | Mon |  |  | Result |  |  |  |  |  |  |  |  | Max |  |  |  | Air |  |  | Mon |  |  | Max Air |  |  | Min Air |  |  | Potential |  |  |  |  |
|  | Temp | Data |  |  | Temp |  |  | Temp |  |  | Speed |  |  | Data |  |  | Wind |  |  |  |  |  |  |  |  | Wind |  |  |  | Press |  |  | Data |  |  | Press |  |  | Press |  |  | Temp |  |  |  |  |
| Mon | (C) | Abs |  |  | (C) |  |  | (C) |  |  | (m/s) |  |  | Abs |  |  | (dir |  |  | vv) |  |  | Con |  |  | (dir |  |  | vv) | (mb) |  |  | Abs |  |  | (mb) |  |  | (mb) |  |  | (K) |  |  |  |  |
| Erin (21363) |  |  |  |  | 84.90S |  |  |  |  |  |  |  |  |  |  |  | 128.8W |  |  |  |  |  |  |  |  |  |  |  | 1006 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -12.9 | 04 |  |  | -7.5 |  |  | -18.5 |  |  | 11.2 |  |  | 60 |  |  | 083 |  |  | 11.0 |  |  | 0.98 |  |  | 097 |  |  | 23 | 872.8 |  |  | 04 |  |  | 887.1 |  |  | 863.1 |  |  | 270.6 |  |  |  |  |
| Feb | -15.5 | 00 |  |  | -9.0 |  |  | -22.2 |  |  | 10.2 |  |  | 00 |  |  | 074 |  |  | 10.0 |  |  | 0.97 |  |  | 087 |  |  | 32 | 875.1 |  |  | 00 |  |  | 888.7 |  |  | 851.1 |  |  | 267.7 |  |  |  |  |
| Mar | -19.9 | 00 |  |  | -7.8 |  |  | -35.5 |  |  | 12.8 |  |  | 03 |  |  | 080 |  |  | 12.6 |  |  | 0.98 |  |  | 082 |  |  | 36 | 877.3 |  |  | 00 |  |  | 890.2 |  |  | 860.0 |  |  | 262.9 |  |  |  |  |
| Apr | -26.5 | 00 |  |  | -13.9 |  |  | -34.8 |  |  | 15.7 |  |  | 00 |  |  | 092 |  |  | 15.2 |  |  | 0.97 |  |  | 108 |  |  | 30 | 875.0 |  |  | 00 |  |  | 886.4 |  |  | 858.8 |  |  | 256.3 |  |  |  |  |
| May | -26.8 | 01 |  |  | -14.0 |  |  | -46.8 |  |  | 12.9 |  |  | 01 |  |  | 081 |  |  | 12.5 |  |  | 0.97 |  |  | 097 |  |  | 25 | 873.2 |  |  | 01 |  |  | 902.6 |  |  | 858.9 |  |  | 256.1 |  |  |  |  |
| Jun | -25.2 | 00 |  |  | -9.9 |  |  | -37.5 |  |  | 14.2 |  |  | 02 |  |  | 088 |  |  | 13.6 |  |  | 0.96 |  |  | 077 |  |  | 31 | 876.4 |  |  | 00 |  |  | 890.1 |  |  | 855.4 |  |  | 257.5 |  |  |  |  |
| Jul | -26.0 | 00 |  |  | -13.4 |  |  | -44.6 |  |  | 16.5 |  |  | 15 |  |  | 088 |  |  | 16.0 |  |  | 0.97 |  |  | 082 |  |  | 36 | 871.4 |  |  | 00 |  |  | 890.8 |  |  | 847.0 |  |  | 257.1 |  |  |  |  |
| Aug | -27.2 | 00 |  |  | -15.5 |  |  | -36.5 |  |  | 14.5 |  |  | 07 |  |  | 085 |  |  | 13.9 |  |  | 0.96 |  |  | 087 |  |  | 29 | 873.5 |  |  | 00 |  |  | 891.6 |  |  | 854.2 |  |  | 255.7 |  |  |  |  |
| Sep | -28.7 | 00 |  |  | -9.8 |  |  | -49.9 |  |  | 13.0 |  |  | 11 |  |  | 084 |  |  | 12.3 |  |  | 0.95 |  |  | 087 |  |  | 29 | 876.9 |  |  | 00 |  |  | 900.0 |  |  | 855.7 |  |  | 253.8 |  |  |  |  |
| Oct | -22.1 | 00 |  |  | -11.5 |  |  | -33.8 |  |  | 13.2 |  |  | 26 |  |  | 075 |  |  | 12.9 |  |  | 0.97 |  |  | 085 |  |  | 26 | 867.1 |  |  | 00 |  |  | 882.5 |  |  | 847.4 |  |  | 261.5 |  |  |  |  |
| Nov | -14.8 | 00 |  |  | -7.8 |  |  | -26.0 |  |  | 13.9 |  |  | 05 |  |  | 085 |  |  | 13.6 |  |  | 0.98 |  |  | 084 |  |  | 38 | 877.7 |  |  | 00 |  |  | 894.0 |  |  | 847.1 |  |  | 268.2 |  |  |  |  |
| Dec | -11.8 | 00 |  |  | -6.6 |  |  | -18.1 |  |  | 7.8 |  |  | 00 |  |  | 080 |  |  | 7.5 |  |  | 0.96 |  |  | 081 |  |  | 20 | 887.3 |  |  | 00 |  |  | 900.4 |  |  | 881.3 |  |  | 270.4 |  |  |  |  |
| MEAN | -21.5 |  |  |  |  |  |  |  |  |  | 13.0 |  |  |  |  |  | 084 |  |  | 12.5 |  |  | 0.97 |  |  |  |  |  |  | 875.3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Siple Dome (8938) |  |  |  |  | 81.66S |  |  |  |  |  |  |  |  |  |  |  | 148.7W |  |  |  |  |  |  |  |  |  |  |  | 620 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -13.0 | 00 |  |  | -3.4 |  |  | -21.9 |  |  | 3.0 |  |  | 00 |  |  | 110 |  |  | 0.6 |  |  | 0.21 |  |  | 347 |  |  | 11 | 883.0 |  |  | 00 |  |  | 897.5 |  |  | 867.3 |  |  | 269.6 |  |  |  |  |
| Feb | -15.6 | 00 |  |  | -7.4 |  |  | -27.5 |  |  | 3.0 |  |  | 00 |  |  | 102 |  |  | 0.7 |  |  | 0.24 |  |  | 046 |  |  | 10 | 887.3 |  |  | 00 |  |  | 902.1 |  |  | 862.4 |  |  | 266.5 |  |  |  |  |
| Mar | -20.1 | 00 |  |  | -9.6 |  |  | -34.6 |  |  | 3.5 |  |  | 00 |  |  | 056 |  |  | 1.8 |  |  | 0.51 |  |  | 102 |  |  | 14 | 886.2 |  |  | 00 |  |  | 906.3 |  |  | 865.7 |  |  | 262.0 |  |  |  |  |
| Apr | -25.5 | 00 |  |  | -7.2 |  |  | -44.1 |  |  | 1.5 |  |  | 00 |  |  | 068 |  |  | 1.1 |  |  | 0.75 |  |  | 084 |  |  | 15 | 882.3 |  |  | 00 |  |  | 897.3 |  |  | 866.8 |  |  | 256.7 |  |  |  |  |
| May | -25.8 | 01 |  |  | -13.6 |  |  | -40.6 |  |  | 3.0 |  |  | 06 |  |  | 052 |  |  | 1.7 |  |  | 0.56 |  |  | 022 |  |  | 14 | 883.2 |  |  | 01 |  |  | 914.1 |  |  | 865.2 |  |  | 256.3 |  |  |  |  |
| Jun | -28.7 | 00 |  |  | -11.9 |  |  | -45.0 |  |  | 1.8 |  |  | 13 |  |  | 082 |  |  | 1.5 |  |  | 0.87 |  |  | 352 |  |  | 18 | 884.7 |  |  | 00 |  |  | 896.5 |  |  | 863.4 |  |  | 253.2 |  |  |  |  |
| Jul | -29.1 | 00 |  |  | -14.6 |  |  | -47.5 |  |  | 8.5 |  |  | 64 |  |  | 046 |  |  | 6.7 |  |  | 0.78 |  |  | 005 |  |  | 21 | 878.8 |  |  | 00 |  |  | 906.7 |  |  | 852.7 |  |  | 253.3 |  |  |  |  |
| Aug | -26.7 | 00 |  |  | -11.6 |  |  | -44.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 883.0 |  |  | 00 |  |  | 901.3 |  |  | 862.1 |  |  | 255.4 |  |  |  |  |
| Sep | -28.5 | 00 |  |  | -9.5 |  |  | -46.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 885.9 |  |  | 00 |  |  | 912.8 |  |  | 856.9 |  |  | 253.3 |  |  |  |  |
| Oct | -24.6 | 00 |  |  | -11.9 |  |  | -43.1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 877.0 |  |  | 00 |  |  | 901.7 |  |  | 853.1 |  |  | 258.1 |  |  |  |  |
| Nov | -13.8 | 00 |  |  | -3.0 |  |  | -31.9 |  |  | 4.1 |  |  | 28 |  |  | 062 |  |  | 2.5 |  |  | 0.63 |  |  | 039 |  |  | 13 | 886.4 |  |  | 00 |  |  | 909.2 |  |  | 854.9 |  |  | 268.5 |  |  |  |  |
| Dec | -11.7 | 00 |  |  | 0.4 |  |  | -19.0 |  |  | 2.0 |  |  | 00 |  |  | 036 |  |  | 0.5 |  |  | 0.26 |  |  | 059 |  |  | 9 | 900.3 |  |  | 00 |  |  | 914.2 |  |  | 893.4 |  |  | 269.4 |  |  |  |  |
| MEAN | -21.9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 884.8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Swithinbank (21356) |  |  |  |  | 81.20S |  |  |  |  |  |  |  |  |  |  |  | 126.1W |  |  |  |  |  |  |  |  |  |  |  | 945 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -11.2 | 02 |  |  | -2.6 |  |  | -18.0 |  |  | 6.1 |  |  | 02 |  |  | 352 |  |  | 5.5 |  |  | 0.90 |  |  | 360 |  |  | 16 | 867.4 |  |  | 02 |  |  | 880.3 |  |  | 856.3 |  |  | 272.8 |  |  |  |  |
| Feb | -14.5 | 03 |  |  | -5.0 |  |  | -25.2 |  |  | 6.5 |  |  | 03 |  |  | 352 |  |  | 6.1 |  |  | 0.94 |  |  | 016 |  |  | 21 | 870.5 |  |  | 03 |  |  | 884.9 |  |  | 844.4 |  |  | 269.1 |  |  |  |  |
| Mar | -18.2 | 00 |  |  | -6.1 |  |  | -32.9 |  |  | 8.7 |  |  | 00 |  |  | 002 |  |  | 8.3 |  |  | 0.95 |  |  | 354 |  |  | 21 | 871.7 |  |  | 00 |  |  | 891.1 |  |  | 855.4 |  |  | 265.1 |  |  |  |  |
| Apr | -26.9 | 00 |  |  | -9.6 |  |  | -38.8 |  |  | 10.6 |  |  | 00 |  |  | 004 |  |  | 10.4 |  |  | 0.98 |  |  | 355 |  |  | 23 | 867.4 |  |  | 00 |  |  | 881.5 |  |  | 851.8 |  |  | 256.5 |  |  |  |  |
| May | -25.1 | 01 |  |  | -10.6 |  |  | -41.6 |  |  | 9.5 |  |  | 01 |  |  | 358 |  |  | 9.0 |  |  | 0.95 |  |  | 360 |  |  | 24 | 868.3 |  |  | 01 |  |  | 897.6 |  |  | 848.8 |  |  | 258.3 |  |  |  |  |
| Jun | -25.4 | 00 |  |  | -7.1 |  |  | -40.0 |  |  | 9.8 |  |  | 00 |  |  | 003 |  |  | 9.3 |  |  | 0.95 |  |  | 001 |  |  | 20 | 869.9 |  |  | 00 |  |  | 881.8 |  |  | 846.0 |  |  | 257.8 |  |  |  |  |
| Jul | -25.5 | 00 |  |  | -11.4 |  |  | -44.5 |  |  | 10.2 |  |  | 00 |  |  | 001 |  |  | 9.5 |  |  | 0.93 |  |  | 354 |  |  | 27 | 864.5 |  |  | 00 |  |  | 888.2 |  |  | 835.1 |  |  | 258.2 |  |  |  |  |
| Aug | -28.7 | 00 |  |  | -14.1 |  |  | -47.4 |  |  | 10.4 |  |  | 00 |  |  | 359 |  |  | 10.3 |  |  | 0.99 |  |  | 360 |  |  | 24 | 867.7 |  |  | 00 |  |  | 887.8 |  |  | 844.9 |  |  | 254.6 |  |  |  |  |
| Sep | -26.4 | 00 |  |  | -6.1 |  |  | -49.6 |  |  | 9.4 |  |  | 00 |  |  | 355 |  |  | 8.6 |  |  | 0.91 |  |  | 360 |  |  | 25 | 871.6 |  |  | 00 |  |  | 898.4 |  |  | 843.0 |  |  | 256.7 |  |  |  |  |
| Oct | -20.6 | 00 |  |  | -7.8 |  |  | -35.0 |  |  | 8.7 |  |  | 00 |  |  | 357 |  |  | 8.0 |  |  | 0.92 |  |  | 018 |  |  | 25 | 862.0 |  |  | 00 |  |  | 878.1 |  |  | 840.5 |  |  | 263.5 |  |  |  |  |
| Nov | -12.5 | 01 |  |  | -2.9 |  |  | -30.6 |  |  | 7.1 |  |  | 00 |  |  | 002 |  |  | 6.4 |  |  | 0.90 |  |  | 001 |  |  | 19 | 871.4 |  |  | 00 |  |  | 890.1 |  |  | 842.1 |  |  | 271.2 |  |  |  |  |
| Dec | -10.7 | 00 |  |  | -2.6 |  |  | -16.6 |  |  | 4.0 |  |  | 00 |  |  | 346 |  |  | 3.2 |  |  | 0.80 |  |  | 004 |  |  | 11 | 882.6 |  |  | 00 |  |  | 895.3 |  |  | 875.6 |  |  | 272.0 |  |  |  |  |
| MEAN | -20.5 |  |  |  |  |  |  |  |  |  | 8.4 |  |  |  |  |  | 359 |  |  | 7.9 |  |  | 0.93 |  |  |  |  |  |  | 869.6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean | % of |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mean |  |  | % of |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Air | Mon |  | Max Air |  |  | Min Air |  |  | Wind |  |  | Mon |  |  | Result |  |  |  |  |  |  |  |  | Max |  |  |  |  |  | Air |  |  | Mon |  |  | Max Air |  |  | Min Air |  |  | Potential |  |  |  |
|  | Temp | Data |  | Temp |  |  | Temp |  |  | Speed |  |  | Data |  |  | Wind |  |  |  |  |  |  |  |  | Wind |  |  |  |  |  | Press |  |  | Data |  |  | Press |  |  | Press |  |  | Temp |  |  |  |
| Mon | (C) | Abs |  | (C) |  |  | (C) |  |  | (m/s) |  |  | Abs |  |  | (dir |  |  | vv) |  |  | Con |  |  | (dir |  |  | vv) |  |  | (mb) |  |  | Abs |  |  | (mb) |  |  | (mb) |  |  | (K) |  |  |  |
| Noel/ITASE (8936) |  |  |  | 79.33S |  |  |  |  |  |  |  |  |  |  |  | 111.0W |  |  |  |  |  |  |  |  |  |  |  | 1833 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -20.7 | 58 |  | -11.1 |  |  | -29.5 |  |  | 6.3 |  |  | 59 |  |  | 038 |  |  | 5.9 |  |  | 0.93 |  |  | 029 |  |  | 16 |  |  | 778.3 |  |  | 58 |  |  | 786.8 |  |  | 773.1 |  |  | 271.2 |  |  |  |
| Feb | -21.0 | 00 |  | -12.1 |  |  | -33.4 |  |  | 7.7 |  |  | 00 |  |  | 035 |  |  | 5.8 |  |  | 0.76 |  |  | 018 |  |  | 23 |  |  | 778.9 |  |  | 00 |  |  | 789.1 |  |  | 758.5 |  |  | 270.8 |  |  |  |
| Mar | -23.9 | 00 |  | -12.6 |  |  | -41.9 |  |  | 10.6 |  |  | 00 |  |  | 029 |  |  | 9.0 |  |  | 0.85 |  |  | 040 |  |  | 30 |  |  | 780.4 |  |  | 00 |  |  | 791.7 |  |  | 768.8 |  |  | 267.6 |  |  |  |
| Apr | -37.5 | 00 |  | -17.9 |  |  | -49.9 |  |  | 6.3 |  |  | 07 |  |  | 045 |  |  | 5.7 |  |  | 0.92 |  |  | 037 |  |  | 19 |  |  | 774.5 |  |  | 00 |  |  | 785.0 |  |  | 761.3 |  |  | 253.5 |  |  |  |
| May | -30.5 | 01 |  | -16.8 |  |  | -50.4 |  |  | 4.8 |  |  | 14 |  |  | 025 |  |  | 3.2 |  |  | 0.67 |  |  | 025 |  |  | 28 |  |  | 775.9 |  |  | 01 |  |  | 799.5 |  |  | 756.3 |  |  | 260.9 |  |  |  |
| Jun | -31.6 | 00 |  | -13.5 |  |  | -52.5 |  |  | 8.8 |  |  | 20 |  |  | 028 |  |  | 7.2 |  |  | 0.82 |  |  | 068 |  |  | 28 |  |  | 777.3 |  |  | 00 |  |  | 789.3 |  |  | 756.0 |  |  | 259.6 |  |  |  |
| Jul | -30.4 | 41 |  | -18.6 |  |  | -46.5 |  |  | 15.6 |  |  | 44 |  |  | 032 |  |  | 14.2 |  |  | 0.91 |  |  | 037 |  |  | 34 |  |  | 768.2 |  |  | 41 |  |  | 784.5 |  |  | 749.7 |  |  | 261.8 |  |  |  |
| Marble Point (8906) |  |  |  | 77.44S |  |  |  |  |  |  |  |  |  |  |  | 163.76E |  |  |  |  |  |  |  |  |  |  |  | 120 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -3.6 | 00 |  | 2.2 |  |  | -11.8 |  |  | 3.2 |  |  | 00 |  |  | 124 |  |  | 1.7 |  |  | 0.51 |  |  | 160 |  |  | 15 |  |  | 971.0 |  |  | 00 |  |  | 988.6 |  |  | 956.6 |  |  | 271.9 |  |  |  |
| Feb | -8.9 | 00 |  | -1.4 |  |  | -17.2 |  |  | 4.4 |  |  | 00 |  |  | 145 |  |  | 3.3 |  |  | 0.75 |  |  | 127 |  |  | 16 |  |  | 975.5 |  |  | 00 |  |  | 990.7 |  |  | 957.4 |  |  | 266.1 |  |  |  |
| Mar | -14.8 | 00 |  | -6.2 |  |  | -24.8 |  |  | 3.7 |  |  | 00 |  |  | 154 |  |  | 2.8 |  |  | 0.75 |  |  | 137 |  |  | 19 |  |  | 977.2 |  |  | 00 |  |  | 995.5 |  |  | 964.6 |  |  | 260.1 |  |  |  |
| Apr | -18.5 | 00 |  | -6.1 |  |  | -28.8 |  |  | 4.2 |  |  | 00 |  |  | 162 |  |  | 3.6 |  |  | 0.87 |  |  | 182 |  |  | 16 |  |  | 976.6 |  |  | 00 |  |  | 992.2 |  |  | 961.4 |  |  | 256.4 |  |  |  |
| May | -22.6 | 01 |  | -8.8 |  |  | -36.4 |  |  | 3.1 |  |  | 01 |  |  | 161 |  |  | 2.3 |  |  | 0.74 |  |  | 123 |  |  | 17 |  |  | 977.0 |  |  | 01 |  |  | 1017.3 |  |  | 947.0 |  |  | 252.3 |  |  |  |
| Jun | -24.8 | 00 |  | -3.1 |  |  | -36.1 |  |  | 3.2 |  |  | 00 |  |  | 161 |  |  | 2.1 |  |  | 0.65 |  |  | 133 |  |  | 26 |  |  | 979.1 |  |  | 00 |  |  | 995.1 |  |  | 954.8 |  |  | 249.9 |  |  |  |
| Jul | -23.1 | 00 |  | -4.9 |  |  | -38.0 |  |  | 3.8 |  |  | 00 |  |  | 170 |  |  | 2.6 |  |  | 0.67 |  |  | 140 |  |  | 19 |  |  | 976.1 |  |  | 00 |  |  | 999.2 |  |  | 951.5 |  |  | 251.8 |  |  |  |
| Aug | -25.2 | 00 |  | -7.1 |  |  | -36.6 |  |  | 3.6 |  |  | 00 |  |  | 159 |  |  | 2.5 |  |  | 0.71 |  |  | 122 |  |  | 18 |  |  | 977.8 |  |  | 00 |  |  | 993.8 |  |  | 959.9 |  |  | 249.5 |  |  |  |
| Sep | -25.5 | 00 |  | -7.5 |  |  | -38.1 |  |  | 3.7 |  |  | 00 |  |  | 161 |  |  | 2.3 |  |  | 0.63 |  |  | 184 |  |  | 23 |  |  | 982.2 |  |  | 00 |  |  | 1010.5 |  |  | 957.4 |  |  | 249.0 |  |  |  |
| Oct | -20.7 | 00 |  | -6.8 |  |  | -32.6 |  |  | 2.5 |  |  | 00 |  |  | 158 |  |  | 1.5 |  |  | 0.59 |  |  | 129 |  |  | 17 |  |  | 969.5 |  |  | 00 |  |  | 995.4 |  |  | 946.2 |  |  | 254.7 |  |  |  |
| Nov | -7.1 | 00 |  | 1.9 |  |  | -22.5 |  |  | 4.2 |  |  | 00 |  |  | 148 |  |  | 3.0 |  |  | 0.71 |  |  | 127 |  |  | 20 |  |  | 974.5 |  |  | 00 |  |  | 996.4 |  |  | 953.6 |  |  | 268.0 |  |  |  |
| Dec | -4.2 | 00 |  | 1.8 |  |  | -10.2 |  |  | 3.6 |  |  | 00 |  |  | 114 |  |  | 0.9 |  |  | 0.26 |  |  | 127 |  |  | 11 |  |  | 987.8 |  |  | 00 |  |  | 1004.0 |  |  | 980.7 |  |  | 269.9 |  |  |  |
| MEAN | -16.6 |  |  |  |  |  |  |  |  | 3.6 |  |  |  |  |  | 154 |  |  | 2.3 |  |  | 0.65 |  |  |  |  |  |  |  |  | 977.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ferrell (21355) |  |  |  | 77.93S |  |  |  |  |  |  |  |  |  |  |  | 170.82E |  |  |  |  |  |  |  |  |  |  |  | 45 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb | -12.7 | 57 |  | -3.9 |  |  | -21.1 |  |  | 3.7 |  |  | 61 |  |  | 185 |  |  | 2.6 |  |  | 0.70 |  |  | 201 |  |  | 14 |  |  | 984.2 |  |  | 60 |  |  | 998.7 |  |  | 963.2 |  |  | 261.4 |  |  |  |
| Pegasus North (21357) |  |  |  | 77.95S |  |  |  |  |  |  |  |  |  |  |  | 166.51E |  |  |  |  |  |  |  |  |  |  |  | 10 M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb | -13.7 | 13 |  | -5.2 |  |  | -22.5 |  |  | 4.6 |  |  | 13 |  |  | 081 |  |  | 2.7 |  |  | 0.58 |  |  | 172 |  |  | 26 |  |  | 986.7 |  |  | 13 |  |  | 999.1 |  |  | 969.1 |  |  | 260.5 |  |  |  |
| Mar | -19.3 | 00 |  | -5.5 |  |  | -34.6 |  |  | 3.6 |  |  | 00 |  |  | 073 |  |  | 2.2 |  |  | 0.60 |  |  | 127 |  |  | 19 |  |  | 990.0 |  |  | 00 |  |  | 1008.1 |  |  | 976.9 |  |  | 254.6 |  |  |  |
| Apr | -22.1 | 00 |  | -2.2 |  |  | -39.9 |  |  | 5.5 |  |  | 00 |  |  | 108 |  |  | 3.1 |  |  | 0.55 |  |  | 174 |  |  | 26 |  |  | 989.0 |  |  | 00 |  |  | 1004.9 |  |  | 973.7 |  |  | 251.8 |  |  |  |
| May | -27.2 | 01 |  | -9.0 |  |  | -45.9 |  |  | 3.4 |  |  | 01 |  |  | 098 |  |  | 1.5 |  |  | 0.44 |  |  | 165 |  |  | 27 |  |  | 989.7 |  |  | 01 |  |  | 1030.9 |  |  | 956.8 |  |  | 246.7 |  |  |  |
| Jun | -30.3 | 00 |  | -4.6 |  |  | -46.2 |  |  | 3.0 |  |  | 00 |  |  | 084 |  |  | 1.4 |  |  | 0.48 |  |  | 191 |  |  | 27 |  |  | 992.0 |  |  | 00 |  |  | 1008.1 |  |  | 963.7 |  |  | 243.5 |  |  |  |
| Jul | -28.4 | 00 |  | -7.0 |  |  | -47.0 |  |  | 3.9 |  |  | 00 |  |  | 105 |  |  | 1.6 |  |  | 0.41 |  |  | 160 |  |  | 31 |  |  | 988.8 |  |  | 00 |  |  | 1012.8 |  |  | 963.5 |  |  | 245.6 |  |  |  |
| Aug | -31.5 | 00 |  | -7.2 |  |  | -48.1 |  |  | 3.6 |  |  | 00 |  |  | 095 |  |  | 1.6 |  |  | 0.43 |  |  | 164 |  |  | 29 |  |  | 990.7 |  |  | 00 |  |  | 1006.9 |  |  | 972.9 |  |  | 242.3 |  |  |  |
| Sep | -32.0 | 00 |  | -8.5 |  |  | -48.1 |  |  | 4.6 |  |  | 16 |  |  | 116 |  |  | 1.9 |  |  | 0.41 |  |  | 164 |  |  | 36 |  |  | 995.3 |  |  | 00 |  |  | 1023.8 |  |  | 968.7 |  |  | 241.5 |  |  |  |
| Oct | -24.1 | 00 |  | -6.4 |  |  | -39.8 |  |  | 3.0 |  |  | 00 |  |  | 066 |  |  | 1.2 |  |  | 0.41 |  |  | 160 |  |  | 23 |  |  | 982.1 |  |  | 00 |  |  | 1008.5 |  |  | 956.1 |  |  | 250.4 |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec | -5.8 | 15 |  | 0.6 |  |  | -14.9 |  |  | 3.4 |  |  | 15 |  |  | 051 |  |  | 2.3 |  |  | 0.68 |  |  | 161 |  |  | 14 |  |  | 999.5 |  |  | 15 |  |  | 1008.9 |  |  | 992.3 |  |  | 267.4 |  |  |  |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Pegasus South (8937) |  |  | 77.99S |  |  |  | 166.58E |  |  |  | 10 M |  |  |  |  |  |
| Jan | -6.7 | 01 | 1.1 | -16.9 |  |  |  |  |  |  |  | 985.6 | 00 | 1003.2 | 970.9 | 267.6 |
| Feb | -13.6 | 00 | -4.6 | -26.1 | 4.6 | 10 | 105 | 2.3 | 0.49 | 203 | 23 | 991.1 | 00 | 1005.6 | 971.9 | 260.2 |
| Mar | -19.7 | 00 | -5.4 | -35.1 | 3.3 | 00 | 090 | 1.8 | 0.53 | 170 | 21 | 993.2 | 00 | 1011.7 | 980.2 | 254.0 |
| Apr | -22.6 | 00 | -1.9 | -40.5 | 5.8 | 00 | 149 | 3.3 | 0.57 | 195 | 27 | 992.5 | 00 | 1008.5 | 977.3 | 251.1 |
| May | -27.5 | 01 | -9.0 | -46.0 | 4.3 | 28 | 128 | 1.7 | 0.40 | 198 | 28 | 993.3 | 01 | 1034.6 | 961.9 | 246.1 |
| Jun | -30.6 | 00 | -5.2 | -46.9 | 1.3 | 58 | 119 | 0.8 | 0.60 | 157 | 17 | 995.6 | 00 | 1011.6 | 967.0 | 242.9 |
| Jul | -29.2 | 00 | -7.2 | -48.2 |  |  |  |  |  |  |  | 992.5 | 00 | 1016.4 | 967.1 | 241.2 |
| Aug | -32.3 | 00 | -7.1 | -47.1 |  |  |  |  |  |  |  | 994.4 | 00 | 1011.4 | 976.7 | 240.8 |
| Sep | -32.4 | 00 | -9.1 | -49.4 |  |  |  |  |  |  |  | 999.2 | 00 | 1030.5 | 972.9 | 244.5 |
| Oct | -24.6 | 00 | -7.0 | -40.9 |  |  |  |  |  |  |  | 985.8 | 00 | 1012.2 | 960.1 | 249.6 |
| Nov | -9.1 | 00 | -0.1 | -26.1 | 10.2 | 43 | 169 | 9.3 | 0.91 | 184 | 30 | 990.1 | 00 | 1011.8 | 969.3 | 264.8 |
| Dec | -6.5 | 00 | 1.0 | -16.5 | 3.3 | 00 | 061 | 2.0 | 0.60 | 184 | 14 | 1003.1 | 00 | 1019.5 | 995.9 | 266.5 |
| MEAN | -21.2 |  |  |  |  |  |  |  |  |  |  | 993.0 |  |  |  |  |
| Minna Bluff (8935) |  |  | 78.55S |  |  |  | 166.66E |  |  |  | 920 M |  |  |  |  |  |
| Jan | -10.7 | 00 | -4.9 | -20.4 | 5.6 | 22 | 201 | 4.7 | 0.84 | 219 | 33 | 873.4 | 00 | 889.1 | 861.3 | 272.9 |
| Feb | -16.5 | 00 | -7.1 | -28.2 | 6.4 | 02 | 201 | 4.2 | 0.65 | 202 | 35 | 877.5 | 00 | 891.5 | 857.2 | 266.5 |
| Mar | -21.4 | 00 | -12.5 | -31.8 | 6.5 | 48 | 210 | 5.6 | 0.87 | 196 | 32 | 878.4 | 00 | 895.2 | 865.9 | 261.3 |
| Apr | -25.4 | 00 | -11.1 | -34.0 | 1.2 | 21 | 313 | 0.2 | 0.13 | 217 | 8 | 877.6 | 00 | 891.5 | 858.0 | 257.2 |
| May | -26.2 | 01 | -16.2 | -39.4 | 5.0 | 33 | 212 | 2.9 | 0.59 | 213 | 19 | 877.4 | 01 | 912.6 | 848.6 | 256.4 |
| Jun | -27.8 | 00 | -14.1 | -41.4 | 2.6 | 10 | 203 | 1.9 | 0.74 | 187 | 35 | 878.3 | 00 | 891.2 | 852.5 | 254.6 |
| Jul | -27.7 | 00 | -14.9 | -41.2 | 2.8 | 03 | 189 | 2.3 | 0.81 | 191 | 27 | 875.7 | 00 | 897.7 | 852.1 | 255.0 |
| Aug | -28.2 | 00 | -15.6 | -38.2 | 5.6 | 00 | 191 | 4.7 | 0.85 | 181 | 43 | 878.1 | 00 | 893.4 | 860.2 | 254.2 |
| Sep | -28.0 | 08 | -16.2 | -42.5 | 8.8 | 18 | 192 | 6.7 | 0.76 | 188 | 38 | 883.5 | 08 | 908.5 | 854.3 | 254.0 |
| Linda (8919) |  |  | 78.48S |  |  |  | 168.38E |  |  |  | 50 M |  |  |  |  |  |
| Jan | -8.1 | 00 | 0.5 | -17.1 | 4.9 | 00 | 196 | 3.8 | 0.78 | 201 | 18 | 960.5 | 00 | 978.2 | 946.1 | 268.2 |
| Feb | -15.4 | 00 | -3.5 | -27.0 | 6.1 | 00 | 196 | 4.7 | 0.76 | 203 | 28 | 964.8 | 00 | 980.9 | 945.0 | 260.4 |
| Mar | -22.8 | 00 | -10.2 | -38.5 | 7.1 | 00 | 201 | 5.8 | 0.82 | 202 | 26 | 966.0 | 00 | 984.6 | 952.0 | 252.9 |
| Apr | -24.9 | 00 | -6.8 | -40.4 | 12.5 | 08 | 197 | 12.4 | 1.00 | 201 | 27 | 964.7 | 00 | 981.0 | 949.6 | 250.9 |
| May | -28.8 | 01 | -13.5 | -46.2 | 9.2 | 27 | 199 | 8.8 | 0.96 | 201 | 24 | 965.3 | 01 | 1006.6 | 934.3 | 246.9 |
| Jun | -30.8 | 00 | -10.4 | -47.8 | 9.4 | 40 | 199 | 8.9 | 0.95 | 201 | 34 | 967.3 | 00 | 983.2 | 940.5 | 244.7 |
| Jul | -30.0 | 00 | -13.6 | -49.5 | 12.4 | 42 | 201 | 12.3 | 0.99 | 202 | 32 | 964.1 | 00 | 988.8 | 938.5 | 245.7 |
| Aug | -32.3 | 00 | -11.9 | -47.8 | 12.4 | 52 | 200 | 12.4 | 1.00 | 202 | 27 | 966.3 | 00 | 982.6 | 947.4 | 243.3 |
| Sep | -33.6 | 00 | -14.2 | -49.4 | 12.3 | 58 | 199 | 12.3 | 1.00 | 199 | 31 | 971.0 | 00 | 998.7 | 942.2 | 241.6 |
| Oct | -26.7 | 00 | -10.4 | -43.8 |  |  |  |  |  |  |  | 958.0 | 00 | 984.7 | 932.5 | 249.5 |
| Nov | -11.1 | 00 | -1.8 | -26.4 | 10.7 | 29 | 199 | 10.4 | 0.97 | 203 | 28 | 963.4 | 00 | 985.6 | 941.2 | 264.8 |
| Dec | -8.0 | 00 | 0.8 | -16.5 | 3.8 | 00 | 186 | 1.8 | 0.49 | 199 | 14 | 978.0 | 00 | 994.9 | 969.6 | 266.9 |
| MEAN | -22.7 |  |  |  |  |  |  |  |  |  |  | 965.8 |  |  |  |  |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Willie Field (8929) |  |  | 77.87S |  |  |  | 167.02E |  |  |  | 20 M |  |  |  |  |  |
| Jan | -6.0 | 00 | 3.1 | -16.8 | 2.6 | 00 | 076 | 1.6 | 0.60 | 178 | 12 | 982.8 | 00 | 1000.1 | 968.4 | 268.5 |
| Feb | -13.3 | 00 | -1.1 | -25.6 | 3.8 | 00 | 085 | 2.5 | 0.66 | 161 | 18 | 987.4 | 00 | 1002.2 | 968.1 | 260.8 |
| Mar | -19.4 | 00 | -5.4 | -35.8 | 3.1 | 00 | 078 | 2.1 | 0.68 | 174 | 19 | 989.0 | 00 | 1007.1 | 975.9 | 254.6 |
| Apr | -22.5 | 00 | -2.9 | -42.1 | 4.0 | 00 | 094 | 2.4 | 0.60 | 182 | 20 | 988.4 | 00 | 1004.0 | 972.7 | 251.5 |
| May | -27.5 | 01 | -10.4 | -46.2 | 1.3 | 01 | 125 | 0.8 | 0.58 | 175 | 21 | 988.9 | 01 | 1030.2 | 957.9 | 246.5 |
| Jun | -30.0 | 00 | -5.2 | -45.8 | 1.0 | 00 | 089 | 0.8 | 0.73 | 098 | 14 | 991.1 | 00 | 1006.8 | 964.3 | 243.8 |
| Jul | -28.6 | 00 | -8.2 | -49.0 | 0.9 | 00 | 102 | 0.4 | 0.40 | 188 | 24 | 988.1 | 00 | 1011.5 | 961.8 | 245.5 |
| Aug | -32.1 | 00 | -8.2 | -48.6 | 1.6 | 00 | 096 | 0.8 | 0.50 | 178 | 21 | 990.0 | 00 | 1008.5 | 971.9 | 241.8 |
| Sep | -32.5 | 00 | -10.0 | -50.6 | 0.1 | 00 | 001 | 0.1 | 0.99 | 187 | 3 | 994.7 | 00 | 1022.6 | 967.7 | 241.0 |
| Oct | -24.9 | 00 | -6.8 | -43.2 | 2.2 | 00 | 099 | 0.6 | 0.28 | 149 | 20 | 981.2 | 00 | 1007.3 | 956.5 | 249.7 |
| Nov | -8.8 | 00 | 1.1 | -26.9 | 4.7 | 00 | 141 | 2.9 | 0.62 | 188 | 23 | 986.4 | 00 | 1007.8 | 964.8 | 265.4 |
| Dec | -5.9 | 01 | 1.1 | -16.9 | 2.7 | 00 | 068 | 1.7 | 0.62 | 161 | 11 | 1000.1 | 00 | 1016.5 | 992.1 | 267.2 |
| MEAN | -21.0 |  |  |  | 2.3 |  | 095 | 1.3 | 0.61 |  |  | 989.0 |  |  |  |  |
| Windless Bight (8927) |  |  | 77.73S |  |  |  | 167.70E |  |  |  | 61 M |  |  |  |  |  |
| Jan | -5.8 | 01 | 3.2 | -18.8 | 1.9 | 00 | 035 | 0.6 | 0.30 | 209 | 8.2 | 982.8 | 00 | 999.9 | 967.6 | 268.7 |
| Feb | -13.0 | 00 | -1.2 | -31.1 | 2.7 | 00 | 077 | 1.2 | 0.44 | 201 | 17 | 988.6 | 00 | 1003.2 | 969.3 | 261.0 |
| Mar | -19.8 | 00 | -5.0 | -36.6 | 2.3 | 00 | 056 | 1.2 | 0.52 | 078 | 10 | 990.8 | 00 | 1008.8 | 977.6 | 254.1 |
| Apr | -22.7 | 00 | -3.4 | -41.5 | 2.7 | 00 | 041 | 1.3 | 0.46 | 171 | 11 | 990.5 | 00 | 1006.2 | 974.2 | 251.2 |
| May | -27.9 | 01 | -9.5 | -47.8 | 1.9 | 01 | 033 | 0.7 | 0.36 | 198 | 13 | 990.7 | 01 | 1031.9 | 959.5 | 246.0 |
| Jun | -31.0 | 00 | -3.6 | -50.9 | 2.0 | 00 | 034 | 0.7 | 0.35 | 215 | 19 | 992.9 | 00 | 1008.2 | 968.8 | 242.7 |
| Jul | -28.2 | 00 | -7.5 | -52.5 | 2.5 | 00 | 041 | 0.8 | 0.30 | 182 | 14 | 990.1 | 00 | 1013.2 | 963.8 | 245.7 |
| Aug | -32.5 | 00 | -7.5 | -52.1 | 1.8 | 00 | 032 | 0.7 | 0.42 | 352 | 10 | 991.9 | 00 | 1010.3 | 973.5 | 241.2 |
| Sep | -33.4 | 00 | -9.6 | -52.8 | 2.1 | 00 | 030 | 1.0 | 0.46 | 210 | 12 | 996.6 | 00 | 1024.4 | 969.6 | 240.0 |
| Oct | -25.9 | 00 | -6.4 | -44.8 | 1.6 | 00 | 026 | 0.6 | 0.41 | 165 | 9 | 983.0 | 00 | 1008.8 | 958.3 | 248.5 |
| Nov | -8.4 | 00 | 1.1 | -32.5 | 2.5 | 00 | 005 | 0.6 | 0.25 | 219 | 15 | 988.7 | 00 | 1010.1 | 966.6 | 265.7 |
| Dec | -5.8 | 00 | 1.6 | -16.2 | 1.3 | 00 | 073 | 0.8 | 0.59 | 063 | 6 | 1001.8 | 00 | 1018.2 | 994.5 | 267.2 |
| MEAN | -21.2 |  |  |  | 2.1 |  | 043 | 0.8 | 0.41 |  |  | 990.7 |  |  |  |  |
| Herbie Alley (8697) |  |  | 78.10S |  |  |  | 166.67E |  |  |  | 30 M |  |  |  |  |  |
| Jan | -6.2 | 03 | 1.9 | -17.1 | 4.6 | 03 | 148 | 2.0 | 0.44 | 172 | 22 | 984.1 | 04 | 1000.8 | 969.9 | 268.2 |
| Feb | -13.0 | 03 | -3.1 | -24.2 | 4.2 | 03 | 143 | 1.5 | 0.35 | 189 | 26 | 988.5 | 06 | 1003.5 | 969.3 | 260.9 |
| Mar | -19.5 | 00 | -6.1 | -34.0 | 4.1 | 00 | 159 | 1.4 | 0.34 | 206 | 27 | 990.0 | 00 | 1008.8 | 977.0 | 254.4 |
| Apr | -22.6 | 00 | -4.0 | -41.1 | 6.3 | 00 | 176 | 4.3 | 0.68 | 192 | 32 | 988.6 | 05 | 1005.3 | 973.9 | 252.2 |
| May | -27.4 | 01 | -9.6 | -46.4 | 4.1 | 01 | 176 | 1.6 | 0.40 | 157 | 28 | 985.1 | 19 | 1017.6 | 956.7 | 249.6 |
| Jun | -29.4 | 00 | -5.6 | -45.6 | 3.7 | 00 | 155 | 1.5 | 0.40 | 199 | 31 | 992.2 | 25 | 1008.1 | 963.8 | 246.9 |
| Jul | -29.0 | 00 | -8.1 | -49.5 | 4.6 | 00 | 177 | 2.4 | 0.52 | 212 | 38 | 988.4 | 11 | 1013.1 | 964.1 | 246.0 |
| Aug | -32.1 | 00 | -8.0 | -48.6 | 4.1 | 00 | 175 | 1.9 | 0.48 | 181 | 33 | 992.3 | 37 | 1007.6 | 973.6 | 245.8 |
| Sep | -32.2 | 00 | -8.9 | -49.8 | 4.6 | 00 | 180 | 2.1 | 0.46 | 194 | 36 | 996.5 | 28 | 1024.0 | 967.9 | 244.4 |
| Oct | -24.3 | 00 | -5.5 | -42.1 | 3.7 | 00 | 166 | 1.2 | 0.32 | 175 | 27 | 982.3 | 07 | 1008.9 | 958.1 | 249.8 |
| Nov | -8.8 | 00 | 0.5 | -24.4 | 7.4 | 00 | 173 | 5.5 | 0.74 | 213 | 30 | 987.5 | 16 | 1008.8 | 966.2 | 265.4 |
| Dec | -6.1 | 00 | 2.4 | -16.0 | 3.8 | 00 | 087 | 1.3 | 0.33 | 154 | 18 | 1001.3 | 09 | 1017.8 | 992.4 | 266.8 |
| MEAN | -20.9 |  |  |  | 4.6 |  | 166 | 2.1 | 0.46 |  |  | 989.7 |  |  |  |  |
|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Cape Spencer (8722) |  |  | 77.97S |  |  |  | 167.55E |  |  |  | 30 M |  |  |  |  |  |
| Jan | -7.3 | 00 | 0.8 | -19.9 | 3.6 | 00 | 151 | 1.1 | 0.30 | 194 | 19 | 978.7 | 00 | 996.8 | 963.7 | 267.5 |
| Feb | -14.1 | 03 | -5.5 | -26.4 | 4.1 | 03 | 123 | 2.2 | 0.52 | 212 | 27 | 985.1 | 03 | 999.3 | 965.2 | 260.2 |
| Mar | -20.5 | 00 | -6.6 | -35.4 | 4.0 | 00 | 114 | 0.9 | 0.21 | 212 | 26 | 987.7 | 00 | 1007.6 | 975.9 | 253.6 |
| Apr | -24.3 | 00 | -4.2 | -43.4 | 4.3 | 00 | 137 | 0.6 | 0.14 | 219 | 26 | 987.9 | 00 | 1005.1 | 972.0 | 249.8 |
| May | -28.0 | 01 | -10.9 | -46.0 | 3.8 | 01 | 208 | 1.0 | 0.26 | 209 | 30 | 988.8 | 01 | 1031.8 | 954.2 | 246.0 |
| Jun | -30.0 | 00 | -5.5 | -46.5 | 4.0 | 00 | 230 | 1.0 | 0.26 | 219 | 33 | 991.3 | 00 | 1008.3 | 960.4 | 243.8 |
| Jul | -29.0 | 00 | -9.1 | -51.6 | 4.3 | 00 | 196 | 1.2 | 0.29 | 213 | 29 | 988.1 | 00 | 1011.4 | 961.6 | 245.0 |
| Aug | -32.2 | 00 | -7.9 | -48.6 | 3.7 | 00 | 195 | 0.9 | 0.24 | 205 | 28 | 990.6 | 00 | 1007.4 | 973.2 | 241.6 |
| Sep | -32.7 | 00 | -9.8 | -52.1 | 4.5 | 00 | 194 | 1.1 | 0.25 | 213 | 34 | 995.1 | 00 | 1022.8 | 967.1 | 240.8 |
| Oct | -25.2 | 00 | -7.1 | -42.4 | 3.9 | 00 | 198 | 0.6 | 0.15 | 225 | 23 | 980.2 | 00 | 1006.1 | 954.6 | 249.4 |
| Nov | -9.6 | 00 | -0.1 | -25.6 | 5.7 | 00 | 188 | 3.4 | 0.59 | 216 | 25 | 982.8 | 00 | 1003.8 | 962.9 | 264.9 |
| Dec | -7.0 | 00 | 0.0 | -17.2 | 3.2 | 00 | 117 | 1.2 | 0.38 | 223 | 12 | 995.8 | 00 | 1012.6 | 988.0 | 266.5 |
| MEAN | -21.7 |  |  |  | 4.1 |  | 171 | 1.0 | 0.30 |  |  | 987.7 |  |  |  |  |
| Cape Bird (8901) |  |  | 77.22S |  |  |  | 166.43E |  |  |  | 70 M |  |  |  |  |  |
| Jan | -2.1 | 00 | 3.2 | -6.9 | 4.5 | 00 | 266 | 0.3 | 0.07 | 208 | 24 |  |  |  |  |  |
| Feb | -6.2 | 00 | 0.5 | -12.1 | 4.1 | 00 | 103 | 1.1 | 0.26 | 211 | 24 | 984.0 | 13 | 1002.1 | 964.8 | 267.9 |
| Mar | -11.9 | 00 | -4.2 | -20.5 | 4.3 | 00 | 066 | 0.8 | 0.18 | 012 | 20 | 986.1 | 00 | 1005.4 | 974.1 | 262.3 |
| Apr | -16.1 | 00 | -2.9 | -26.4 | 4.8 | 00 | 049 | 2.4 | 0.50 | 206 | 31 | 984.3 | 00 | 1002.1 | 967.6 | 258.2 |
| May | -20.1 | 01 | -6.1 | -32.2 | 3.6 | 01 | 070 | 1.6 | 0.44 | 199 | 22 | 986.1 | 01 | 1027.3 | 954.2 | 254.1 |
| Jun | -23.3 | 00 | -2.4 | -34.6 | 4.2 | 00 | 108 | 0.9 | 0.21 | 215 | 34 | 988.1 | 00 | 1004.9 | 956.3 | 250.7 |
| Jul | -20.1 | 00 | -4.8 | -31.6 | 5.6 | 00 | 149 | 1.0 | 0.18 | 222 | 41 | 984.3 | 00 | 1009.2 | 959.9 | 254.2 |
| Aug | -22.9 | 00 | -3.8 | -32.8 | 3.4 | 00 | 084 | 1.1 | 0.32 | 214 | 32 | 986.9 | 00 | 1003.2 | 969.6 | 251.2 |
| Sep | -22.6 | 01 | -5.6 | -34.0 | 3.4 | 01 | 055 | 1.2 | 0.34 | 197 | 20 | 995.2 | 19 | 1019.5 | 969.4 | 249.0 |
| Oct | -18.9 | 00 | -8.0 | -29.6 | 3.5 | 00 | 036 | 1.2 | 0.35 | 256 | 30 | 979.6 | 12 | 1006.5 | 956.8 | 255.0 |
| Nov | -5.8 | 01 | 2.9 | -23.6 | 6.1 | 01 | 188 | 1.4 | 0.22 | 213 | 33 | 982.9 | 10 | 1005.9 | 964.1 | 268.7 |
| Dec | -3.1 | 00 | 1.5 | -6.2 | 3.5 | 00 | 019 | 2.4 | 0.69 | 207 | 12 | 997.9 | 00 | 1014.6 | 987.6 | 270.2 |
| MEAN | -14.4 |  |  |  | 4.3 |  | 069 | 0.9 | 0.31 |  |  |  |  |  |  |  |
| Laurie II (21364) |  |  | 77.55S |  |  |  | 170.82E |  |  |  | 30 M |  |  |  |  |  |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb | -14.8 | 00 | -1.1 | -26.0 | 5.4 | 00 | 175 | 4.0 | 0.74 | 198 | 19 | 983.8 | 00 | 999.8 | 964.8 | 259.6 |
| Mar | -21.8 | 00 | -10.2 | -37.9 | 6.7 | 00 | 183 | 5.2 | 0.78 | 181 | 30 | 985.5 | 00 | 1004.6 | 973.3 | 252.4 |
| Apr | -25.8 | 00 | -7.0 | -41.0 | 11.0 | 00 | 188 | 10.7 | 0.97 | 195 | 31 | 984.0 | 00 | 999.8 | 969.0 | 248.5 |
| May | -29.2 | 01 | -14.5 | -46.2 | 7.2 | 10 | 192 | 6.2 | 0.86 | 201 | 31 | 985.0 | 01 | 1025.9 | 954.5 | 245.0 |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Possession Is (8984) |  |  | 71.89S |  |  |  | 171.21E |  |  |  | 30 M |  |  |  |  |  |
| Jan | 0.3 | 12 | 7.2 | -3.2 |  |  |  |  |  |  |  | 971.7 | 12 | 988.7 | 958.3 | 275.7 |
| Feb | -2.1 | 06 | 2.4 | -9.1 |  |  |  |  |  |  |  | 975.1 | 05 | 992.6 | 960.3 | 273.1 |
| Mar | -7.7 | 02 | -1.2 | -13.9 |  |  |  |  |  |  |  | 975.6 | 02 | 993.5 | 959.4 | 267.3 |
| Apr | -14.8 | 07 | -3.0 | -24.5 |  |  |  |  |  |  |  | 974.7 | 07 | 993.6 | 958.1 | 260.3 |
| May | -17.0 | 04 | -9.8 | -26.1 |  |  |  |  |  |  |  | 975.6 | 04 | 1010.1 | 951.2 | 258.0 |
| Jun | -19.9 | 02 | -5.9 | -28.5 |  |  |  |  |  |  |  | 980.2 | 02 | 997.3 | 958.9 | 254.8 |
| Jul | -19.1 | 03 | -8.0 | -28.5 |  |  |  |  |  |  |  | 976.8 | 03 | 1001.3 | 957.3 | 255.8 |
| Aug | -20.4 | 03 | -5.4 | -30.5 |  |  |  |  |  |  |  | 977.0 | 03 | 997.5 | 960.2 | 254.5 |
| Sep | -18.2 | 05 | -5.9 | -28.6 |  |  |  |  |  |  |  | 982.2 | 05 | 1012.1 | 957.0 | 256.3 |
| Oct | -15.4 | 09 | -6.0 | -24.9 |  |  |  |  |  |  |  | 969.0 | 09 | 991.7 | 950.9 | 260.1 |
| Nov | -4.9 | 24 | 2.5 | -18.0 |  |  |  |  |  |  |  | 973.1 | 24 | 996.2 | 950.0 | 270.4 |
| Dec | -0.4 | 37 | 5.2 | -3.2 |  |  |  |  |  |  |  | 988.4 | 35 | 1001.6 | 979.2 | 273.6 |
| MEAN | -11.6 |  |  |  |  |  |  |  |  |  |  | 976.6 |  |  |  |  |
| Manuela (8905) |  |  | 74.95S |  |  |  | 163.69E |  |  |  | 80 M |  |  |  |  |  |
| Jan | -5.3 | 00 | 1.4 | -11.4 |  |  |  |  |  |  |  | 975.1 | 00 | 993.6 | 961.5 | 269.8 |
| Feb | -12.0 | 00 | -2.2 | -21.2 |  |  |  |  |  |  |  | 979.1 | 00 | 995.7 | 960.9 | 262.8 |
| Mar | -20.2 | 00 | -11.4 | -31.8 |  |  |  |  |  |  |  | 980.8 | 00 | 999.5 | 966.5 | 254.4 |
| Apr | -24.5 | 00 | -10.5 | -33.9 |  |  |  |  |  |  |  | 980.1 | 00 | 997.2 | 963.3 | 250.1 |
| May | -25.1 | 01 | -14.1 | -35.2 |  |  |  |  |  |  |  | 980.3 | 01 | 1021.1 | 950.4 | 249.5 |
| Jun | -25.9 | 00 | -7.6 | -37.0 |  |  |  |  |  |  |  | 982.3 | 00 | 999.4 | 956.7 | 248.6 |
| Jul | -25.4 | 00 | -13.9 | -36.9 |  |  |  |  |  |  |  | 979.4 | 00 | 1004.3 | 956.3 | 249.3 |
| Aug | -27.3 | 00 | -10.6 | -39.8 |  |  |  |  |  |  |  | 980.5 | 00 | 998.5 | 957.3 | 247.3 |
| Sep | -22.2 | 00 | -11.2 | -33.4 |  |  |  |  |  |  |  | 984.7 | 00 | 1014.9 | 955.9 | 252.1 |
| Oct | -20.6 | 00 | -7.9 | -29.2 |  |  |  |  |  |  |  | 972.7 | 00 | 999.9 | 950.9 | 254.6 |
| Nov | -9.5 | 00 | 2.4 | -23.2 |  |  |  |  |  |  |  | 978.7 | 00 | 1001.8 | 956.1 | 265.3 |
| Dec | -4.7 | 00 | 1.9 | -11.4 |  |  |  |  |  |  |  | 992.1 | 00 | 1008.6 | 984.2 | 269.1 |
| MEAN | -18.6 |  |  |  |  |  |  |  |  |  |  | 980.5 |  |  |  |  |
| Marilyn (8931) |  |  | 79.95S |  |  |  | 165.13E |  |  |  | 75 M |  |  |  |  |  |
| Jan | -8.5 | 00 | 0.4 | -18.0 | 2.8 | 00 | 216 | 1.7 | 0.60 | 193 | 11 | 976.9 | 00 | 993.0 | 962.3 | 266.4 |
| Feb | -16.2 | 00 | -6.8 | -28.9 | 5.5 | 00 | 255 | 4.0 | 0.73 | 257 | 22 | 981.0 | 00 | 996.4 | 959.0 | 258.4 |
| Mar | -23.0 | 00 | -6.5 | -34.4 | 6.5 | 02 | 251 | 5.4 | 0.83 | 262 | 26 | 982.2 | 00 | 1000.4 | 965.7 | 251.4 |
| Apr | -26.8 | 00 | -6.5 | -39.8 | 6.7 | 00 | 244 | 6.1 | 0.90 | 179 | 17 | 982.8 | 00 | 998.3 | 966.1 | 247.6 |
| May | -28.9 | 01 | -13.6 | -48.8 | 7.4 | 03 | 251 | 6.2 | 0.85 | 266 | 26 | 981.7 | 01 | 1021.0 | 952.1 | 245.6 |
| Jun | -31.2 | 00 | -7.8 | -44.1 | 6.1 | 05 | 239 | 4.7 | 0.77 | 247 | 20 | 984.1 | 00 | 999.5 | 956.8 | 243.1 |
| Jul | -30.1 | 00 | -15.6 | -49.2 | 8.9 | 06 | 255 | 8.1 | 0.92 | 273 | 29 | 980.9 | 00 | 1004.0 | 955.1 | 244.4 |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Schwerdtfeger (8913) |  |  | 79.90S |  |  |  | 169.97E |  |  |  | 60 M |  |  |  |  |  |
| Jan | -10.1 | 00 | -1.6 | -19.8 | 3.7 | 00 | 191 | 2.5 | 0.68 | 180 | 12 | 974.9 | 00 | 991.3 | 958.8 | 265.0 |
| Feb | -18.5 | 00 | -7.8 | -34.4 | 4.6 | 00 | 224 | 2.1 | 0.47 | 253 | 16 | 979.2 | 00 | 995.2 | 959.6 | 256.2 |
| Mar | -26.2 | 00 | -14.1 | -43.6 | 5.3 | 00 | 234 | 4.0 | 0.76 | 258 | 22 | 979.9 | 00 | 997.8 | 964.1 | 248.4 |
| Apr | -30.5 | 00 | -10.4 | -43.0 | 6.2 | 00 | 215 | 5.4 | 0.87 | 167 | 19 | 979.6 | 00 | 995.2 | 964.5 | 244.1 |
| May | -33.0 | 01 | -14.8 | -54.0 | 5.7 | 01 | 235 | 4.5 | 0.80 | 257 | 16 | 979.3 | 01 | 1019.6 | 947.6 | 241.7 |
| Jun | -36.1 | 00 | -10.4 | -52.4 | 5.1 | 00 | 218 | 3.6 | 0.71 | 178 | 18 | 981.5 | 00 | 996.2 | 955.0 | 238.3 |
| Jul | -34.1 | 00 | -11.5 | -53.8 | 7.0 | 04 | 235 | 5.8 | 0.82 | 187 | 20 | 978.0 | 00 | 1002.1 | 950.5 | 240.6 |
| Aug | -36.3 | 00 | -11.1 | -52.0 | 8.5 | 64 | 240 | 7.4 | 0.87 | 260 | 22 | 980.1 | 00 | 997.4 | 957.8 | 238.3 |
| Sep | -37.5 | 00 | -18.9 | -54.6 | 7.5 | 35 | 236 | 6.0 | 0.80 | 254 | 22 | 984.9 | 00 | 1012.7 | 953.5 | 236.7 |
| Oct | -29.8 | 00 | -13.8 | -45.6 | 4.0 | 00 | 246 | 2.0 | 0.50 | 182 | 19 | 971.8 | 00 | 998.0 | 945.6 | 245.4 |
| Nov | -13.2 | 00 | -1.8 | -32.9 | 5.6 | 00 | 188 | 4.2 | 0.76 | 168 | 17 | 977.7 | 00 | 999.9 | 954.7 | 261.6 |
| Dec | -9.6 | 01 | -2.5 | -17.4 | 2.4 | 00 | 202 | 0.6 | 0.25 | 158 | 9 | 992.3 | 00 | 1010.0 | 984.9 | 264.1 |
| MEAN | -26.2 |  |  |  | 5.5 |  | 226 | 3.8 | 0.69 |  |  | 979.9 |  |  |  |  |
| Gill (8911) |  |  | 79.99S |  |  |  | 178.6W |  |  |  | 55 M |  |  |  |  |  |
| Jan | -10.6 | 00 | -4.0 | -20.4 | 3.8 | 00 | 207 | 2.9 | 0.77 | 243 | 10 | 976.6 | 00 | 992.3 | 957.3 | 264.3 |
| Feb | -17.8 | 00 | -9.4 | -32.1 | 4.1 | 00 | 193 | 1.7 | 0.42 | 100 | 13 | 982.0 | 00 | 997.0 | 959.9 | 256.6 |
| Mar | -23.9 | 00 | -10.5 | -37.2 | 4.4 | 00 | 244 | 1.9 | 0.43 | 211 | 14 | 981.3 | 00 | 999.3 | 963.5 | 250.7 |
| Apr | -33.0 | 00 | -13.2 | -50.1 | 2.2 | 00 | 212 | 1.9 | 0.88 | 127 | 8 | 979.4 | 00 | 994.3 | 962.1 | 241.6 |
| May | -36.0 | 01 | -15.0 | -51.0 | 0.2 | 01 | 263 | 0.1 | 0.68 | 256 | 5 | 980.2 | 01 | 1020.1 | 950.8 | 238.6 |
| Jun | -39.5 | 00 | -12.5 | -59.2 | 5.8 | 64 | 228 | 4.0 | 0.70 | 136 | 15 | 982.6 | 00 | 1000.0 | 955.7 | 234.8 |
| Jul | -36.6 | 00 | -14.4 | -53.1 |  |  |  |  |  |  |  | 977.5 | 00 | 1004.5 | 950.2 | 238.2 |
| Aug | -38.6 | 00 | -10.4 | -57.8 |  |  |  |  |  |  |  | 980.6 | 00 | 997.9 | 956.9 | 235.8 |
| Sep | -37.9 | 00 | -11.8 | -57.2 |  |  |  |  |  |  |  | 985.4 | 00 | 1008.2 | 953.6 | 236.2 |
| Oct | -30.6 | 00 | -14.0 | -45.2 |  |  |  |  |  |  |  | 974.7 | 00 | 1001.0 | 948.7 | 244.3 |
| Nov | -13.9 | 00 | -1.4 | -31.2 | 5.4 | 26 | 189 | 4.5 | 0.84 | 218 | 16 | 978.9 | 00 | 1003.1 | 953.7 | 260.9 |
| Dec | -9.6 | 00 | -1.9 | -18.0 | 2.6 | 00 | 223 | 1.0 | 0.37 | 142 | 8 | 995.6 | 00 | 1013.5 | 986.2 | 263.9 |
| MEAN | -27.3 |  |  |  |  |  |  |  |  |  |  | 981.2 |  |  |  |  |
| Lettau (8908) |  |  | 82.52S |  |  |  | 174.4W |  |  |  | 55 M |  |  |  |  |  |
| Jan | -8.4 | 54 | -2.5 | -17.2 | 3.6 | 54 | 148 | 2.6 | 0.72 | 139 | 13 | 980.2 | 54 | 992.8 | 958.8 | 266.3 |
| Feb | -18.5 | 22 | -7.2 | -31.4 | 3.2 | 21 | 152 | 1.5 | 0.45 | 122 | 11 | 982.4 | 21 | 998.1 | 958.9 | 256.0 |
| Mar | -23.6 | 00 | -8.1 | -39.4 | 4.5 | 00 | 143 | 3.1 | 0.68 | 053 | 13 | 983.0 | 00 | 1000.1 | 960.2 | 250.8 |
| Apr | -30.6 | 00 | -12.9 | -48.5 | 5.2 | 00 | 148 | 4.9 | 0.93 | 132 | 16 | 982.2 | 00 | 997.9 | 962.2 | 243.8 |
| May | -34.2 | 01 | -13.9 | -54.0 | 4.4 | 01 | 152 | 3.5 | 0.79 | 135 | 15 | 982.2 | 01 | 1020.1 | 957.2 | 240.2 |
| Jun | -35.2 | 00 | -10.1 | -53.0 | 5.4 | 00 | 150 | 4.5 | 0.83 | 130 | 20 | 984.6 | 00 | 999.7 | 958.4 | 239.0 |
| Jul | -32.3 | 00 | -12.4 | -50.4 | 6.5 | 00 | 154 | 5.2 | 0.81 | 136 | 23 | 979.2 | 00 | 1006.6 | 954.1 | 242.4 |
| Aug | -36.0 | 00 | -11.4 | -54.0 | 4.1 | 00 | 151 | 3.4 | 0.82 | 164 | 14 | 982.5 | 00 | 999.4 | 956.3 | 238.4 |
| Sep | -35.9 | 00 | -13.9 | -57.8 | 5.6 | 00 | 109 | 0.3 | 0.05 | 354 | 22 | 987.1 | 00 | 1013.9 | 954.8 | 238.2 |
| Oct | -28.6 | 00 | -10.8 | -46.2 | 2.7 | 69 | 151 | 0.7 | 0.28 | 023 | 18 | 975.4 | 00 | 1000.6 | 949.4 | 246.3 |
| Nov | -14.6 | 74 | 0.8 | -30.2 |  |  |  |  |  |  |  | 982.2 | 74 | 1005.7 | 952.5 | 259.9 |
| Dec | -8.0 | 75 | -3.6 | -12.0 |  |  |  |  |  |  |  | 993.4 | 75 | 999.9 | 987.7 | 265.7 |
| MEAN | -25.5 |  |  |  |  |  |  |  |  |  |  | 982.9 |  |  |  |  |
|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Elaine (8915) |  |  | 83.13S |  |  |  | 174.17E |  |  |  | 60 M |  |  |  |  |  |
| Jan | -7.5 | 00 | -1.4 | -15.8 | 3.1 | 00 | 125 | 1.8 | 0.58 | 111 | 17 | 981.9 | 00 | 996.6 | 966.8 | 267.0 |
| Feb | -16.2 | 00 | -3.4 | -33.6 | 2.7 | 00 | 129 | 1.5 | 0.56 | 208 | 20 | 986.5 | 00 | 1001.7 | 963.2 | 257.9 |
| Mar | -21.0 | 00 | -2.8 | -41.0 | 4.8 | 00 | 128 | 3.9 | 0.80 | 108 | 20 | 987.9 | 00 | 1005.8 | 966.2 | 253.1 |
| Apr | -27.1 | 00 | -6.5 | -44.8 | 4.0 | 00 | 142 | 3.2 | 0.80 | 116 | 19 | 988.7 | 00 | 1003.5 | 971.8 | 246.9 |
| May | -30.4 | 01 | -8.5 | -57.9 | 4.6 | 01 | 132 | 3.3 | 0.72 | 109 | 20 | 987.5 | 01 | 1025.4 | 964.3 | 243.7 |
| Jun | -31.0 | 00 | -5.8 | -50.8 | 4.6 | 00 | 136 | 3.2 | 0.70 | 109 | 23 | 990.1 | 00 | 1005.6 | 962.4 | 242.9 |
| Jul | -29.5 | 00 | -9.5 | -53.1 | 4.9 | 00 | 138 | 3.4 | 0.70 | 119 | 28 | 985.6 | 00 | 1009.6 | 961.7 | 244.7 |
| Aug | -31.0 | 00 | -11.8 | -52.4 | 3.4 | 00 | 136 | 2.5 | 0.74 | 109 | 20 | 988.0 | 00 | 1006.9 | 962.7 | 243.0 |
| Sep | -35.3 | 00 | -12.4 | -57.9 | 4.3 | 03 | 141 | 2.5 | 0.57 | 109 | 24 | 992.7 | 00 | 1020.5 | 965.4 | 238.4 |
| Oct | -26.5 | 00 | -7.4 | -48.4 | 3.1 | 00 | 121 | 2.4 | 0.77 | 109 | 29 | 979.8 | 00 | 1003.3 | 956.4 | 248.2 |
| Nov | -9.6 | 01 | -1.5 | -25.9 | 4.5 | 00 | 124 | 3.9 | 0.85 | 112 | 24 | 987.6 | 00 | 1008.3 | 957.7 | 264.5 |
| Dec | -6.8 | 00 | 0.9 | -12.4 | 1.4 | 00 | 098 | 0.3 | 0.19 | 113 | 9 | 999.9 | 00 | 1014.7 | 993.5 | 266.4 |
| MEAN | -22.7 |  |  |  | 3.8 |  | 132 | 2.6 | 0.67 |  |  | 988.0 |  |  |  |  |
| Larsen Ice Shelf (8926) |  |  | 66.95S |  |  |  | 60.91W |  |  |  | 17 M |  |  |  |  |  |
| Jan | -2.9 | 05 | 4.6 | -10.9 | 4.5 | 04 | 106 | 0.6 | 0.14 | 002 | 14 | 975.2 | 04 | 989.8 | 957.0 | 272.3 |
| Feb | -4.7 | 04 | 4.2 | -18.4 | 3.6 | 04 | 004 | 0.8 | 0.23 | 012 | 13 | 987.7 | 04 | 1005.2 | 974.5 | 269.4 |
| Mar | -12.7 | 03 | 4.1 | -30.6 | 3.0 | 03 | 233 | 0.2 | 0.06 | 008 | 11 | 997.5 | 03 | 1018.9 | 969.6 | 260.7 |
| Apr | -21.0 | 04 | -4.9 | -35.2 | 3.5 | 04 | 183 | 2.2 | 0.63 | 187 | 15 | 983.4 | 04 | 996.5 | 959.6 | 253.4 |
| May | -22.7 | 06 | 1.6 | -40.1 | 3.2 | 06 | 236 | 0.5 | 0.17 | 274 | 17 | 991.0 | 06 | 1029.3 | 960.2 | 251.1 |
| Jun | -19.8 | 05 | 0.5 | -33.8 | 1.2 | 05 | 226 | 0.6 | 0.48 | 223 | 11 | 990.0 | 05 | 1012.1 | 964.7 | 254.1 |
| Jul | -21.0 | 04 | 0.5 | -39.0 | 1.5 | 04 | 296 | 0.7 | 0.49 | 208 | 18 | 998.0 | 04 | 1019.5 | 980.5 | 252.3 |
| Aug | -29.4 | 05 | -0.8 | -45.6 | 1.9 | 05 | 200 | 1.1 | 0.59 | 178 | 10 | 988.6 | 05 | 1007.0 | 965.0 | 244.5 |
| Sep | -21.1 | 05 | 1.1 | -38.1 | 3.6 | 05 | 231 | 1.5 | 0.42 | 137 | 19 | 994.3 | 05 | 1036.0 | 962.8 | 252.5 |
| Oct | -11.1 | 07 | 1.0 | -26.8 | 3.8 | 07 | 175 | 1.6 | 0.41 | 188 | 15 | 983.8 | 07 | 1008.5 | 960.3 | 263.3 |
| Nov | -6.2 | 07 | 5.5 | -20.6 | 3.1 | 07 | 029 | 1.0 | 0.32 | 360 | 10 | 989.5 | 07 | 1004.6 | 977.9 | 267.8 |
| Dec | -2.0 | 05 | 4.9 | -14.4 | 3.9 | 05 | 051 | 1.3 | 0.32 | 039 | 10 | 986.8 | 05 | 997.0 | 973.4 | 272.2 |
| MEAN | -14.6 |  |  |  | 3.1 |  | 195 | 0.3 | 0.36 |  |  | 988.8 |  |  |  |  |
| Butler Island (8902) |  |  | 72.21S |  |  |  | 60.17W |  |  |  | 91 M |  |  |  |  |  |
| Jan | -4.2 | 04 | 2.2 | -10.0 | 3.7 | 01 | 159 | 1.1 | 0.30 | 180 | 11 | 968.1 | 01 | 983.5 | 957.1 | 271.5 |
| Feb | -7.2 | 03 | 8.9 | -16.2 | 4.0 | 02 | 215 | 1.1 | 0.27 | 170 | 14 | 978.1 | 03 | 991.0 | 964.9 | 267.7 |
| Mar | -13.7 | 03 | 4.2 | -26.6 | 5.5 | 02 | 210 | 1.5 | 0.27 | 185 | 16 | 986.3 | 03 | 1006.1 | 966.8 | 260.5 |
| Apr | -23.0 | 01 | -13.0 | -31.9 | 4.4 | 01 | 196 | 3.3 | 0.76 | 198 | 17 | 974.2 | 01 | 988.8 | 954.3 | 252.0 |
| May | -22.6 | 01 | 2.4 | -34.1 | 4.6 | 01 | 216 | 1.6 | 0.35 | 178 | 22 | 978.7 | 01 | 1012.7 | 956.6 | 252.1 |
| Jun | -17.7 | 00 | -0.2 | -29.6 | 4.9 | 67 | 192 | 4.2 | 0.86 | 180 | 22 | 978.2 | 00 | 998.0 | 951.8 | 257.1 |
| Jul | -16.5 | 00 | 3.4 | -34.4 |  |  |  |  |  |  |  | 984.0 | 00 | 1006.2 | 962.5 | 257.8 |
| Aug | -24.9 | 00 | -5.5 | -33.1 |  |  |  |  |  |  |  | 977.5 | 01 | 992.9 | 957.8 | 249.8 |
| Sep | -19.2 | 02 | -1.8 | -30.5 |  |  |  |  |  |  |  | 980.9 | 02 | 1020.3 | 944.9 | 255.5 |
| Oct | -14.3 | 00 | 4.6 | -22.6 |  |  |  |  |  |  |  | 974.0 | 00 | 991.5 | 952.5 | 260.9 |
| Nov | -7.2 | 01 | 2.9 | -15.4 |  |  |  |  |  |  |  | 977.7 | 00 | 987.9 | 968.2 | 267.7 |
| Dec | -3.2 | 04 | 1.9 | -8.9 |  |  |  |  |  |  |  | 978.0 | 01 | 986.1 | 969.1 | 271.7 |
| MEAN | -14.5 |  |  |  |  |  |  |  |  |  |  | 978.0 |  |  |  |  |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Uranus Glacier (8920) |  |  | 71.43S |  |  |  | 68.93W |  |  |  | 780 M |  |  |  |  |  |
| Jan | -4.7 | 40 | 1.8 | -12.6 | 5.2 | 40 | 022 | 4.4 | 0.85 | 040 | 19 | 894.9 | 40 | 906.5 | 882.3 | 277.2 |
| Feb | -4.7 | 01 | 2.2 | -17.2 | 5.3 | 00 | 004 | 4.3 | 0.80 | 338 | 23 | 905.2 | 00 | 922.6 | 885.9 | 276.2 |
| Mar | -6.2 | 00 | 3.6 | -19.1 | 4.3 | 00 | 009 | 3.5 | 0.83 | 007 | 20 | 913.0 | 00 | 934.3 | 887.3 | 274.0 |
| Apr | -11.5 | 00 | -2.6 | -25.6 | 5.6 | 00 | 010 | 4.8 | 0.86 | 338 | 28 | 895.8 | 00 | 910.4 | 868.8 | 270.0 |
| May | -10.7 | 01 | -0.6 | -23.5 | 5.1 | 01 | 358 | 4.6 | 0.89 | 338 | 23 | 904.3 | 01 | 940.5 | 879.4 | 270.2 |
| Jun | -11.5 | 00 | 0.6 | -26.8 | 6.1 | 00 | 358 | 5.3 | 0.87 | 025 | 24 | 905.3 | 00 | 931.9 | 877.0 | 269.2 |
| Jul | -10.9 | 01 | -1.9 | -24.2 | 6.3 | 01 | 360 | 5.7 | 0.90 | 338 | 35 | 911.8 | 01 | 933.1 | 886.6 | 269.3 |
| Aug | -17.8 | 00 | -2.6 | -34.5 | 4.6 | 00 | 003 | 3.9 | 0.86 | 030 | 26 | 901.8 | 00 | 918.4 | 875.3 | 263.1 |
| Sep | -16.3 | 00 | -2.6 | -37.1 | 6.2 | 00 | 352 | 5.6 | 0.91 | 004 | 25 | 909.5 | 00 | 952.4 | 875.5 | 263.9 |
| Oct | -11.5 | 75 | -3.1 | -19.0 | 5.4 | 75 | 347 | 5.0 | 0.91 | 338 | 24 | 908.3 | 75 | 928.7 | 890.3 | 269.0 |
| Nov | -6.0 | 33 | 2.1 | -15.6 | 3.7 | 32 | 357 | 3.0 | 0.81 | 337 | 22 | 907.4 | 32 | 917.4 | 891.4 | 274.7 |
| Dec | -5.1 | 22 | 5.6 | -14.1 | 3.3 | 19 | 025 | 2.5 | 0.75 | 022 | 15 | 905.0 | 19 | 917.3 | 893.6 | 275.8 |
|  | -9.7 |  |  |  | 5.1 |  | 002 | 4.3 | 0.85 |  |  | 905.2 |  |  |  |  |
| Limbert (8925) |  |  | 75.42S |  |  |  | 59.85W |  |  |  | 40 M |  |  |  |  |  |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb | -13.9 | 34 | 2.2 | -26.8 | 1.6 | 34 | 206 | 0.4 | 0.25 | 202 | 8 | 989.8 | 34 | 1001.5 | 978.7 | 260.0 |
| Mar | -20.6 | 00 | 1.0 | -37.1 | 1.7 | 00 | 208 | 1.0 | 0.59 | 184 | 8 | 997.8 | 00 | 1015.2 | 980.8 | 252.7 |
| Apr | -28.7 | 00 | -16.5 | -42.1 | 2.9 | 00 | 206 | 2.7 | 0.93 | 213 | 16 | 986.0 | 00 | 999.2 | 967.1 | 245.5 |
| May | -31.5 | 01 | -11.1 | -44.5 | 2.3 | 01 | 202 | 1.9 | 0.82 | 202 | 13 | 991.4 | 01 | 1024.3 | 976.6 | 242.3 |
| Jun | -25.6 | 00 | -5.5 | -40.1 | 1.7 | 00 | 210 | 1.3 | 0.78 | 201 | 13 | 990.5 | 00 | 1010.3 | 964.6 | 248.3 |
| Jul | -28.8 | 03 | -5.6 | -42.4 |  |  |  |  |  |  |  | 995.8 | 03 | 1020.0 | 971.0 | 244.7 |
| Aug | -31.8 | 62 | -20.6 | -48.6 |  |  |  |  |  |  |  | 990.8 | 62 | 1004.0 | 974.1 | 242.0 |
| Sep | -30.7 | 37 | -15.0 | -40.4 |  |  |  |  |  |  |  | 986.6 | 37 | 1008.3 | 956.5 | 243.4 |
| Oct | -21.0 | 00 | -10.9 | -32.6 |  |  |  |  |  |  |  | 986.5 | 00 | 1004.0 | 963.4 | 253.1 |
| Nov | -11.5 | 00 | 0.1 | -26.8 |  |  |  |  |  |  |  | 988.9 | 00 | 1000.3 | 975.9 | 262.5 |
| Dec | -4.3 | 02 | 1.1 | -14.2 |  |  |  |  |  |  |  | 990.6 | 00 | 1000.4 | 976.4 | 269.6 |
| Racer Rock (8947) |  |  | 64.07S |  |  |  | 61.61W |  |  |  | 17 M |  |  |  |  |  |
| Jan | 1.5 | 13 | 6.1 | -1.4 | 6.4 | 13 | 011 | 1.1 | 0.18 | 341 | 21 | 977.6 | 13 | 993.1 | 961.5 | 276.4 |
| Feb | 1.3 | 16 | 5.2 | -2.0 | 5.2 | 16 | 044 | 1.4 | 0.27 | 068 | 24 | 992.0 | 16 | 1010.2 | 976.3 | 275.1 |
| Mar | 0.4 | 15 | 4.9 | -3.5 | 4.9 | 14 | 044 | 1.3 | 0.27 | 077 | 22 | 999.7 | 14 | 1017.5 | 977.0 | 273.6 |
| Apr | -1.0 | 12 | 2.9 | -6.8 | 6.9 | 12 | 017 | 2.3 | 0.33 | 289 | 30 | 984.4 | 12 | 998.9 | 959.1 | 273.4 |
| May | -2.6 | 15 | 2.2 | -7.6 | 5.2 | 15 | 002 | 1.4 | 0.26 | 330 | 26 | 994.3 | 15 | 1031.1 | 964.2 | 271.0 |
| Jun | -3.3 | 15 | 0.8 | -7.2 | 7.8 | 15 | 025 | 2.3 | 0.30 | 078 | 33 | 993.5 | 15 | 1014.3 | 959.9 | 270.4 |
| Jul | -3.9 | 14 | 1.0 | -8.4 | 5.0 | 14 | 078 | 1.8 | 0.37 | 059 | 24 | 1001.8 | 14 | 1029.0 | 960.9 | 269.2 |
| Aug | -6.0 | 14 | 0.1 | -11.9 | 6.6 | 14 | 084 | 1.4 | 0.21 | 230 | 26 | 989.0 | 14 | 1005.4 | 956.8 | 268.0 |
| Sep | -6.0 | 14 | 1.0 | -16.1 | 6.8 | 14 | 254 | 0.7 | 0.11 | 292 | 27 | 998.2 | 14 | 1034.8 | 968.8 | 267.3 |
| Oct | -1.8 | 34 | 2.8 | -6.0 | 6.0 | 33 | 156 | 1.0 | 0.18 | 219 | 30 | 986.5 | 33 | 1016.7 | 953.5 | 272.4 |
| Nov | -0.7 | 18 | 3.6 | -4.0 | 5.0 | 16 | 110 | 1.2 | 0.24 | 203 | 22 | 992.0 | 16 | 1007.3 | 970.5 | 273.1 |
| Dec | 1.0 | 15 | 6.1 | -2.9 | 5.9 | 13 | 082 | 2.2 | 0.38 | 067 | 23 | 987.0 | 13 | 1002.1 | 968.1 | 275.2 |
| MEAN | -1.8 |  |  |  | 6.0 |  | 051 | 1.1 | 0.26 |  |  | 991.3 |  |  |  |  |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean | % of |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air | Mon | Max Air | Min Air | Potential |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press | Data | Press | Press | Temp |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) | Abs | (mb) | (mb) | (K) |
| Bonaparte Point (8923) |  |  | 64.78S |  |  |  | 64.07W |  |  |  | 8 M |  |  |  |  |  |
| Jan | 0.5 | 09 | 3.5 | -2.5 |  |  |  |  |  |  |  | 961.4 | 07 | 974.5 | 940.8 | 276.8 |
| Feb | 0.7 | 08 | 4.6 | -2.9 |  |  |  |  |  |  |  | 975.7 | 08 | 995.9 | 956.3 | 275.8 |
| Mar | 0.1 | 08 | 4.9 | -5.5 |  |  |  |  |  |  |  | 982.9 | 07 | 1002.4 | 959.2 | 274.6 |
| Apr | -0.7 | 07 | 3.6 | -8.4 |  |  |  |  |  |  |  | 967.5 | 07 | 979.9 | 940.9 | 275.0 |
| May | -2.1 | 08 | 3.8 | -8.1 |  |  |  |  |  |  |  | 978.6 | 08 | 1017.5 | 943.6 | 272.7 |
| Jun | -2.9 | 06 | 4.2 | -8.1 |  |  |  |  |  |  |  | 976.8 | 06 | 1001.0 | 940.8 | 272.1 |
| Jul | -3.4 | 07 | 3.8 | -9.1 |  |  |  |  |  |  |  | 985.7 | 07 | 1015.3 | 944.4 | 270.9 |
| Aug | -5.4 | 07 | 1.4 | -13.0 |  |  |  |  |  |  |  | 973.6 | 07 | 990.0 | 937.9 | 269.8 |
| Sep | -7.0 | 06 | 1.9 | -18.9 |  |  |  |  |  |  |  | 984.1 | 06 | 1020.2 | 947.5 | 267.4 |
| Oct | -1.9 | 09 | 3.6 | -8.8 |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov | -0.8 | 10 | 4.2 | -9.6 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec | 1.2 | 14 | 5.6 | -2.1 |  |  |  |  |  |  |  |  |  |  |  |  |
| MEAN | -1.8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sky-Blu (8917) |  |  | 74.97S |  |  |  | 71.49W |  |  |  | 1395 M |  |  |  |  |  |
| Jan | -10.1 | 00 | 1.9 | -19.8 | 6.8 | 00 | 321 | 5.3 | 0.78 | 331 | 29 | 822.8 | 00 | 836.4 | 812.7 | 278.1 |
| Feb | -12.4 | 07 | 1.1 | -28.1 | 8.4 | 07 | 358 | 6.3 | 0.76 | 011 | 32 | 813.0 | 07 | 839.7 | 793.8 | 276.7 |
| Mar | -14.4 | 01 | -5.0 | -40.8 | 11.0 | 01 | 014 | 9.6 | 0.87 | 360 | 36 | 813.3 | 01 | 833.9 | 792.7 | 274.5 |
| Apr | -24.2 | 00 | -10.5 | -43.0 | 6.2 | 00 | 037 | 5.4 | 0.87 | 022 | 28 | 798.4 | 00 | 812.4 | 777.4 | 265.5 |
| May | -21.6 | 01 | -10.0 | -38.0 | 9.3 | 01 | 023 | 8.4 | 0.91 | 007 | 30 | 804.2 | 01 | 836.2 | 784.0 | 267.7 |
| Jun | -21.6 | 00 | -8.1 | -40.5 | 9.3 | 00 | 015 | 6.4 | 0.68 | 025 | 33 | 805.3 | 00 | 827.4 | 786.1 | 267.6 |
| Jul | -19.9 | 00 | -10.8 | -36.1 | 13.4 | 00 | 010 | 11.7 | 0.87 | 005 | 45 | 808.9 | 00 | 827.1 | 788.6 | 269.1 |
| Aug | -27.0 | 01 | -12.4 | -44.0 | 6.1 | 01 | 030 | 4.5 | 0.74 | 012 | 25 | 801.1 | 01 | 816.7 | 781.5 | 262.3 |
| Sep | -25.6 | 00 | -12.0 | -45.0 | 9.9 | 00 | 349 | 5.3 | 0.53 | 011 | 45 | 806.1 | 00 | 844.4 | 773.6 | 263.3 |
| Oct | -18.7 | 00 | -6.0 | -31.5 | 9.7 | 00 | 020 | 8.2 | 0.85 | 021 | 37 | 801.7 | 00 | 824.6 | 786.0 | 271.1 |
| Nov | -13.8 | 10 | -2.9 | -24.5 | 7.8 | 10 | 017 | 5.4 | 0.69 | 007 | 35 | 808.4 | 10 | 818.0 | 791.5 | 275.7 |
| Dec | -13.5 | 07 | -0.2 | -25.2 | 6.8 | 07 | 045 | 4.4 | 0.64 | 352 | 21 | 808.5 | 07 | 817.1 | 798.5 | 275.9 |
| MEAN | -18.6 |  |  |  | 8.7 |  | 014 | 2.5 | 0.77 |  |  | 807.6 |  |  |  |  |
| Santa Claus Is (8933) |  |  | 64.96S |  |  |  | 65.67W |  |  |  | 25 M |  |  |  |  |  |
| Jan | 0.8 | 05 | 7.0 | -1.9 | 7.0 | 05 | 207 | 1.6 | 0.23 | 255 | 24 | 975.6 | 05 | 987.8 | 953.9 | 275.9 |
| Feb | 1.0 | 06 | 5.6 | -1.2 | 6.6 | 06 | 203 | 1.8 | 0.27 | 274 | 28 | 990.1 | 06 | 1010.3 | 968.8 | 274.9 |
| Mar | 0.5 | 04 | 3.5 | -3.6 | 6.2 | 04 | 235 | 1.8 | 0.30 | 261 | 19 | 997.3 | 04 | 1016.0 | 972.0 | 273.8 |
| Apr | -0.7 | 07 | 2.2 | -5.5 | 7.7 | 07 | 188 | 2.3 | 0.30 | 144 | 24 | 981.5 | 07 | 995.1 | 954.5 | 273.9 |
| May | -1.9 | 08 | 1.8 | -5.6 | 6.6 | 08 | 165 | 1.6 | 0.25 | 260 | 22 | 992.1 | 08 | 1030.9 | 955.8 | 271.9 |
| Jun | -2.5 | 06 | 1.2 | -6.6 | 9.7 | 06 | 184 | 1.7 | 0.17 | 271 | 30 | 990.0 | 06 | 1014.5 | 955.5 | 271.4 |
| Jul | -3.2 | 13 | 0.1 | -7.6 | 6.5 | 19 | 252 | 3.1 | 0.48 | 274 | 27 | 999.1 | 13 | 1029.9 | 959.3 | 270.0 |
| Aug | -4.8 | 48 | -0.1 | -12.8 | 7.2 | 48 | 141 | 1.6 | 0.22 | 261 | 24 | 984.2 | 48 | 1001.1 | 953.0 | 269.6 |

|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  |  | Mean |  | % of |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  |  | Air |  | Mon |  | Max Air |  | Min Air |  | Potential |  |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  |  | Press |  | Data |  | Press |  | Press |  | Temp |  |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) |  | (mb) |  | Abs |  | (mb) |  | (mb) |  | (K) |  |
| Clean Air (8987) |  |  | 90.00S |  |  |  |  |  |  |  | 2835 M |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -29.0 | 03 | -21.9 | -37.4 | 3.5 | 03 | 021 | 3.2 | 0.91 | 015 | 9 |  | 681.7 |  | 03 |  | 691.0 |  | 672.9 |  | 272.4 |  |
| Feb | -42.3 | 00 | -29.6 | -57.2 | 3.0 | 00 | 011 | 2.0 | 0.68 | 352 | 11 |  | 682.2 |  | 19 |  | 694.9 |  | 671.2 |  | 259.0 |  |
| Mar | -55.2 | 00 | -36.4 | -71.0 | 3.2 | 00 | 051 | 2.0 | 0.62 | 319 | 16 |  |  |  |  |  |  |  |  |  |  |  |
| Apr | -62.3 | 00 | -46.5 | -72.4 | 3.9 | 00 | 048 | 3.3 | 0.86 | 094 | 12 |  |  |  |  |  |  |  |  |  |  |  |
| May | -60.2 | 01 | -40.6 | -72.1 | 4.0 | 01 | 043 | 3.2 | 0.80 | 360 | 17 |  | 677.1 |  | 62 |  | 696.2 |  | 663.5 |  | 232.1 |  |
| Jun | -59.9 | 00 | -42.1 | -75.6 | 4.3 | 00 | 031 | 3.3 | 0.77 | 285 | 12 |  |  |  |  |  |  |  |  |  |  |  |
| Jul | -61.3 | 00 | -42.1 | -75.1 | 4.8 | 00 | 019 | 3.7 | 0.77 | 355 | 13 |  |  |  |  |  |  |  |  |  |  |  |
| Aug | -59.8 | 00 | -43.4 | -74.9 | 4.1 | 00 | 025 | 3.1 | 0.76 | 004 | 13 |  |  |  |  |  |  |  |  |  |  |  |
| Sep | -61.3 | 00 | -42.5 | -75.8 | 4.4 | 00 | 033 | 3.3 | 0.76 | 360 | 12 |  |  |  |  |  |  |  |  |  |  |  |
| Oct | -50.3 | 00 | -34.5 | -64.0 | 4.5 | 00 | 001 | 3.4 | 0.76 | 347 | 13 |  | 674.1 |  | 72 |  | 682.6 |  | 660.4 |  | 256.6 |  |
| Nov | -33.2 | 00 | -23.6 | -52.4 | 5.7 | 00 | 356 | 4.6 | 0.82 | 275 | 16 |  | 689.2 |  | 29 |  | 698.3 |  | 668.8 |  | 268.1 |  |
| Dec | -26.2 | 00 | -21.9 | -30.8 | 3.3 | 00 | 011 | 2.9 | 0.89 | 340 | 10 |  | 692.1 |  | 00 |  | 700.3 |  | 681.7 |  | 274.3 |  |
| MEAN | -50.1 |  |  |  | 4.1 |  | 023 | 3.0 | 0.78 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Henry (8985) |  |  | 89.01S |  |  |  | 1.03 W |  |  |  | 2755 M |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -27.0 | 00 | -21.1 | -34.8 | 4.3 | 00 | 032 | 3.9 | 0.91 | 023 | 11 |  | 691.0 |  | 00 |  | 700.4 |  | 681.4 |  | 273.7 |  |
| Feb | -40.5 | 03 | -28.5 | -54.2 | 3.2 | 03 | 053 | 2.6 | 0.81 | 046 | 8 |  | 690.7 |  | 03 |  | 705.8 |  | 680.4 |  | 258.6 |  |
| Mar | -54.1 | 00 | -35.1 | -66.0 | 2.9 | 00 | 070 | 2.1 | 0.73 | 324 | 10 |  | 691.4 |  | 00 |  | 707.2 |  | 678.1 |  | 243.4 |  |
| Apr | -59.9 | 00 | -51.0 | -69.0 | 5.7 | 00 | 060 | 5.3 | 0.93 | 026 | 10 |  | 689.9 |  | 00 |  | 702.6 |  | 675.9 |  | 237.1 |  |
| May | -57.9 | 01 | -39.4 | -68.2 | 5.6 | 01 | 057 | 4.9 | 0.88 | 032 | 16 |  | 686.4 |  | 01 |  | 706.2 |  | 672.2 |  | 239.8 |  |
| Jun | -57.2 | 00 | -42.8 | -69.8 | 5.8 | 00 | 051 | 5.3 | 0.91 | 033 | 14 |  | 691.5 |  | 00 |  | 711.7 |  | 674.6 |  | 240.0 |  |
| Jul | -59.7 | 00 | -41.9 | -70.1 | 6.4 | 00 | 046 | 5.8 | 0.90 | 021 | 13 |  | 687.7 |  | 00 |  | 709.8 |  | 675.4 |  | 237.6 |  |
| Aug | -59.0 | 00 | -41.8 | -73.5 | 5.7 | 00 | 054 | 5.0 | 0.87 | 028 | 12 |  | 687.0 |  | 00 |  | 704.7 |  | 673.2 |  | 238.5 |  |
| Sep | -59.3 | 56 | -41.1 | -68.6 | 7.5 | 56 | 050 | 6.4 | 0.86 | 033 | 12 |  | 695.3 |  | 56 |  | 713.6 |  | 671.9 |  | 237.3 |  |
| Oct | -48.8 | 35 | -36.8 | -56.9 | 5.1 | 35 | 033 | 4.5 | 0.88 | 047 | 11 |  | 682.4 |  | 35 |  | 691.1 |  | 669.4 |  | 250.3 |  |
| Nov | -31.4 | 00 | -22.5 | -48.4 | 5.5 | 00 | 024 | 4.5 | 0.82 | 285 | 16 |  | 697.6 |  | 00 |  | 707.4 |  | 679.9 |  | 268.0 |  |
| Dec | -23.9 | 00 | -18.2 | -27.9 | 3.1 | 00 | 035 | 2.8 | 0.92 | 029 | 8 |  | 701.3 |  | 00 |  | 709.8 |  | 690.6 |  | 275.8 |  |
| MEAN | -48.2 |  |  |  | 5.1 |  | 048 | 4.3 | 0.87 |  |  |  | 691.0 |  |  |  |  |  |  |  |  |  |
| Nico (8924) |  |  | 89.00S |  |  |  | 89.67E |  |  |  | 2935 M |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -28.3 | 00 | -22.8 | -35.6 | 3.0 | 00 | 287 | 2.6 | 0.89 | 251 | 10 |  | 671.8 |  | 00 |  | 680.3 |  | 662.4 |  | 274.4 |  |
| Feb | -41.7 | 00 | -29.6 | -56.9 | 2.9 | 00 | 296 | 1.9 | 0.67 | 212 | 8 |  | 670.1 |  | 00 |  | 684.3 |  | 659.8 |  | 259.6 |  |
| Mar | -55.2 | 00 | -37.0 | -69.6 | 1.9 | 00 | 332 | 1.1 | 0.58 | 229 | 13 |  | 670.5 |  | 00 |  | 685.1 |  | 658.2 |  | 244.3 |  |
| Apr | -61.1 | 00 | -47.0 | -74.1 | 3.1 | 00 | 325 | 2.6 | 0.85 | 012 | 11 |  | 669.4 |  | 00 |  | 682.4 |  | 655.9 |  | 237.8 |  |
| May | -59.4 | 01 | -39.8 | -72.1 | 3.3 | 01 | 319 | 2.7 | 0.82 | 270 | 14 |  | 666.1 |  | 01 |  | 685.4 |  | 653.6 |  | 240.1 |  |
| Jun | -58.5 | 00 | -43.5 | -74.9 | 3.2 | 00 | 304 | 2.5 | 0.78 | 317 | 12 |  | 671.0 |  | 00 |  | 691.6 |  | 654.5 |  | 240.6 |  |
| Jul | -60.7 | 00 | -42.6 | -73.5 | 4.0 | 00 | 306 | 3.0 | 0.75 | 002 | 14 |  | 666.7 |  | 00 |  | 686.8 |  | 654.2 |  | 238.6 |  |
| Aug | -59.7 | 00 | -42.6 | -75.5 | 3.4 | 07 | 306 | 2.7 | 0.79 | 298 | 9 |  | 666.2 |  | 00 |  | 684.3 |  | 653.3 |  | 239.7 |  |
| Sep | -60.9 | 00 | -45.5 | -74.5 | 4.5 | 00 | 316 | 3.3 | 0.74 | 360 | 13 |  | 668.3 |  | 00 |  | 692.0 |  | 648.7 |  | 238.2 |  |
| Oct | -49.6 | 00 | -34.0 | -62.0 | 3.4 | 02 | 279 | 2.4 | 0.70 | 360 | 12 |  | 662.0 |  | 00 |  | 671.6 |  | 649.7 |  | 251.6 |  |
| Nov | -32.8 | 00 | -22.9 | -49.4 | 4.6 | 00 | 270 | 3.7 | 0.80 | 210 | 14 |  | 678.0 |  | 00 |  | 688.1 |  | 658.4 |  | 268.6 |  |
| Dec | -24.8 | 00 | -18.0 | -28.8 | 1.8 | 00 | 287 | 1.6 | 0.88 | 265 | 7 |  | 682.0 |  | 00 |  | 690.2 |  | 672.1 |  | 277.1 |  |
| MEAN | -49.4 |  |  |  | 3.3 |  | 301 | 2.4 | 0.77 |  |  |  | 670.2 |  |  |  |  |  |  |  |  |  |
|  | Mean | % of |  |  | Mean | % of |  |  |  |  |  | Mean |  | % of |  |  |  |  |  |  |  |  |
|  | Air | Mon | Max Air | Min Air | Wind | Mon | Result |  |  | Max |  | Air |  | Mon |  | Max Air |  | Min Air |  | Potential |  |  |
|  | Temp | Data | Temp | Temp | Speed | Data | Wind |  |  | Wind |  | Press |  | Data |  | Press |  | Press |  | Temp |  |  |
| Mon | (C) | Abs | (C) | (C) | (m/s) | Abs | (dir | vv) | Con | (dir | vv) | (mb) |  | Abs |  | (mb) |  | (mb) |  | (K) |  |  |
| Relay Station (8918) |  |  | 74.02S |  |  |  | 43.06E |  |  |  | 3353 M |  |  |  |  |  |  |  |  |  |  |  |
| Jan | -32.5 | 00 | -23.9 | -45.6 | 6.1 | 00 | 104 | 5.5 | 0.91 | 085 | 17 | 639.8 |  | 00 |  | 651.4 |  | 630.1 |  | 273.5 |  |  |
| Feb | -41.3 | 00 | -27.2 | -57.1 | 5.8 | 00 | 236 | 5.4 | 0.93 | 254 | 18 | 637.9 |  | 00 |  | 656.5 |  | 628.4 |  | 263.6 |  |  |
| Mar | -53.5 | 00 | -39.5 | -66.0 | 7.1 | 00 | 127 | 6.8 | 0.95 | 117 | 16 | 634.3 |  | 00 |  | 641.9 |  | 627.0 |  | 250.2 |  |  |
| Apr | -55.7 | 00 | -37.4 | -66.4 | 6.8 | 00 | 121 | 6.4 | 0.94 | 154 | 15 | 636.5 |  | 00 |  | 647.8 |  | 620.8 |  | 247.5 |  |  |
| May | -58.2 | 01 | -41.9 | -67.8 | 8.8 | 01 | 131 | 8.5 | 0.96 | 127 | 21 | 631.2 |  | 01 |  | 648.9 |  | 616.9 |  | 245.2 |  |  |
| Jun | -54.6 | 00 | -38.4 | 69.5 | 7.6 | 00 | 118 | 7.2 | 0.95 | 099 | 17 | 637.3 |  | 00 |  | 650.6 |  | 622.2 |  | 248.6 |  |  |
| Jul | -60.0 | 00 | -46.9 | -71.4 | 7.7 | 00 | 125 | 7.4 | 0.96 | 121 | 18 | 632.4 |  | 00 |  | 644.5 |  | 620.3 |  | 243.0 |  |  |
| Aug | -56.8 | 00 | -37.5 | -71.4 | 7.6 | 00 | 121 | 7.1 | 0.93 | 281 | 15 | 634.8 |  | 00 |  | 652.2 |  | 624.4 |  | 246.4 |  |  |
| Sep | -58.4 | 00 | -50.2 | -68.2 | 7.1 | 00 | 132 | 6.8 | 0.96 | 127 | 18 | 635.5 |  | 00 |  | 657.1 |  | 617.4 |  | 244.5 |  |  |
| Oct | -54.3 | 00 | -37.4 | -66.1 | 5.9 | 00 | 135 | 5.6 | 0.95 | 124 | 14 | 627.8 |  | 00 |  | 638.9 |  | 616.6 |  | 250.0 |  |  |
| Nov | -37.4 | 00 | -22.9 | -54.8 | 8.8 | 00 | 113 | 8.4 | 0.95 | 112 | 18 | 644.4 |  | 00 |  | 655.4 |  | 632.8 |  | 267.4 |  |  |
| Dec | -29.8 | 00 | -22.2 | -39.1 | 7.1 | 00 | 099 | 6.8 | 0.96 | 079 | 16 | 649.4 |  | 00 |  | 657.3 |  | 643.5 |  | 275.3 |  |  |
| MEAN | -49.4 |  |  |  | 7.2 |  | 125 | 6.1 | 0.95 |  |  | 636.8 |  |  |  |  |  |  |  |  |  |  |
| Mizuho (21359) |  |  | 70.70S |  |  |  | 44.29E |  |  |  | 2260 M |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct | -34.5 | 21 | -21.9 | -47.8 | 9.0 | 21 | 090 | 8.7 | 0.97 | 101 | 19 | 730.3 |  | 21 |  | 741.7 |  | 716.4 |  | 261.1 |  |  |
| Nov | -23.6 | 00 | -11.1 | -40.2 | 9.8 | 00 | 093 | 9.6 | 0.98 | 078 | 17 | 742.9 |  | 00 |  | 759.3 |  | 729.5 |  | 271.7 |  |  |
| Dec | -17.8 | 02 | -10.4 | -26.9 | 7.7 | 02 | 087 | 7.5 | 0.97 | 091 | 20 | 748.4 |  | 02 |  | 756.3 |  | 739.0 |  | 277.4 |  |  |

4.2. Three Hourly Data Summaries

After the data are received from Service ARGOS, ten minute interval data are created for each AWS unit. The data are calibrated for the individual station instruments, but no other corrections are made. This data set is created for those users who need fairly current information. These data are available by anonymous FTP (see Section 8).

The 10 minute data set for each AWS unit for the month is scanned to pick out the nearest observation within forty minutes of the UTC hours 00, 03, 06, 09, 12, 15, 18, and 21 to produce the three hourly data set. If valid data are not available within forty minutes of the three hourly time interval, then the entry is left blank to indicate missing data. The means, standard deviations, resultant wind speed and direction, the distribution of temperature, and wind speed with wind direction are determined from the three hourly observations and are presented as a monthly summary at the bottom of each page. A wind direction value of zero indicates a wind speed less than 0.50 m s-1.  North is indicated by a value of 360 degrees. The maximum and minimum values are taken from the complete 10 minute data set, not the three hourly data set. The appropriate monthly data from the three hourly data set are used for the monthly summaries presented in Section 4.1. In the presence of sunlight the air temperatures are questionable if the wind speed is less than 1 m s-1. These summaries are available by anonymous FTP (see Section 8).  If you are unable to access the Internet, we will send the information either on diskettes or paper. Please contact us for further information (the address is at end of Section 8).

5.  AWS CALIBRATION

- 5.1. Temperature

The external and internal temperatures are calibrated using a 1000 ohm 0.05% resistor in place of the platinum resistance thermometers with 1000 ohms resistance at 0oC.  Because the other resistances in the temperature circuit are known only to 1%, the temperature calibration will vary from one electronic unit to another.  The correction factor determined from the calibration resistor is programmed into the read-only-memories for each unit.  After the correction factors have been programmed into the AWS, a calibration box with 0.1% resistors is used to check the temperature calibration.

- 5.2. Pressure

The atmospheric pressure transducer is a Parascientific model 215A Digiquartz pressure gauge.  The transducer frequency changes from a nominal 40 kHz at zero pressure to a nominal 36 kHz at 1000 hPa. The pressure resolution is about 0.05 hPa.

Paulin aneroid barometers calibrated against a mercury barometer of 10 mm bore are used to check the pressure gauge calibration.  Comparisons are made between AWS units, a Parascientific Model 760-16B accurate to +/- 0.1 hPa, and with the mercury barometers at Scott Base, Antarctica.  The calibrations should be within +/- 0.2 hPa.

The reference vacuum on the older pressure transducers can degrade with time with a maximum observed 4 hPa shift to lower pressure after fifteen years. Recalibration of each pressure transducer would be desirable when each unit is serviced.

- 5.3. Wind direction and Speed

The Belfort model 123 aerovane measures wind direction and speed.  The aerovane rotates a potentiometer wiper, and the fraction of full scale of the potentiometer is measured.  The wind direction is checked by positioning the aerovane to the cardinal directions relative to the boom supporting the aerovane.  North or the potentiometer zero is towards the antenna on the boom and has a maximum dead zone of 3o.  During the field installation, the boom is usually aligned along the north-south line as determined from the sun's azimuth, longitude, and Greenwich Mean Time.  In some cases the 180o end of the boom may point in a direction other than south.  At Manuela site, the 180o end of the boom points up the glacier and a correction is added to the data during processing.  At Byrd site the wind is usually out of the north so the boom was rotated 120o and the correction added during the data processing.  The wind speed is determined from the aerovane tachometer voltage output as 0.0472 volt per meter per second.  The aerovane tachometers are spun at 1800 rpm with a load of 1071.5 ohms, and the output should be 9.20 +/-0.05 vdc.

Additional wind sensors were used with AWS units for 2000.  These were the R.M. Young wind monitor model 05103 and the Hydro-Tech WS-3 anemometer with the WP-3 aerovane.  The Hydro-Tech system was used for measuring wind speed in the Adelie Coast area. The Hydro-Tech WS-3 is a disk rotor, 3 in. high and 12 in. overall diameter, with radial cups, and the threshold sensitivity is 3 mph.  The anemometer utilizes a commercial dc tachometer generator.  Output is 0 to +5 vdc (and 0 to 1 ma) over the desired full scale wind speed of 85 m/s.  Accuracy is +/- 2%.

The R.M. Young monitor 05103 also used a 10,000 ohm potentiometer with a 3o dead zone so that the wind direction was recorded identically with the Belfort/Bendix aerovanes.  The wind speed was from the range of 0 to 1.0 volt full scale corresponding to 50 m/s.  Thus the calibration for wind speed was a nominal .195 m/s/bit for the R.M. Young with +/- 1% up to 50 m/s.

- 5.4. Relative Humidity

The Vaisala HMP-35A/45A humidity sensor output voltage varies linearly with relative humidity (U).  The sensor is calibrated by placing it over saturated salt solutions with known relative humidities at room temperature:  sodium chloride (U=75%), and lithium chloride (U=12%) are used.  In addition, a dry inert gas, forced past the sensor, gives a 0% U, and the sensor output can be zeroed.  Then, the gain setting can be set directly using a salt solution with a high relative humidity, such as sodium chloride.  The resolution of the humidity sensor is about 1% and the drift is 2 to 3% per year in the field.  The relative humidity data are not included on the summary pages but are included in the 3 hourly data sets.

- 5.5. Vertical Air Temperature Difference

Two junction thermocouples are used to measure the air temperature difference between 3 m and 0.5 m on the tower.  The output is about 78 microvolts for 1oC temperature difference between the junctions at 0.0oC, dropping to 60 microvolts at -80oC.  Zero output is adjusted to 0.4 volts, so that 0 to 1 volt corresponds to a -6oC to +9oC range of air temperature differences between 3 m and 0.5 m.  The resolution is 0.05oC.  Calibration of the individual systems is done by applying known voltages to the amplifier input. The vertical temperature difference data are not included on the summary pages but are included in the 3 hourly data sets.

- 6.  AWS OPERATIONS SUMMARY FOR 2000

- 6.1.  AWS Performance

Forty-seven AWS units were installed at the start of 2000 and 51 were installed by the end of 2000.  Based on the installation months the AWS units delivered 85% of the temperature data, 82% of the pressure data and 72% of the wind data during 2000. Complete data sets were received from 12 AWS units and 38 AWS units operated for the installed period. Eleven AWS units were not received for one month or more during the year or stopped during the year.  Some of the stations were not received during the winter months due to low battery voltage.

The wind system has the poorest performance. If the wind speed is zero or the wind direction is constant for extended periods (days to months) then the data is considered invalid. The reason for this behavior is not known but is believed to be due to the build up of frost on the wind system. This usually occurs in the winter season and at several AWS sites. The wind speed is most frequently zero when the wind direction is constant.

Site	Performance

D-10 			The aerovane was "frozen" occasionally in July and August. The station transmitted erratically from July through the beginning of November and stopped transmitting 10 September. Transmission resumed 5 November. The relative humidity sensor and delta-T sensor were not functioning.

D-47			Temperature sensor not functioning. Station transmitted erratically from July through early November. Station resumed normal transmission 5 November. No relative humidity or delta-T sensors.

D-57			Station stopped transmitting 18 January. No delta-T or extra high wind speed sensor.

Dome C II		OK.

Port Martin		The aerovane stopped functioning 16 February. No delta-T or extra high wind speed sensor. Pressure corrected for high wind speed conditions.

Cape Denison		Station stopped transmitting 29 April and resumed 27 May. Several transmission gaps of a week or more from June through October. New solar panel, batteries, and Juction box installed 18 December. Pressure corrected for high wind speed conditions. No delta-T or extra high wind speed sensor.

Penguin Point		The aerovane was "frozen" occasionally in July. The station stopped transmitting for part of August. Pressure corrected for high wind speed conditions. No delta-T or extra high wind speed sensor.

Sutton			Wind speed and direction not functioning properly because the tower may be leaning or have fallen. Station stopped transmitting from 9 August to 21 October and also parts of November and December. A few transmissions were received in September. Station removed 18 December.

Byrd			Station stopped transmitting 6 September due to low battery voltage. The wind direction was incorrect and so was removed.

Mount Siple		Site has a "dog house" AWS without wind speed and direction. Pressure sensor 				not functioning correctly January, February, parts of November, and December.

Theresa		Delta-T sensor buried.  Station stopped transmitting 4 June, transmitted in mid-July, and then not until October.

Doug			Aerovane frozen occasionally in September. Relative humidity sensor not functioning.

Elizabeth		Aerovane "frozen" most of July to mid October.

Brianna			New batteries were installed and the station began transmitting on 18 January. The relative humidity sensor was not functioning until April, and it continued with sporadic problems through August.

Harry			The delta-T sensor is not functioning. The aerovane was "frozen" occasionally from May through October.

Erin			Aerovane not functioning until it was repaired 19 January. The aerovane was "frozen" occasionally from July through November.

JC			Site removed 19 January.

Siple Dome		Aerovane “frozen” occasionally from May through November. Delta-T sensor not installed.

Swithinbank		Delta-T sensor not functioning.

Noel/ITASE		Station installed on 19 January. Relative humidity sensor malfunctioning occasionally throughout the year. The aerovane was "frozen" occasionally from April through July. Station stopped transmitting 19 July.

Marble Point		OK.

Ferrell			New station installed 1 February. Erratic transmissions occurred by mid-February and the station stopped transmitting 11 March.

Pegasus North		Station was replaced on 3 February. Delta-T not functioning. The aerovane was "frozen" occasionally in September. Station transmitted erratically in November.

Pegasus South		Relative humidity sensor not functioning. Wind speed not functioning until the station was repaired 3 February. Aerovane “frozen” periodically May through November. Delta-T erratic all year.

Minna Bluff		Delta-T sensor not functioning. Aerovane occasionally “frozen” January, March through July, and September. Station stopped transmitting 28 September.

Linda			Aerovane occasionally "frozen" April through November.

Willie Field		Delta-T sensor not functioning.

Windless Bight		OK.

Herbie Alley		Pressure functioned erratically April through December.

Cape Spencer		OK.

Cape Bird		Pressure not functioning correctly January, February, and September through November.

Laurie II		New site established 1 February. Delta-T sensor not functioning. Aerovane occasionally "frozen" in May. Station stopped transmitting 5 June and began again on 26 October. Erratic transmissions in November and December.

Whitlock		Station stopped transmitting 9 January. Delta-T sensor not functioning.

Possession Island	Site has a "dog house" AWS without wind speed and direction. Increased instances of missing transmissions after October.

Manuela		Aerovane broken.

Marilyn			Aerovane occasionally "frozen" May through August. Station stopped transmitting 6 August due to low battery voltage.

Schwerdtfeger		Relative humidity sensor functioned erratically from mid March through October and then began working again for November and December. Aerovane “frozen” part of August and September.

Gill			Relative humidity sensor not functioning. Aerovane “frozen” part of June and July, all of August through October, and part of November.

Lettau			Transmitting with gaps in January and February. Aerovane “frozen” parts of October through December. November and December had many gaps in the transmission.

Elaine			Relative humidity sensor worked sporadically January through May.

Larsen Ice Shelf	OK.

Butler Island		Aerovane not functioning from mid-June through December. Pressure continues to need correction due to the failure of the precision time-based correction to the system clock.

Uranus Glacier		Station removed 19 January for repair and replaced 24 January. Large gaps in transmission October through December.

Limbert			Station removed for testing and reinstalled 10 February. Delta-T sensor not functioning. Aerovane stopped functioning 5 July. Large gaps in transmission in August and September due to low battery voltage.

Racer Rock		OK.

Bonaparte Point		Relative humidity sensor not functioning. Aerovane not functioning.

Sky Blu			OK.

Santa Claus Island	Station stopped transmitting 18 August with a few transmissions in October. No transmissions for November and December. Delta-T sensor not functioning. Relative humidity sensor erratic February through July. Aerovane “frozen” part of July.

Clean Air		Occasional problems with relative humidity sensor. Pressure functioning erratically March through November.

Henry			Station stopped transmitting 16 September and resumed transmitting 11 October as the battery recharged in the austral spring.

Nico			Aerovane occasionally "frozen" in August.

Relay Station		OK.

Mizuho			New site established 7 October. No relative humidity or delta-T sensors.

- 6.2.  AWS Antarctic Field Activities

# McMurdo area

On 1 February, Ferrell site was visited by Jason Vandervest. A completely new station was installed (AWS 21355) with help from the Twin Otter crew. Later on 1 February, a new station site was establish near Cape Crozier (AWS 21364). This site will be called Laurie II.

On 3 February, Pegasus North and Pegasus South (AWS 8937) sites were visited by Dr. John Cassano and Jason Vandervest. AWS 8928 at Pegasus North was removed and a new station (AWS 21357) was installed. At Pegasus South the aerovane was replaced.

# West Antarctica

# Dr. John Cassano, Dr. Chris Shuman, and Jason Vandervest flew to Siple Dome on 15 January to conduct AWS field work in West Antarctica. GPS coordinates were recorded for Siple Dome (8938) site, and it was noted that the boom was not aligned with north. On 18 January, the team went to Brianna (21361) site. Two battery boxed and 1 battery cable were replaced, and GPS coordinates were recorded. The team moved on to Elizabeth (21361) site where two new battery boxes and cables were installed, and GPS coordinates were recorded. On 19 January, the team went to JC (21357) site. The site was anchored loosely, and the antenna was broken. They were unable to replace the antenna, so the entire site was removed. On to Erin (21363) site, the team recorded GPS coordinates. They installed 2 new battery boxes and cables, raised the lower delta T boom because the probe was covered with snow, and replaced the Bendix/Belfort aerovane. Finally, the team installed a new AWS (8936) at Noel/ITASE site. GPS coordinates were recorded.

# Polar Plateau

Dr. John Cassano reinstalled the Clean Air AWS (8987) at the new site at South Pole station on 26 January.

Mizuho AWS unit (21359) was installed at Mizuho Station on 7 October by members of JARE.

# Adelie Coast

Rob Flint met the USGS Polar Sea in Hobart for the trip along the Adelie Coast. On 18 December Rob Flint and Blake Moore went to Port Martin (8909). The solar panel had been smashed by an impact. Some of the connectors and the junction box were so corroded by salt that it was impossible to do any work. A return visit with better tools and equipment was made on 20 December. New batteries, solar panel and junction box were installed. Also on 18 December, Gerd Wendler and Drew Egressey went to Sutton (8939). The station was removed and returned to the ship.

On 19 December, Rob Flint and Rachel Smith went to Penguin Point. They replaced the batteries and tightened the guys. A visual inspection showed the station to be in good condition with no evidence of salt corrosion.  On 20 December, Rob Flint and LCDR Jackson went to Cape Denison. The batteries were replaced, and no evidence of salt deposition was found on the station. Installation of Cape Webb was scrapped due to transportation problems.

# Antarctic Peninsula

The British Antarctic Survey serviced several of the units on the Antarctic Peninsula. Limbert (8925) site had stopped transmitting. The batteries were charged, so the unit was moved to Rothera on 14 January for further testing. A fault was found on the CPU board, and the unit was replaced on 10 February. A new tower section was added, and the boom was replaced. Uranus Glacier (8920) was visited on 7 January.  The tower was raised, three new guys and deadmen were placed, and two new batteries and the junction box were replaced. The unit was removed to Rothera on 19 January because the transmissions were garbled. The 50 MHz oscillator was retuned, and the unit replaced on 24 January.

AWS unit 8917 (Sky-Blu) was revisited on 8 and 9 February. The tower was raised by two sections. Larsen Ice (8926) site was also visited on 9 February. Two new batteries were added and the guys were tightened. On 11 February, Butler Island (8902) site was visited. The tower was raised and new battery boxes added. The wind propeller was loose, and there is evidence of salt corrosion at the site.

7.  GLOBAL TELECOMMUNICATIONS SYSTEM

The data from 31 Antarctic AWS units were entered into the Global Telecommunications System (GTS) during 2000. The data are collected by Service ARGOS. As soon as the data are received, Service ARGOS processes them and sends them on to the National Weather Service which distributes the data to the GTS.The data headers are:

- SMAA14 KARS YYGGgg

SIAA14 KARS YYGGgg

SNAA14 KARS YYGGgg

where S indicates surface, M is main observations (at 00, 06, 12, and 18 UT), I is intermediate observations (at 03, 09, 15, and 21 UT), and N is any other time. AA14 is for Antarctica, and KARS stands for the Largo receiving center (backup is LFPW for the center in Toulouse, France). YY indicates the day in the month, GG is the hour, and gg is the minutes. Table 3.1 contains the WMO identification number used by the GTS grouped according to their purpose and proximity where possible.

The University of Wisconsin-Madison is responsible for obtaining WMO numbers for AWS sites and for providing Service ARGOS with calibration information for processing the data. The main reason for getting the AWS data into the GTS is to make sure that the data are available in near real time for all organizations operating in Antarctica.

- 8.  DATA AVAILABILITY

The data from our Automatic Weather Stations are available by anonymous FTP.  The IP address and domain name are 128.104.109.33 (ice.ssec.wisc.edu).  The login is "anonymous" (do not use the quotation marks), and the password is your email address.  Once you have logged in, change to the pub/aws subdirectory.  A listing of our station locations, names, and ARGOS ID numbers is located in the file "biglist" in this subdirectory.  It is meant to serve as a guide to our stations as their ID numbers sometimes change. A complete guide for navigating the site may be found in the file “readme.faq”.

Our three-hourly interval data for Antarctica in ASCII text format are contained in the year subdirectories of pub/aws/antrdr.  The data have been corrected, i.e. an effort has been made to remove the bad data points.  These data take longer to process, so the data for recent months are not available in this format.  Within each of the year subdirectories of pub/aws/antrdr, there are text files named "3hrlist??" (where ?? indicates the last two digits of the year). These files list what station's data are contained in which files. The files “readme.updates?” in pub/aws/antrdr contain information on updates and/or corrections to the data, and the file “readme.3format” contains file name construction information and format of the three-hourly data. The file “readme.mailinglist” contains information on joining a mailing list which distributes information on data updates and changes. To subscribe, send email to aws@ssec.wisc.edu requesting to be added to our mailing list.

The directory pub/aws/summary/monthly contains ASCII printable text files of the paper data summary sheets.  The format of the files can be found in the file "readme.sum" while updates and corrections to the data are located in "readme.sumupdates".  The data are located in year subdirectories of pub/summary/monthly.

For those users who need more current information, we have created 10 minute interval data in ASCII text format for each station.  These data are located in year subdirectories of pub/aws/10min/rdr.  The data have been calibrated for the individual station instruments, but no other corrections have been made.  The data are generally available up to and including the last full month of this year.  The year subdirectories also contain a text file named "namelist??" (where ?? indicates the last two digits of the year in question).  These files list what station's data are contained in which files.

Several important readme files are located in pub/aws/10min/rdr. The file "readme.format" contains information on filename construction of the data, as well as well as file content and is a must for those unfamiliar with the data. The files "readme.updates?" contain important information on changes/additions to the data.

Our site is available 24 hours a day, 7 days a week.  If you have questions or problems, send email to aws@ssec.wisc.edu.  We can also be reached by phone at (608) 265-2209 or (608) 265-4816 or fax at (608) 262-5947.

By mail, please contact:

Linda M. Keller

University of Wisconsin

Department of Atmospheric and Oceanic Sciences

1225 W. Dayton St.

Madison, WI  53706

USA

or

Shelley Knuth

University of Wisconsin

Space Science and Engineering Center

1225 W. Dayton St.

Madison, WI  53706

USA

- 9.  ACKNOWLEDGMENTS

This work is supported by the National Science Foundation, Office of Polar Programs, Grant 9726040 under the management of Dr. Bernhard Lettau. Assistance from the following countries is gratefully acknowledged. Expeditions Polaires Francaises installs and maintains the AWS units from the Adelie Coast to Dome C II.  The British Antarctic Survey maintains the AWS units on the east side of the Antarctic Peninsula and south of Adelaide Island. The Japanese Antarctic Research Expedition (JARE) installs and maintains the AWS units at Relay Station, Mizuho, and Dome Fuji.

Dr. S.P. Adhikary, Dir. General	Mary R. Albert	Prof. Richard Alley

Dept. of Hydrology & 	U.S.A. CRREL	The Pennsylvania State

P.O. Box No. 406	72 Lyme Road	Earth Systems Science Center

Babarmahal, Kathmandu	Hanover, NH  03755-1290	306 Deike Building

NEPAL	University Park, PA  16802

Dr. I. Allison	Dr. Sridhar Anandakrishnan	Dr. Jean-Claude Andre

Antarctic CRC	The Pennsylvania State 	Centre National de Recherches

University of Tasmania	Earth Systems Science Center	Meteorologiques

Hobart, Tasmania  7001	540 Deike Building	42 Avenue G. Coriolis

AUSTRALIA	University Park, PA  16802	F-31057 Toulouse Cedex

FRANCE

Stefania Argentini	Dr. Gail Ashley	Liana Bacigalupi

Consiglio Nazionale Delle 	Rutgers University	Library

IFA/CNR Via G. Galilei, c.p. 27	Dept. of Geological Sciences	ENEA Progetto Antartide

00044 Frascati (Roma)	Piscataway, NJ  08854	Via Anguillarese, 301

ITALY	00060 S. Maria di Galeria (Roma)

ITALY

Dr. Karen S. Baker	Prof. Roger Bales	Dr. L.A. Barrie

Scripps Institute of Oceanography	University of Arizona	Atmospheric Environment Service

UCSD - A - 018	Dept. of Hydrology & Water 	4905 Dufferin Street

La Jolla, CA  92093	Resources	North York, Ontario

Tuscon, AZ  85721	M3H 5T4

CANADA

Ian J. Barton	Rabindra Basnyat	Rob Bauer

CSIRO Marine Laboratories	General Post Office	NSIDC/CIRES

GPO Box 1538	P.O. Box #6644	University of Colorado

Hobart, Tasmania 7001	Kathmandu	Boulder, CO  80309-0449

AUSTRALIA	NEPAL

Ms. Judy Bausch	Dr. John Bengston	Prof. Charles R. Bentley

Yerkes Observatory	NOAA/NMFS	University of Wisconsin

P.O. Box 258	National Marine Mammal Lab.	Geophys. & Polar Research Cen.

Williams Bay, WI  53191	7600 Sand Pt. Way N.E.	1215 W. Dayton St.

Seattle, WA  98115-0070	Madison, WI  53706

Dr. Robert L. Bernstein	Biblioteca Y Centro de 	Dr. Robert Bindshadler

Sea Space	Documentacion	NASA

5360 Bothe Ave	Dir. Meteorologica de Chile	Goddard Space Flight Center

San Diego, CA  92122	Casilla 717	Code 971

Santiago	Greenbelt, MD  20771

CHILE

Prof. Krzystztof Birkenmajer, 	Dr. George Blaisdell	Mr. Greg Bodeker

Com. On Polar Res., Polish 	National Science Foundation	University of Natal

Academy of Sciences	Office of Polar Programs	Space Physics Research Instit.

Dept. of Dynamic Geology	Room 755	King George V. Ave.

Instit. of Geological Sciences	4201 Wilson Blvd.	Durban 4001

ul. Senacka 1-3 31-002 Krakow	Arlingtion, VA 22230	SOUTH AFRICA

POLAND

Dr. John Bolzan	Dr. Scott Borg	Irina I. Borzenkova

Ohio State University	National Science Foundation	State Hydrological Institute

Byrd Polar Research Center	Office of Polar Programs	23 Second Line

1090 Carmack Road	Room 755	199053, St. Petersburg

Columbus, OH  43210-1002	4201 Wilson Blvd.	RUSSIA

Arlington, VA  22230

Prof. David Braaten	John W. Briggs, Engineer	Dr. David Bromwich

University of Kansas	Yerkes Observatory	Ohio State University

Dept. of Physics and Astronomy	373 West Geneva Street	Byrd Polar Research Center

Lawrence, KS  66045	Williams Bay, WI  53191-0258	1090 Carmack Road

Columbus, OH  43210-1002

Neva Brown	Giancarlo Caimi	Prof. Azzio Caneva

30 Lantern Lane	Via S. Benelli 8	Universita di Genova

Wrentham, MA  02093	20151	Stazione Geofisica

Milano	12080 Roburent

ITALY	Cuneo

ITALY

Captain, R/V Lawrence G. Gould	Captain, R/V Nathaniel B. Palmer	Dr. A.M. Carleton

c/o AGUNSA	c/o AGUNSA	Dept. of Geography

Deposito Franco Antarctico	Deposito Franco Antarctico	The Pennsylvania State

Av. Independencia 772	Av. Independencia 772	0314 Walker Building

P.O. Box 60-D Punta Arenas	P.O. Box 60-D Punta Arenas	University Park, PA  16802

CHILE	CHILE

Prof. John Carroll	I.F.S. Cavalacanti	Art Cayette

University of California	Depto Meteorologia, INPE	SPAWAR System Center

Dept. LAWR	Caixu Postal 515	P.O. Box 190022

Davis, CA  95616	12 200 Sao Jose dos Campos	North Charleston, NC

Sao Paulo

BRAZIL

Roberto Cervellati	Prof. Chen Liqi, Director	Dr. K.Y. Chen

ENEA Pas Progetto Antarctide	Chinese Antarctic Administration	University of Florida

S.S. Anguillarese 301	No. 1 Fuxingmenwai Street	Dept. of Astronomy

Roma	Beijing	211 Space Sci. Research Building

ITALY	CHINA	Gainesville, FL  32611

Mr. Erick Chiang	Pecheng Chu	Dr. Josefino C. Comiso

National Science Foundation	Naval Postgrad. School, Code 	NASA/Goddard Space Flight

Office of Polar Programs	OC/CU	Center

Room 755	Dept. of Oceanography	Code 971

4201 Wilson Blvd.	Monterey, CA  93943	Greenbelt, MD  20771

Arlington, VA  22230

The Committee on Antarctic 	Richard Cram	Frederick E. Crory

Research	Federal Building	US Army CRREL

ul. Vavilova, 44	National Climatic Data Center	72 Lyme Road

Building 2	Asheville, NC  28801	Hanover, NH  03755-1290

Moscow 117333

RUSSIA

Dick Crouthamel	CRREL-TL	W. Darnell

National Weather Service	Dept. of the Army Corps of 	NASA, Langley Research Center

Mail Code W/OM31	Engineers	Mail Stop 185

1325 E-W Highway	Hanover, NH  03755-1290	Hampton, VA  23665-5225

Silver Spring, MD  20910

Dr. Thomas DeFelice	Rear Ar. Fernando M. Diegues, 	Debra Diemand

University of Wisconsin	Sec.	CRREL-TL

Dept. of Geoscience, Lapham 	Comm. Interministerial para os 	Dept. of the Army Corps of

P.O. Box 413	Recursos do Mar (CIRM)	Engineers

Milwaukee, WI  53201	Ministerio da Marinha	Hanover, NH  03755-1290

40 ANDAR

70055 DF-Brasilia

BRAZIL

Director	Dr. David J. Drewry	Mr. Michel Engler, Director

Cold And Arid Regions	Vice-Chancellor	Expeditions Polaires Francaises

Environ. and Engineering Res. 	University of Hull	47 Ave. du Marechal Fayolle

Institute	Cottingham Road	75116 Paris

Academia Sinica	Hull, Yorksire HU6 7RX	FRANCE

Lanzhou 730000	UNITED KINGDOM

CHINA

Dr. Hiroyuki Enomoto	Dr. Karl Erb	Edelberto R. Farias, Director

Kitami Institute of Technology	National Science Foundation	Dir. Meteorologica de Chile

Koencho 165	Office of Polar Programs	Casilla 717-STGO

Kitami, Hokkaido	Room 755	CHILE

090-8507  JAPAN	4201 Wilson Blvd.

Arlington, VA  22230

Jane Ferrigno	Michel Fily	Margaret Finger, Librarian

USGS National Center	Lab. de Glaciologie et Geophys. 	University of Melbourne

Mail Stop 927	de L'Environnement	Dept. of Meteorology

Reston, VA  22092	BP 96	Parkville, Victoria  3052

38402 Saint-Martin-d'Heres	AUSTRALIA

FRANCE

Dr. Joan Fitzpatrick	Dr. Joseph Fletcher	Dr. R.J. Flint

Federal Center	NOAA/ERL R/E	185 Bear Gulch Road

U.S. Geological Survey-Denver	325 Broadway	Woodside, CA  94062

P.O. Box 25046	Boulder, CO 80303

Denver, CO  80225

Dr. Benson Fogle	Prof. Theodore D. Foster	Andrew G. Fountain

7 Park Overlook Court	Scripps Institute of Oceanography	Dept. of Geology

Bethesda, MD  20817	Mail Code 0240	Portland State University

University of California, San 	P.O. Box 751

LaJolla, CA  92093-0240	Portland, OR 97207-0751

E. Imre Friedmann	Prof. H. Fukunishi	Gen. Ricardo Galarza

Polar Desert Research Center	Tohoku University	Uruguayan Antarctic Institute

Dept. of Biological Science 	Upper Atmos. & Space Research 	Buenos Aires 350

Florida State University	Laboratory	Montevideo

Tallahassee, FL  32306-2043	Sendai 980-0845	URUGUAY

JAPAN

Christophe Genthon	Abbate Giulia	Hector R. Godoy

Lab. de Glaciol. et Geophys. de 	ENEA Casaccia	Servicio Meteorologico National

l'Env.	Italian Antarctic Project	Depto Antarctico

54 Rue Moliere, DU BP 96	Via Anguillarese 301	25 de Mayo 658

F-38402 Saint Martin d'Heres	00100 Roma	Capital Federal

Cedex	ITALY	REPUBLICA ARGENTINA

FRANCE

Goldthwait Polar Library	Robert Grumbine	Anselm Haanen

Byrd Polar Research Center	5200 Auth Rd., Room 204	IEIS Prog. Consultant, c/-DSIR

Ohio State University	W/NMC21	Antarctic

1090 Carmack Road	Camp Springs, MD 20746	Orchard Road

Columbus, OH  43210-1002	Christchurch International Airport

P.O. Box 14-091, Christchurch

NEW ZEALAND

Ritva Hanninen, Librarian	Inger Hanssen-Bauer	Ross Harp, Jr.

Finnish Meteorological Institute	Norwegian Meteorological Institute	P.O. Box 1717

Box 503	P.O. Box 43 - Blindem	Boulder, CO 80306

SF-00101 Helsinki 10	0313 Oslo 3

FINLAND	NORWAY

Ralph Harvey	G. Hernandez	Dr. Roger Hewitt

Dept. Geological Sciences	University of Washington	Southwest Fisheries Center

Case Western Reserve 	Geophysics Program	Antarctic Ecosys. Research Gr.

112 A.W. Smith	AK-50	P.O. Box 271

10900 Euclid Ave.	Seattle, WA  98195	La Jolla, CA  92038

Cleveland, OH  44106-7216

Ms. Kathie Hill	Dr. Austin Hogan	Hugh Hutchinson

Raytheon Polar Services	P.O. Box 21	Bureau of Meteorology

7400 South Tuscon Way	Piermont, NH  03779-0021	20 Ellerslie Rd.

Centennial, CO 80112-3938	Hobart, TAS  7000

AUSTRALIA

Lloyd E. Irwin	T.H. Jacka	Dr. Stanley Jacobs

NOAA, NWS	Antarctic CRC	Columbia University

SSMC2, Station 5118	Box 252C	Lamont Observatory

1325 East-West Highway	Hobart, Tasmania	Palisades, NY  10964

Silver Spring, MD  20910	AUSTRALIA 7001

Martin Jeffries	Dr. Ken Jezek	Prof. Jia Pengqun

University of Alaska	Ohio State University	Polar Met. Lab., Acad. of Met.

Geophysical Institute	Byrd Polar Research Center	State Meteorological Admin.

903 Koyukuk Ave.	1090 Carmack Road	Baishiqiaolu No. 46, West Suburb

Fairbanks, AK  99705-7320	Columbus, OH  43210-1002	Beijing,  100081

CHINA

P.D. Jones	Prof. Anders Karlqvist, Director	Stephen J. Katz

University of East Anglia	Royal Swedish Academy of 	Colorado School of Mines

Climate Research Unit	Science	Arthur Lakes Library/Serials

Norwich NR4 7TJ	Polar Research Secretariat	Golden, CO  80401

UNITED KINGDOM	Box 50005

10405 Stockholm

SWEDEN

Chris Kidd	Dr. Tokio Kikuchi	Dr. John C. King

School of Geography	Kochi University	British Antarctic Survey

University of Birmingham	Dept. of Physics, Faculty of Sci.	High Cross, Madingley Road

Edgbaston, Birmingham	2-5-1, Akebono-cho	Cambridge CB3 OET

B15 2TT	Kochi 780-8072	UNITED KINGDOM

UNITED KINGDOM	JAPAN

Akio Kitoh	Dr. Yuji Kodama	Dr. K.Ya Kondratyev

Meteorological Research Institute	Hokkaido University	The USSR Acad. Inst. for Lake

Climate Research Division	Institute of Low Temp. Science	Res.

Tsukuba, Ibaraki 305-0052	Sapporo 060-0819	Sevastyanov Str., 9

JAPAN	JAPAN	St. Petersburg,  196199

RUSSIA

Dr. Els Kooij-Connally	Prof. Dr. Christopher Kottmeier	Dr. Steve Kottmeier

Library ECMWF	Universitat Karlsruhe	Raytheon Polar Services

Shinfield Park	Institut fur Meteorologie und 	7400 South Tuscon Way

Reading, Berkshire RG2 9AX	Klimaforschung	Centennial, CO  80112-3938

UNITED KINGDOM	Kaiserstr. 12 (Physikhochhaus)

76128 Karlsruhe

GERMANY

Prof. Dr. H. Kraus	Dr. Monica Kristensen	Arlin Krueger

Met. Institut der Universitat Bonn	Norwegian Meteorological Institute	NASA/Goddard Space Flight

D-5300 Bonn 1	Postboks Box 43 Blindem	Center

FRG Auf Dem Hugel 20	0313 Oslo 3	Code 616

GERMANY	NORWAY	Greenbelt, MD  20771

Dr. B.L. Krutskikh	Prof. M. Kuhn	Dr. Ron Kwok

Arctic & Antarc. Research 	Universitat Innsbruck	Senior Research Scientist

St. Petersburg,  191104	Institut fur Met. & Geophysik	Jet Propulsion Laboratory

RUSSIA	Innrain 52	California Institute of Technology

A-6020 Innsbruck	4800 Oak Grove Dr.

AUSTRIA	Pasadena, CA 91109

Dr. Victor Lagun	Claude M. Laird	Jouko Launiainen

Air-Sea Interaction Dept.	University of Kansas	Finnish Instit. of Marine Research

The Arctic & Antarc. Scientific 	2291 Irving Hill Drive	P.O. Box 33

Res. Instit.	Campus West	00931 Helsinki

38 Bering Street	Lawrence, KS  66045	FINLAND

199 397 St. Petersburg

RUSSIAN FEDERATION

Anthony Lazzara	Brig. Gen. Jorge E. Leal	Bang Yong Lee

110 Cherry Street	Dir. Nacional del Antarctico	Korea Ocean Research & Dev.

Wrentham, MA  02093	Cerrito 1248	Instit.

1010 Buenos Aires	Polar Research Center

ARGENTINA	Ansan P.O. Box 29

Seoul 425-600

SOUTH KOREA

Denyse Lemaire-Ronveaux	Dr. Marc Lessard	Dr. Bernhard Lettau

Dept. des Sci. de la terre et de 	Thayer School of Engineering	National Science Foundation

l'environ.	Dartmouth College	Office of Polar Programs

Faculte des Sciences	8000 Cummings	Room 755

CP 160 Ave F.D. Roosevelt, 50	Hanover, NH  03755-8000	4201 Wilson Blvd. Arlington, VA

1050 Brussels	22230

BELGIUM

Librarian	Librarian	Library

Australian Antarctic Division	British Antarctic Survey	Alfred Wegener Inst. fur Polar und

Channel Highway	High Cross, Madingley Road	 Meeresforschung

Kingston, Tasmania  7050	Cambridge CB3 OET	Forschungsstelle Potsdam

AUSTRALIA	UNITED KINGDOM	Telegraphenberg A 43

14473 Potsdam

GERMANY

Library	Library	Library

Antarctica New Zealand	Climatic Research Unit	Finnish Inst. of Marine Research

Private Bag 4745	University of East Anglia	Box 33

Christchurch	Norwich NR4 7TJ	SF 00931

NEW ZEALAND	UNITED KINGDOM	Helsinki

FINLAND

Library	Library	Library

Instituto Antarctico Chileno	National Inst. of Polar Research	Tasmania/Antarctica Reg. Office

Luis Thayer Ojeda 814	9-10, Kaga 1-chome	Bureau of Meteorology

Casilla 16521 Correo 9	Itabashi-ku	GPO Box 727G

Santiago	Tokyo 173-8515	Hobart, Tasmania 7001

CHILE	JAPAN	AUSTRALIA

Dr. David Limbert	Nancy Liston, Librarian	Michael P. Lizotte

2 Topcliffe Way	U.S. Army CRREL	800 Algoma Blvd.

Cambridge, CB1 4SH	Attn: Library	Oshkosh, WI  54901

UNITED KINGDOM	72 Lyme Road

Hanover, NH  03755-1290

Dr. C. Lorius	Dr. Douglas H. Lowenthal	Daren Lu

C.R.N.S., Lab. de Glaciol. et 	Desert Research Institute	Institute of Atmospheric Physics

Geophys. de L'Environ.	2215 Raggio Parkway	CAS

rue Moliere, BP 96	Reno, NV  89512-1095	Beijing 100029

38 402 Saint Martin D'Heres	CHINA

Cedex

FRANCE

Prof. Lu Longhua	Dan Lubin	Kirk A. Maasch

Polar Meteorology Research Lab.	UCSD/SIO	Quaternary Institute

Acad. of Met. Sci., State 	La Jolla, CA  92093-0221	University of Maine

Meteorological Admin.	5711 Boardman Hall

Baishiqiaolu #46, West Suburb	Orono, ME  04469-5711

Beijing

CHINA  100081

Doug MacAyeal	Sammantha Magsino, SOAR	Dr. Pentti Malkki

Dept. of Geophysical Sciences	Institute for Geophysics	Finnish Instit. of Marine Research

5734 S. Ellis Ave.	University of Texas at Austin	P.O. Box 33

Chicago, IL  60637	4412 Spicewood Springs Road	SF-00931 Helsinki

Bldg. 600	FINLAND

Austin, TX  78759-8500

Dr. M.J. Manton	Dominique Marbouty	Cristine Coutinho Marcial

Bureau of Meteorology Research 	European Cent. for Med Range 	Sec. Da Com. Intermin., Para

Cen.	Weather Forecasts	Recursos do Mar.

GPO Box 1289K	Shinfield Park, Reading	Min. da Marinha, SECIRM-40

Melbourne, Victoria 3001	Berkshire RG2 9AX	ANDAR

AUSTRALIA	UNITED KINGDOM	Cep: 70055-Brasilia-D.F.

BRAZIL

Alberto Marenga	Paul Mayewski	Viktor L. Mazo

Polar Documentation Centre	Dept. of Geological Sciences	USSR Academy of Sciences

P.O. Box 14302	University of Maine	Institute of Geography

00149 Roma, (Trullo)	5790 Bryand Global Sciences 	29 Staromonetny

ITALY	Center	109017 Moscow

Orono, ME  04469-5790	RUSSIA

Joe McConnell	Thomas McIntyre	Christopher P. McKay

University of Arizona	F/PR, NOAA, NMFS	NASA, Solar Systems Explor.

Dept. of Hydrology and Water 	1335 East West Highway	Branch

Resources	Silver Spring, MD  20910	Ames Research Center

Tucson, AZ  85721	Moffett Field, CA  94034

Thomas K. Mefford	Meteorology Department Library	Meteorology Office

NOAA/CMDL	The Pennsylvania State 	McMurdo Station, Antarctica

325 Broadway	503 Walker Bldg.	PSC 469 Box 700

R/CMDL1	University Park, PA  16802	APO AP  96599-5700

Boulder, CO  80305

Tony Meunier	Dr. Kingtse C. Mo	Al Mongeon

USGS MS 515	NOAA/NWS	National Weather Service

Reston, VA  20192	Nat. Meteorological Center	WMO Representative

Washington, D.C.  20233	W/OSO 242

1325 East West Highway

Silver Spring, MD  20910

Prof. Joseph M. Moran	Dr. Richard E. Moritz	E.M. Morris

UW-Green Bay	University of Washington	British Antarctic Survey

Dept. of Earth Science	Polar Science Center	High Cross, Madingley Road

Green Bay, WI  54311	1013 N.E. 40th Street	Cambridge CB3 OET

Seattle, WA  98015	UNITED KINGDOM

Robert Morse	Dr. Ellen Mosley-Thompson	Mr. G.B. Mukherji, Director

UW-Madison	Ohio State University	Dept. of Ocean Development

Dept. of Physics	Byrd Polar Research Center	Block 12 C.G.O. Complex

Room 3406 Sterling Hall	1090 Carmack Road	Lodi Road

475 N. Charter Street	Columbus, OH  43210-1002	New Delhi  110003

Madison, WI  53706	INDIA

Prof. Frank J. Murcray	John Nairn	M.R. Nayak

University of Denver	Bureau of Meteorology	National Institute of

Dept. of Physics	Antarctic Met. Center	Marine Instrumentation Div.

Denver, CO  80208-0202	Project Development Center	N.I.O. Dona Paula

P.O. Box 1289K, Melbourne 3001 	Goa-403 004

Victoria	INDIA

AUSTRALIA

National Center for Atmospheric 	William Neff	NOAA/MASC Library

Research	NOAA/ERL/WPL, R/E/WP7	Acquisitions MC5

NCAR Library - Serials	325 Broadway	325 Broadway

P.O. Box 3000	Boulder, CO  80303	Boulder, CO  80303

Boulder, CO  80307

NSF Representative	NSF Representative	Prof. H.J. Paech

McMurdo Station	New Zealand	Academy of Sciences of the

PSC 469 Box 700	PSC 467 Box 296	Central Earth Physics Instit.

APO AP 96599-5700	APO AP 96531-2000	Telegrafenberg A 43

E-1561 Potsdam

GERMANY

Kathy Pagan	Dr. Julie Palais	Prof. Thomas Parish

NASA/AMES	National Science Foundation	University of Wyoming

Mail Stop 245-5	Office of Polar Programs	Dept. of Atmospheric Sciences

Moffett Field, CA  94035	Room 755	P.O. Box 3038, Univ. Station

4201 Wilson Blvd.	Laramie, WY  82071

Arlington, VA  22230

Dr. Byong Kwon Park, Director	Carol H. Pease	Dr. Andrea Pellegrini

Korea Ocean Res. & Dev. 	PMEL NOAA-Building 3	PAS/Progetto Antarctide

An San P.O. Box 29	7600 Sand Point Way NE	ENEA-Casaccia

Seoul 425-600	Seattle, WA  98115-0070	C.P. 2400

SOUTH KOREA	00100 Roma A.D.

ITALY

Dr. Polly Penhale	Polar Research Center	Michael Pook

National Science Foundation	Korean Ocean Research and Dev.	Antarctic CRC

Office of Polar Programs	 Inst.	GPO Box 252-80

Room 755	Ansan P.O. Box 29	Hobart, Tasmania 7001

4201 Wilson Blvd.	Seoul 425-600	AUSTRALIA

Arlington, VA  22230	SOUTH KOREA

Joseph Prejs	Dr. Tony Press, Director	Linda Preston, Librarian

1501 S. Clifton Ave.	Antarctic Division	Federal Bldg.-Library

Bloomington, IN  47401-6649	Channel Highway	Nat. Climatic Data Center/NOAA

Kingston, Tasmania 7050	Asheville, NC  28801-2696

AUSTRALIA

Rajmund Przybylak	Dominique Raynaud	Dr. Robert Reed

Nicholas Copernicus University	Laboratoire de Glaciol. et 	Oak Ridge National Laboratory

Dept. of Climatology	Geophys. de l'Environ.	Env. Analysis & Assess. Sec.

ul. Danielwskiego 6	BP 96 38402 St. Martin d'Heres	P.O. Box 2008

87-100 Torun	Cedex	Oak Ridge, TN  37831-66200

POLAND	FRANCE

Margaret N. Rees	Ms. Winifred Reuning	Dr. Carlos A. Rinaldi, Director

University of Nevada	National Science Foundation	Instituto Antarctico

Dept. of Geophysics	Office of Polar Programs	Cerrito 1248

Las Vegas, NV  89154	Room 755	1010 Buenos Aires

4201 Wilson Blvd.	ARGENTINA

Arlington, VA  22230

Mr. Pedro Romero, Director	Dr. Ted J. Rosenburg	Dr. Thomas F. Ross

Instituto Antarctico Chileno	University of Maryland	NOAA/NCDC

Luis Thayer Ojedo 814	Inst. for Phys. Sci. & Tech.	National Climatic Data Center

Correo Sucursal 21, Santiago	College Park, MD  20742	Room 121

CHILE	Federal Building

Asheville, NC  28801-2696

Comodoro Enrique Saavedra	Akhil Saxena, Section Officer	V.K. Saxena

Servicio Meteorologico Nacional	Government of India	North Carolina State University

25 de Mayo 658	Dept. of Ocean Development	Dept. of Marine, Earth & Atmos.

1002 Buenos Aires	Mahasagar Bhavan, Block-12	Science

REPUBLICA ARGENTINA	CGO Complex, Lodi Road New 	Box 8208

Delhi 110003	Raleigh, NC  27695-8208

INDIA

Ted Scambos	Greg Scharfen	Guy Schayes

National Snow and Ice Data 	National Snow and Ice Data 	UCL-Institut d'Astron. et de

University of Colorado	University of Colorado	Geophys.

Campus Box 449	Campus Box 449	Chemin du Cyclotron 2

Boulder, CO  80309-0449	Boulder, CO  80309-0449	B-1348 Louvain-La-Neuve

BELGIUM

Thomas W. Schmidlin	Schwerdtfeger Library	Science & Technology Corp.

Kent State University	Space Science and Engineering 	101 Research Drive

Dept. of Geography	Center	Hampton, VA  23666

Kent, OH  44242	1225 W. Dayton St., Room-317	ATTN: C.A. Keen

Madison, WI 53706

Science Library	Science Library	Science Library

Amundsen-Scott South Pole 	Crary Laboratory	Palmer Station, Antarctica

Station, Antarctica	McMurdo Station, Antarctica	c/o Supervisor, Lab Operations

c/o Inland Stations Manager	c/o Laboratory Manager	7400 South Tuscon Way

7400 South Tuscon Way	7400 South Tuscon Way 	Centennial, CO 80112-3938

Centennial, CO 80112-3938	Centennial, CO 80112-3938

Service Central d'Explication 	Dr. Alberto Setzer	Jonathan Shanklin

Meteorologia	Instituto de Pesquisas Espaciais	British Antarctic Survey

Division Climatologie	Dept. de Meteorologia e 	High Cross, Madingley Road

2, Division Rapp	Oceanografia	Cambridge CB3 OET

75340 Paris Cedex 07	Caixa Postal 515	UNITED KINGDOM

FRANCE	12201-Sao Jose dos Campos-SP

BRAZIL

Dr. Hayley Shen	Dr. Christopher A. Shuman	August L. Shumbera

Dept. of Civil and Environmental 	NASA/GFSC	Federal Building

Engineering	Code 971	National Climatic Data Center

Clarkson University	Greenbelt, MD 20771	Asheville, NC  28801

Potsdam, NY  13699-5710

Prof. Ian Simmonds	Prof. Raymond Smith	Dr. Philip M. Solomon

School of Earth Sciences	University of CA-Santa Barbara	SUNY Stoneybrook

University of Melbourne	Computer Systems Laboratory	Dept. of Physics

Parkville, Victoria	Santa Barbara, CA  93106	Stoneybrook, NY  11794

AUSTRALIA 3052

Dr. Susan Solomon	Dr. Roland Souchez	South Pole Station

NOAA/Aeronomy Laboratory	Faculte des Sciences	PSC 468 Box 400

325 Broadway	Dept. des Sci. de la terre et de 	APO AP 96598-5400

Boulder, CO  80303	l'environ.

CP 160 Ave. F.D. Roosevelt, 50

1050 Brussels

BELGIUM

Todd Sowers	Sharon Stammerjohn	Station Manager

University of Rhode Island	Institute for Computational Earth 	Palmer Station, Antarctica

URI/GSO S. Ferry Road	System Science	c/o AGUNSA

Narragansett, RI  02882-1197	UCSD	Deposito Franco Antarctico

Sanata Barbara, CA 93106-3060	Av. Independencia 772, P.O. Box

60-D Punta Arenas

CHILE

Dr. N.A. Streten	Dr. A.P. Sturman	Al Sutherland

Bureau of Meteorology	University of Canterbury	National Science Foundation

Box 1289 K, Melbourne 3000	Dept. of Geography	Office of Polar Programs

Victoria	Christchurch 1	Room 755

AUSTRALIA	NEW ZEALAND	4201 Wilson Blvd.

Arlington, VA  22230

Swedish Polar Research 	Dr. Charles Swithinbank	Prof. Masaki Takematsu

Secretariat, Library	Home End Fulbourn	Kyushu University

Box 50005	Cambridge CB1 5BS	Res. Inst. for Applied Mechanics

S10405 Stockholm	UNITED KINGDOM	Kasuga 816

SWEDEN	JAPAN

Tasmanian/Antarctic Reg. Office	Dr. Kendall Taylor	Dr. Calvin Teague

Bureau of Meteorology	Desert Research Institute	Center for Radar Astronomy

Hobart	P.O. Box 60220	Dept. of Electrical Engineering

AUSTRALIA	5625 Fox Ave.	Stanford University

Reno, NV  89506-0220	Stanford, CA  94305

Martha B. Thayer	Geza T. Thuronyi	Dr. Brian A. Tinsley, MSF022

NOAA Library	Library of Congress	University of Texas-Dallas

7600 Sand Point Way NE Bldg. 3	Science & Technology Division	Box 830688

Bin C-15700	Washington, D.C.  20540	Richardson, TX  75083-0688

Seattle, WA  98115

Dr. Adrian Tuck	John Turner	Dr. Rein Vaikmae

R/E/ALG	British Antarctic Survey	Estonian Academy of Science

NOAA/Aeronomy Lab	High Cross, Madingley Road	Institute of Geology

325 Broadway	Cambridge CB3 OET	7 Estonia Puiestee

Boulder, CO  80303	UNITED KINGDOM	200101 Tallinn

ESTONIA

Luca Valenziano	Rodolfo del Valle	Michiel van den Broeke

CNR-TESRE	Instituto Antarctico Argentino	IMAU

via P. Gobetti 101	Cerrito 1248-1010	P.O. Box 80005

I-40129	Buenos Aires	3508 TA Utrecht

Bologna	ARGENTINA	THE NETHERLANDS

ITALY

Dr. Harry van Loon	Michael Van Woert	E.D. Waddington

NCAR	National Ice Center	University of Washington

P.O. Box 3000	FOB#4, Room 2301	Geophysics AK-50

Boulder, CO  80307	4251 Suitland Rd.	Seattle, WA  98195-1650

Washington, DC  20395

Von Walden	John E. Walsh	Stephen G. Warren

Dept. of Geography	University of Illinois	University of Washington

University of Idaho	Dept. of Atmospheric Sciences	Dept. of Atmospheric Sciences

McClure Building, Room 203	1101 W. Springfield Ave.	AK-40

Moscow, ID  83844-3021	Urbana, IL  61801	Seattle, WA  98195

Dr. Gunter Weller	Dr. Gerd Wendler	Prof. G. Wojcik

University of Alaska	University of Alaska	Nicholas Copernicus University

Geophysical Institute	Geophysical Institute	Inst. Of Geography, Dept. of

903 Koyukuk Ave.	903 Koyukuk Ave.	Climatology

Fairbanks, AK  99701	Fairbanks, AK  99701	ul. Danielewskiego 6

87-100 Torun

POLAND

Dr. Anthony Worby	World Data Center-A	World Data Center-A

GPO Box 252-80	Glaciology (Snow and Ice)	Marine Geology & Geophysics

Hobart, Tasmania 7001	CIRES/University of Colorado	NOAA, E/GC3

AUSTRALIA	Boulder, CO  80309	325 Broadway

Boulder, CO  80303

World Data Center-A: Meteorology	World Data Center-A: 	Steven Worley  (2)

NOAA, E/CC	Oceanography	NCAR/SCD

Federal Building	NOAA, E/OC53	P.O. Box 3000

Asheville, NC  28801	Silver Spring, MD 20910-3282	Boulder, CO 80307

Mrs. Xu Pei-Min	Dr.Takashi Yamanouchi	Hengchun Ye

Polar Information Data Center	National Instit. of  Polar Research	California State University, Los

Polar Res. Institute of China	1-9-10 Kaga, Itabashi-ku	Angeles

Jinqiao Road, Pudong 451	Tokyo, 173-8515	Dept. of Geography and Urban

Shanghai 200129	JAPAN	Analysis

CHINA	Los Angeles, CA  90032-8222

Zhang Yinsheng	Dr. I.A. Zotikov	Dr. Mario Zucchelli, Manager

Cold And Arid Regions	USSR Academy of Sciences	Antarctic Project, ENEA PAS

Environ. and Engineering Res. 	Institute of Geography	C.R.E. CASACCIA P.O. Box 2400

Institute	29 Staromonetny	Via Anguillarese, 301

Academia Sinica	Moscow, 10917	00100 Roma A.D.

Lanzhou 730000	RUSSIA	ITALY

CHINA

Dr. H.J. Zwally

NASA/Goddard Space Flight

Center

Code 971

Greenbelt, MD  20771