Antarctic Automatic Weather Station Data

for the calendar year

1996

by

Linda M. Keller

George A. Weidner

Charles R. Stearns

Matthew T. Whittaker

Robert E. Holmes

Space Science and Engineering Center

University of Wisconsin

1225 W. Dayton St.

Madison, Wisconsin

February 1998

Antarctic Automatic Weather Station Data

for the calendar year

1996

by

Linda M. Keller

George A. Weidner

Charles R. Stearns

Matthew T. Whittaker

Robert E. Holmes

Space Science and Engineering Center

University of Wisconsin

1225 W. Dayton St.

Madison, Wisconsin

February 1998

TABLE OF CONTENTS

Page

1.  Introduction.........................................................................................................................................    1

2.  Data Transmission.............................................................................................................................    1

3.  AWS Identification and Location......................................................................................................    1

4.  AWS Data Summaries......................................................................................................................    8

4.1 Monthly Data Summaries.............................................................................................................  8	D-10.............................................................................................................................................  9

D-47.............................................................................................................................................  9

D-57.............................................................................................................................................  9

D-80.............................................................................................................................................  9

Dome C II....................................................................................................................................  9

Port Martin................................................................................................................................  10

Cape Denison...........................................................................................................................  10

Penguin Point...........................................................................................................................  10

Sutton........................................................................................................................................  11

Cape Webb...............................................................................................................................  11

Byrd Station..............................................................................................................................  11

Mount Siple...............................................................................................................................  12

Harry.........................................................................................................................................  12

J.C. ............................................................................................................................................ 12

Theresa.....................................................................................................................................  13

Doug..........................................................................................................................................  13

Brianna......................................................................................................................................  13

Elizabeth...................................................................................................................................  14

Erin............................................................................................................................................  14

Marble Point.............................................................................................................................. 14

Ferrell........................................................................................................................................  15

Pegasus North..........................................................................................................................  15

Pegasus South.........................................................................................................................  15

Minna Bluff................................................................................................................................  16

Linda..........................................................................................................................................  16

Willie Field.................................................................................................................................  16

Whitlock.....................................................................................................................................  17

Young Island.............................................................................................................................  17

Possession Island....................................................................................................................  17

Marilyn.......................................................................................................................................  18

Schwerdtfeger..........................................................................................................................  18

Gill.............................................................................................................................................  18

Lettau........................................................................................................................................  19

Elaine........................................................................................................................................  19

Manuela...................................................................................................................................... 19

Lynn...........................................................................................................................................  20

Larsen Ice Shelf.......................................................................................................................  20

Butler Island..............................................................................................................................  20

Uranus Glacier..........................................................................................................................  21

Racer Rock................................................................................................................................  21

Bonaparte Point........................................................................................................................  21

Ski-Hi.........................................................................................................................................  21

Santa Claus Island...................................................................................................................  22

Limbert.....................................................................................................................................   22

AGO-A84...................................................................................................................................  22

Clean Air (South Pole).............................................................................................................  23

Nico...........................................................................................................................................  23

Henry........................................................................................................................................  23

Relay Station............................................................................................................................  24

Dome Fuji.................................................................................................................................  24

4.2  Three Hourly Data Summaries.................................................................................................  25

5.  AWS Calibration.................................................................................................................................  26

5.1. Temperature...............................................................................................................................  26

5.2. Pressure......................................................................................................................................  26

5.3. Wind Direction and Speed........................................................................................................  26

5.4. Relative Humidity.......................................................................................................................  27

5.5. Vertical Air Temperature Difference........................................................................................  27

6.  AWS Operations Summary for 1996................................................................................................  27

6.1. AWS Performance.....................................................................................................................  27

6.2. AWS Antarctic Field Activities..................................................................................................  30

7.  Global Telecommunications System................................................................................................  32

8.  Data and Field Report Availability....................................................................................................  32

9.   Acknowledgments.............................................................................................................................  34

1.  INTRODUCTION

A network of automatic weather station (AWS) units is deployed to collect Antarctic surface weather observations in support of specific meteorological research projects as well as operational activities at McMurdo.  The 1996 network consisted of 51 installed AWS units providing observations on the Ross Ice Shelf, east of the Transantarctic Mountains and north of McMurdo to the Adelie Coast, along the Antarctic Peninsula and climatological locations such as the South Pole.  Each unit measures air temperature, wind speed, and wind direction normally at the top of the unit's tower at a nominal height of three meters and air pressure at the electronics enclosure (Figure 1).  Some AWS units also measure the relative humidity at three meters and vertical air temperature difference between 0.5 and 3 meters.  Measurement heights relative to the actual surface at the site are nominal due to snow accumulation around the AWS unit.

2.  DATA TRANSMISSION

The transmitted AWS data are received and stored by the ARGOS data collection system on the NOAA series of polar orbiting satellites.  The data are retransmitted by the satellite for reception by a local user terminal (LUT) as at McMurdo, Antarctica.  The data are processed into scientific units and are available for local use.  The complete data set is received daily at Madison, Wisconsin, from Service ARGOS, Toulouse, France, for processing and distribution to the users.

3.  AWS IDENTIFICATION AND LOCATION

Site location is defined by the latitude and longitude which is determined by various methods: sun shots, angles to geographical features, aircraft data, ice breaker data, the platform location system of Service ARGOS, and the Global Positioning System.  AWS elevation is obtained by barometry and should be correct to within +/- 5 meters.  Site names were introduced for convenience.  Table 3.1 lists the site name, ARGOS identification number, latitude, longitude, elevation, start date for the site, and the World Meteorological Organization (WMO) number for the site.  Figures 2, 3, 4, and 5 show the locations of the AWS units in the Antarctic for 1996.

The ARGOS identification number (ID) is used to identify the data sets distributed to the users.  AWS units are sometimes moved from one location to another, and as a result, the ID at a given site may change from year to year.  Table 3.2 lists the site name with the ARGOS ID, the site start date, and the ID start and stop dates.

Figure 1.  Layout of the AWS unit used in the Antarctic.  The installed AWS unit has a 3-meter tower with a horizontal boom supporting the antenna, aerovane for measuring wind speed and direction, air temperature resistance thermometer, upper thermopile for measuring vertical air temperature difference, and the relative humidity sensor.  The electronics enclosure is mounted at the mid point of the tower.  The gel cell batteries are placed at the tower base.  The solar panel, located near the tower top, faces north.

Table 3.1

AWS site name, geographic location and elevation, site start date, and WMO number for 1996.

Site name	  ARGOS ID	 Lat. (Deg)	 Long. (Deg)	Elev. (m)	Site Start Date	  WMO No.

Adelie Land

D-10	 #8919	66.71oS	139.83oE	 243	08 Jan 80	 89832

D-47	 #8986	67.40oS	138.73oE	1560	24 Jan 83	 89834

D-57	#21360	68.20oS	137.54oE	2105	16 Jan 81

D-80	 #8916	70.04oS	134.88oE	2500	14 Jan 83	 89836

Dome C	   8904	74.50oS	123.00oE	3280 	05 Feb 80	 89828

Dome C II     	   8989	75.12oS	123.37oE	3250	12 Dec 95	 89828

Port Martin	   8930	66.82oS 	141.40oE	  39	19 Jan 90

Cape Denison   	   8907	67.01oS	142.66oE	  31	20 Jan 90

Penguin Point  	   8929	67.62oS 	146.18oE	  30 	24 Dec 92    	 89847

Sutton         	   8939	67.08oS	141.37oE 	 871   	26 Dec 94

Cape Webb   	   8933	67.93oS	146.82oE        	  37   	28 Dec 94

West Antarctica

Byrd Station  	   8903  	80.00oS	119.40oW  	1530 	05 Feb 80  	 89324

Mount Siple  	   8981  	73.20oS	127.05oW 	 230  	20 Feb 92    	 89327

Harry        	  21355  	83.00oS	121.39oW 	 945  	29 Nov 94

J.C.         	  21357  	85.07oS	135.52oW  	 549   	29 Nov 94

Theresa      	  21358  	84.60oS	115.81oW  	1463   	29 Nov 94   	 89314

Doug        	  21359  	82.32oS	113.24oW  	1433  	29 Nov 94

Brianna       	  21362  	83.89oS	134.15oW   	 549  	30 Nov 94

Elizabeth	#21361	82.61oS	137.08oW	 549	30 Nov 94	 89332

Erin	#21363	84.90oS	128.81oW	1006	29 Nov 94

Ross Island Region

Marble Point  	   8906  	77.44oS	163.69oE	 120  	05 Feb 80   	 89866

Ferrell     	   8934  	77.93oS	170.82oE	  45  	10 Dec 80  	 89872

Pegasus North 	   8927  	77.95oS	166.51oE	  10 	23 Jan 90   	 89667

Pegasus South 	   8937  	77.99oS	166.58oE	  10 	14 Jan 91

Minna Bluff    	   8988  	78.55oS	166.66oE	 920 	22 Jan 91   	 89768

Linda         	 #8909  	78.48oS	168.38oE	  50 	21 Jan 91   	 89769

Willie Field  	   8901  	77.87oS 	167.02oE	  20 	25 Jan 92

Ocean Islands

Whitlock       	   8921  	76.14oS	168.39oE  	 274 	23 Jan 82  	 89865

Scott Island 	   8983  	67.37oS	179.97oW 	  30 	25 Dec 87   	 89371

Young Island	   8980	66.23oS	162.28oE	  30	01 Jan 91	 89660

Possession Is.	   8984  	71.89oS	171.21oE 	  30  	29 Dec 92   	 89879

Ross Ice Shelf

Marilyn 	   8931	79.95oS	165.13oE	  75	16 Jan 84	 89869

Schwerdtfeger	   8913	79.90oS	169.97oE	  60	24 Jan 85	 89868

Gill	   8911	79.99oS	178.61oW	  55	24 Jan 85	 89376

Lettau	   8908	82.52oS	174.45oW	  55	29 Jan 86	 89377

Elaine 	   8900	83.13oS	174.17oE	  60	28 Jan 86	 89873

Reeves Glacier

Manuela   	   8905  	74.95oS	163.69oE	  80  	06 Feb 84   	 89864

Lynn         	   8935  	74.21oS	160.41oE  	1772   	19 Jan 88   	 89860

Antarctic Peninsula

Larsen Ice   	   8926  	66.95oS	 60.91oW 	  17 	21 Oct 85   	 89262

Butler Island 	   8902  	72.21oS	 60.17oW	  91  	01 Mar 86   	 89266

Uranus Glac. 	   8920  	71.43oS	 68.93oW 	 780  	06 Mar 86   	 89264

Racer Rock   	   8947  	64.07oS	 61.61oW	  17  	15 Oct 89   	 89261

Bonaparte Pt. 	   8912  	64.78oS 	 64.07oW	   8  	05 Jan 92   	 89269

Recovery Glcr. 	   8932  	80.82oS 	 22.26oW  	1220  	18 Jan 94

Ski-Hi    	   8917  	74.98oS	 70.77oW  	1395  	21 Feb 94	 89272

Santa Claus Is 	   8910  	64.96oS	 65.67oW 	  25 	10 Dec 94

Limbert	   8925	75.42oS	 59.95oW	  40	30 Nov 95	 89257

AGO-A84*	   8932	84.36oS	 23.86oW	2103	09 Jan 96

High Polar Plateau

Clean Air     	   8987  	90.00oS     		2835  	29 Jan 86  	 89208

Nico       	   8924  	89.00oS	 89.67oE  	2935  	26 Jan 93	 89799

Henry        	   8985  	89.01oS	  1.30oW  	2755  	26 Jan 93	 89108

Relay Station 	   8918	74.02oS	 43.06oE	3353	01 Feb 95	 89744

Dome Fuji	   8982	77.31oS	 39.70oE	3810	08 Feb 95	 89734

# New ARGOS ID for 1996 at the site; *New location for 1996

Figure 2.  Antarctic automatic weather station locations during 1996 identified by the site name.  Area around Ross Island is shown in Figure 3. Adelie Coast area is shown in Figure 4.

Figure 3.  Location of Antarctic automatic weather stations in the vicinity of Ross Island, Antarctica during 1996.

Figure 4.  Location of Antarctic automatic weather stations on the Adelie Coast during 1996.

Table 3.2

1996 Antarctic AWS site name, ARGOS identification number (ID), site start date, ID start date, and ID stop date if occurring in 1995.

| Site | ARGOS ID | Site Start Date | ID Start Date | ID Stop Date |
| --- | --- | --- | --- | --- |
| D-10 | 21364 | 08 Jan 80 | 25 Dec 95 | 21 Jan 96 |
|  | 8919 |  | 21 Jan 96 |  |
| D-47 | 8986 | 24 Jan 83 | 11 Feb 96 |  |
| D-57 | 21360 | 16 Jan 81 | 08 Feb 96 |  |
| D-80 | 8919 | 14 Jan 83 | 12 Dec 85 | 24 Jan 96 |
|  | 8916 |  | 24 Jan 96 |  |
| Dome C | 8904 | 05 Feb 80 | 05 Feb 80 | 02 Jan 96 |
| Dome C II | 8989 | 12 Dec 95 | 12 Dec 95 |  |
| Port Martin | 8930 | 19 Jan 90 | 23 Dec 92 |  |
| Cape Denison | 8907 | 20 Jan 90 | 27 Dec 94 |  |
| Penguin Point | 8929 | 24 Dec 92 | 24 Dec 92 |  |
| Sutton | 8939 | 26 Dec 94 | 26 Dec 94 |  |
| Cape Webb | 8933 | 28 Dec 94 | 28 Dec 94 |  |
| Byrd Station | 8903 | 05 Feb 80 | 05 Feb 80 |  |
| Mount Siple | 8981 | 20 Feb 92 | 20 Feb 92 |  |
| Brianna | 21362 | 30 Nov 94 | 30 Nov 94 |  |
| Elizabeth | 21356 | 30 Nov 94 | 30 Nov 94 | 17 Jan 96 |
|  | 21361 |  | 17 Jan 96 |  |
| J.C. | 21357 | 29 Nov 94 | 29 Nov 94 |  |
| Erin | 21361 | 29 Nov 94 | 29 Nov 94 | 18 Jan 96 |
|  | 21363 |  | 18 Jan 96 |  |
| Harry | 21355 | 29 Nov 94 | 29 Nov 94 |  |
| Theresa | 21358 | 29 Nov 94 | 29 Nov 94 |  |
| Doug | 21359 | 29 Nov 94 | 29 Nov 94 |  |
| Marble Point | 8906 | 05 Feb 80 | 05 Feb 80 |  |
| Ferrell | 8934 | 10 Dec 80 | 10 Dec 80 |  |
| Pegasus North | 8927 | 23 Jan 90 | 23 Jan 90 |  |
| Pegasus South | 8937 | 14 Jan 91 | 14 Jan 91 |  |
| Minna Bluff | 8988 | 22 Jan 91 | 12 Jan 94 |  |
| Linda | 8909 | 21 Jan 91 | 24 Nov 95 |  |
| Willie Field | 8901 | 25 Jan 92 | 25 Jan 92 |  |
| Whitlock | 8921 | 23 Jan 82 | 23 Feb 94 |  |
| Scott Island | 8983 | 25 Dec 87 | 27 Dec 92 |  |
| Young Island | 8980 | 01 Jan 91 | 01 Jan 91 |  |
| Possession Island | 8984 | 29 Dec 92 | 29 Dec 92 |  |
| Marilyn | 8931 | 16 Jan 84 | 18 Jan 91 |  |
| Schwerdtfeger | 8913 | 24 Jan 85 | 22 Jan 93 |  |
| Gill | 8911 | 24 Jan 85 | 25 Jan 91 |  |
| Elaine | 8900 | 28 Jan 86 | 23 Jan 93 |  |
| Lettau | 8908 | 29 Jan 86 | 29 Jan 86 |  |
| Manuela | 8905 | 06 Feb 84 | 15 Feb 87 |  |
| Lynn | 8935 | 19 Jan 88 | 23 Jan 92 |  |
| Larsen Ice Shelf | 8926 | 21 Oct 85 | 01 Jan 86 |  |
| Butler Island | 8902 | 01 Mar 86 | 01 Mar 86 |  |
| Uranus Glacier | 8920 | 06 Mar 86 | 24 Jan 92 |  |
| Limbert | 8925 | 30 Nov 95 | 30 Nov 95 |  |
| Racer Rock | 8947 | 15 Oct 89 | 08 Dec 91 |  |
| Bonaparte Point | 8912 | 05 Jan 92 | 05 Jan 92 |  |
| Recovery Glacier | 8932 | 18 Jan 94 | 18 Jan 94 | 09 Jan 96 |
| AGO-A84 | 8932 | 09 Jan 96 | 09Jan 96 |  |
| Ski-Hi | 8917 | 21 Feb 94 | 21 Feb 94 |  |
| Santa Claus Island | 8910 | 10 Dec 94 | 10 Dec 94 |  |
| Clean Air | 8987 | 29 Jan 86 | 25 Jan 94 |  |
| Henry | 8985 | 26 Jan 93 | 26 Jan 93 |  |
| Relay Station | 8918 | 01 Feb 95 | 01 Feb 95 |  |
| Dome Fuji | 8982 | 08 Feb 95 | 08 Feb 95 |  |

4. AWS DATA SUMMARIES

The data received by the University of Wisconsin, Space Science and Engineering Center, contain all the information received by the ARGOS system including duplicate and erroneous transmissions.  Invalid data are eliminated during a quality check, and the valid data are converted to scientific units producing the complete data set.  Data selected at three hourly intervals, plus or minus one hour, produce a three hourly data set for each AWS unit month.  Section 6.1, AWS Performance, provides some explanations for missing and invalid data.

Use of the 1996 Antarctic AWS data for publication should acknowledge the support of NSF-OPP Grant 9303569 and 9419128 or reference this publication.

4.1  Monthly Data Summaries

The monthly summaries consist of the monthly means, from the three hourly data set, and the extremes, from the complete data set.  For monthly values to be included, 25% of the three hourly observations must be available.  Months with 50-75% of data missing occur most often when a station is started or stopped in the middle of the month.  This can cause a bias in the monthly mean, especially during seasons when parameters such as temperature change rapidly.  Annual means are calculated only when twelve months of data are available.  The data are presented in the same order as the sites listed in Table 3.1.  Definitions of the monthly data summary headings are listed below.

Heading                      	           Definition

Mean air temperature, oC.       	Mean value for the month.

Percent of monthly data missing.    	Ratio of the number of missing observations to the number 			                      of possible observations X 100.

Maximum air temperature, oC.    	Maximum value for the month.

Minimum air temperature, oC.   	Minimum value for the month.

Mean wind speed, m/s.           	Mean value for the month.

Percent of monthly data missing.    	Ratio of the number of missing observations to the number 			                      of possible observations X 100.

Resultant wind speed, dir/vv.      	Resultant speed and direction for the  month.

Constancy.                		Ratio of the monthly resultant to the monthly mean wind 			                      speed.

Maximum wind speed, dir/vv.        	Maximum wind speed and direction for the month.

Mean air pressure, mb.         	Mean value for the month.

Percent of monthly data missing.    	Ratio of the number of missing observations to the number 			                      of possible observations X 100.

Maximum air pressure, mb.     	Maximum value for the month.

Minimum air pressure, mb.      	Minimum value for the month.

4.2 Three Hourly Data Summaries

The data set for each AWS unit for the month is scanned to pick out the nearest observation within one hour of the UTC hours 00, 03, 06, 09, 12, 15, 18, and 21 to produce the three hourly data set.  If valid data are not available within the three hourly time interval, then the entry is left blank to indicate missing data.  The means, standard deviations, resultant wind speed and direction, the distribution of temperature, and wind speed with wind direction are determined from the three hourly observations and are presented as a monthly summary at the bottom of each page.  A wind direction value of zero indicates a wind speed less than 0.50 m s-1.  North is indicated by a value of 360 degrees.  The maximum and minimum values are taken from the complete data set, not the three hourly data set.  The appropriate monthly data from the three hourly data set are used for the monthly summaries presented in 4.1.  In the presence of sunlight the air temperatures are questionable if the wind speed is less than 1 m s-1.  These summaries are available by anonymous FTP (see Section 8).  If you are unable to access the Internet, we will send the information either on diskettes or paper.  Please contact us for further information (the address is at end of Section 8).

5.  AWS CALIBRATION

5.1. Temperature

The external and internal temperatures are calibrated using a 1000 ohm 0.05% resistor in place of the platinum resistance thermometers which are 1000 ohms resistance at 0oC.  Because the other resistances in the temperature circuit are known only to 1%, the temperature calibration will vary from one electronic unit to another.  The correction factor determined from the calibration resistor is programmed into the read-only-memories for each unit.  After the correction factors have been programmed into the AWS, a calibration box with 0.1% resistors is used in the field to check the temperature calibration.

5.2. Pressure

The atmospheric pressure transducer is a Parascientific model 215A digiquartz pressure gauge.  The transducer frequency changes from a nominal 40 kHz at zero pressure to a nominal 36 kHz at 1000 hPa.  The pressure resolution is approximately 0.05 hPa.

Paulin aneroid barometers calibrated against a mercury barometer of 10 mm bore are used to check the pressure gauge calibration.  Comparisons are made between AWS units, a Parascientific Model 760-16B accurate to +/- 0.1 hPa, and with the mercury barometers at Scott Base, Antarctica.  The calibrations should be within +/- 0.2 hPa.  Two mercury barometers have been purchased for use at McMurdo, Antarctica but are not yet available.

The reference vacuum on the older pressure transducers can degrade with time with a maximum observed 4 hPa shift to lower pressure after ten years.  Recalibration of each pressure transducer would be desirable when each unit is serviced.

5.3. Wind direction and Speed

The Belfort model 123 aerovane measures wind direction and speed.  The aerovane rotates a potentiometer wiper, and the fraction of full scale of the potentiometer is measured.  The wind direction is checked by positioning the aerovane to the cardinal directions relative to the boom supporting the aerovane.  North or the potentiometer zero is towards the antenna on the boom and has a dead zone of 5o.  During the field installation the boom is usually aligned along the north-south line as determined from the sun's azimuth, longitude, and Greenwich Mean Time.  In some cases the 180o end of the boom may point in a direction other than south.  At Manuela site, the 180o end of the boom points up the glacier and a correction is added to the data during processing.  At Byrd site the wind is usually out of the north so the boom was rotated 120o and the correction added during the data processing.  The wind speed is determined from the aerovane tachometer voltage output as 0.0472 volt per meter per second.  The aerovane tachometers are spun at 1800 rpm with a load of 1071.5 ohms and the output should be 9.20 +/-0.05 vdc.

Three additional wind sensors were used with AWS units for 1996.  These were the Vaisala anemometer model WAA-15, the R.M. Young wind monitor model 05103, and the Hydro-Tech WS-3 rotor anemometer.  The Vaisala WAA-15 and the Hydro-Tech WS-3 were used as backup sensors for measuring wind speed in the Adelie Coast area.  The WAA-15 is a 3-cup opto-electronic anemometer.  When rotating, the anemometer produces a pulsed output that is proportional to the wind speed.  Rated accuracy is +/- 2% up to 75 m/s.  The pulsed output was input into one of the digital counter channels for 5 seconds.  This resulted in a calibration value of .293 m/s/bit.  The Hydro-Tech WS-3 is a disk rotor, 3 in. high and 12 in. overall diameter, with radial cups, and the threshold sensitivity is 3 mph.  The anemometer utilizes a commercial dc tachometer generator.  Output is 0 to +5 vdc (and 0 to 1 ma) over the desired full scale wind speed of 85 m/s.  Accuracy is +/- 2%.

The R.M. Young monitor 05103 also used a 10000 ohm potentiometer so that the wind direction was recorded identically with the Belfort/Bendix aerovanes.  The wind speed was from the range of 0 to 1.0 volt full scale corresponding to 50 m/s.  Thus the calibration for wind speed was a nominal .195 m/s/bit for the R.M. Young with +/- 1% up to 50 m/s.

5.4. Relative Humidity

The Vaisala HMP-35A humidity sensor output voltage varies linearly with relative humidity (U).  The sensor is calibrated by placing it over saturated salt solutions with known relative humidities at room temperature:  sodium chloride (U=75%), and lithium chloride (U=12%) are used.  In addition, a dry inert gas, forced past the sensor, gives a 0% U, and the sensor output can be zeroed.  Then, the gain setting can be set directly using a salt solution with a high relative humidity, such as sodium chloride.  The resolution of the humidity sensor is about 1% and the drift can be 2 to 3% per year in the field.  The relative humidity data are not included on the summary pages but are included in the 3 hourly data sets.

5.5. Vertical Air Temperature Difference

Two junction thermocouples are used to measure the air temperature difference between 3 m and 0.5 m on the tower.  The output is about 78 microvolts for 1.oC temperature difference between the junctions at 0.0oC, dropping to 60 microvolts at -80oC.  Zero output is adjusted to 0.4 volts, so that 0 to 1 volt corresponds to a -6oC to +9oC range of air temperature differences between 3 m and 0.5 m.  The resolution is 0.05oC.  Calibration of the individual systems is done by applying known voltages to the amplifier input. The vertical temperature difference data are not included on the summary pages but are included in the 3 hourly data sets.

6.  AWS OPERATIONS SUMMARY FOR 1996

6.1.  AWS Performance

Fifty AWS units were installed at the start of 1996 and 51 were installed by the end of 1996.  Based on the installation months the AWS units delivered 74% of the temperature data, 73% of the pressure data and 62% of the wind data during 1996.  Complete data sets were received from 21 AWS units and 11 AWS units operated for the installed period.  Eighteen AWS units were not received for one month or more during the year or stopped during the year.

The wind system has the poorest performance.  If the wind speed is zero or the wind direction is constant for extended periods (days to months) then the data is considered invalid.  The reason for this behavior is not known but is believed to be due to the build up of frost on the wind system.  This usually occurs in the winter season and at several AWS sites.  The wind speed is most frequently zero when the wind direction is constant.  Another problem with the wind system involves the tachometer for measuring wind speed.  The brushes on the Belfort aerovane quickly wear down and fill the gaps between the contacts with brush material, shorting out the tachometer output.  As a result we do not know the calibration.  The problem is in the construction of the tachometer, so we have begun to install a new wind system manufactured by R.M. Young.  They are currently operating at Nico, Henry, Pegasus North, Minna Bluff, Willie Field, Ski-Hi, J.C., Theresa, Doug,  Brianna, Elizabeth, Erin, D-47, D-57, and Bonaparte Point sites.

Site			Performance

D-10	Station inadvertently removed and replaced with non-functioning station on

21 January.

D-47	Station installed 11 February. Station operated intermittently and then 	stopped 4 August due to low battery voltage. Temperature not functioning 	after early April.

D-57	Station installed 8 February. Station operated until 4 August when it 	stopped due to low battery voltage.

D-80	Station changed 24 January. Temperature and wind speed and direction were not reporting correctly starting in mid-February, and pressure was not reporting correctly in March. Station stopped in March due to low battery voltage.

Dome C	Station stopped on 3 January due to low battery voltage.

Dome C II	OK.

Port Martin	Station transmitted sporadically from April to September due to low battery voltage. As battery recharged, more transmissions received. A Hydro-Tech anemometer was installed instead of delta-T sensor. Pressure corrected for high wind speed conditions.

Cape Denison	Intermittent transmission in May. The Belfort aerovane failed beginning in March. A Hydro-Tech anemometer was installed instead of delta-T sensor. Pressure corrected for high wind speed conditions.

Penguin Point	A Vaisala anemometer was installed instead of the delta-T sensor. Wind speed from the Vaisala anemometer was substituted for the Belfort aerovane wind speed from January through November since the aerovane wind speed was not functioning properly. Pressure corrected for high wind speed conditions.

Sutton	Station started running 10 January. Station stopped 20 February and started again 31 March. Occasionally missing several days of data for the rest of the year. Station stopped for most of October. A Hydro-Tech anemometer was installed instead of delta-T sensor.

Cape Webb	Aerovane not operating during the year. Station stopped from 17 April to 7 June and again the first half of July. A Hydro Tech anemometer was installed instead of the delta-T sensor.

Byrd	Station stopped 11 April.

Mount Siple	Pressure erratic in summer half of year. Site has a "dog house" AWS 	without wind speed and direction.

Harry	Pressure erratic in summer half of year. Station operated erratically in May and July and stopped 26 July. Station resumed transmission 21 October and operated erratically in December.

J.C.	Station resumed transmitting on 18 January after power was disconnected and reconnected. Wind speed and direction not functioning. Station stopped 2 May due to low battery voltage and resumed transmitting 17 October as battery recharges in the austral spring. No humidity sensor.

Theresa	Station resumed transmitting on 18 January after power supply was disconnected and reconnected. Station operated sporadically from mid-May through September. Delta-T not functioning properly mid-February to mid-November.

Doug	Pressure erratic from mid-May through November. Station stopped 26 	November. Delta-T not functioning properly.

Brianna	Station transmitted erratically from the end of July to the beginning of 	October due to low battery voltage.

Elizabeth	Station resumed transmitting 15 February. Aerovane operated intermittently June through September. Station transmitted erratically after 14 November.

Erin	Station replaced and began transmitting 18 January. Aerovane stopped functioning 6 April. Station stopped 17 July due to low battery voltage and resumed transmission in late September as battery recharged in the austral spring.

Marble Point             	OK.

Ferrell	OK.

Pegasus North	No pressure reports due to calibration problem. Relative humidity sensor 	not functioning properly.

Pegasus South	Relative humidity sensor not functioning properly.

Minna Bluff	OK.

Linda	OK.

Willie Field	OK.

Whitlock	Intermittent wind data from April to November. Intermittent transmissions 	in

August and September due to low battery voltage.

Scott Island	Sporadic transmissions. Station stopped 7 March due to low battery 	voltage. Site has a "dog house" AWS without wind speed and direction.

Young Island	Another Adog house@ AWS without wind speed and direction installed 26 January. Station not functioning properly for three weeks in February.

Possession Island	Transmissions were irregular in November and December. Site has a "dog house" AWS without wind speed and direction.

Marilyn	OK.

Schwerdtfeger	Station reinstalled 27 January. Relative humidity is erratic August-October.

Gill	Aerovane operated intermittently during July-November. Delta-T not 	functioning properly the first part of January. Relative humidity not 	functioning properly the last part of January until the end of the year.

Lettau	Station transmitted sporadically February-April and stopped 12 April. The 	station resumed transmitting 10 November

Elaine	Aerovane did not function throughout the year. The delta-T sensor was not 	operating properly.

Manuela	Aerovane was replaced on 4 February. Aerovane stopped again on 29 	July.

Lynn	Station stopped transmitting on 3 April and resumed on 30 April.

Larsen Ice	Aerovane did not operate after June.

Butler Island	Pressure corrected.

Uranus Glacier	Station stopped 13 February and resumed transmission 3 December with one day of transmission on 31 October.

Racer Rock	Intermittent data transmission, very sparse from last half of May through the

end of the year due to low battery voltage.

Bonaparte Point	New batteries installed in January. Station resumed transmission 29 January, but the pressure was not functioning properly. Station stopped 11 July. New station electronics installed 23 December.

Recovery Glacier	Station removed.

Ski-Hi	Intermittent data transmissions.

Santa Claus Island	Water temperature probe did not function due to a defective probe.  Temperature began to malfunction in May. Aerovane did not operate during June and August -September. Station stopped 28 September due to low battery voltage. New station electronics and batteries were installed 25 December. Aerovane still not functioning.

Limbert	No delta-T sensor. Aerovane “frozen” most of the time from the end of 	February through October.

AGO-A84	Station installed 9 January. Aerovane “frozen” most of the time from the end

of April through the beginning of November. Station stopped 16 July due

to low battery voltage and resumed transmission 18 September as 	battery recharged in the austral spring.

Clean Air	Pressure jumped erratically March-October.

Nico	Aerovane occasionally “frozen” during the winter months.

Henry	Station stopped 12 September due to low battery voltage and resumed 	transmission 14 October as battery recharged in the austral spring.

Relay Station	OK.

Dome Fuji	Pressure not functioning correctly.

6.2  AWS Antarctic Field Activities

Field activities for 1996 began with the arrival of Charles Stearns, Greig Thompson and Jonathan Thom at McMurdo in early January to begin repair work in the Siple Coast and Ross Ice Shelf areas. On 16 January, Stearns, Thompson, and Thom left McMurdo Station for Up Stream Bravo. On 17 January, a Twin Otter flight was made to Elizabeth site and AWS 21356 was removed and replaced with new 21361 electronics. The antenna cable did not have the shield soldered to the TNC connector. The aerovane was replaced with a Bendix aerovane, and the antenna cable was replaced with one that had the shield soldered to the TNC connector.

On 18 January, a Twin Otter flight was made to J.C. site. The power supply was disconnected and then reconnected, and the unit began to cycle normally. The malfunctioning wind direction was not checked because of the high wind speed at the time of the site visit. The flight continued on to Erin site, where the antenna cable was replaced with one that had the shield soldered to the TNC connector, but the unit still did not transmit. Because of limited resources, the electronics were not replaced at that time, and the party returned to Up Stream Bravo. A Twin Otter flight was made to Theresa site. One battery box was not connected to the junction box. The power supply was disconnected and then reconnected, and the station began to cycle normally. A second flight to Erin site was then made and AWS 21361 was replaced with 21363. A Belfort aerovane was also installed. On 19 January, Stearns, Thom, and Thompson returned to McMurdo Station.

On 23 January, a Twin Otter flight was made to Marilyn site. The site was raised by clamping two 1.8 m Rohn tower sections to the exposed 2.0 m of Triex tower using two sets of mounting bars. Three nylon rope guys were added to the tower addition. Two boxes of three gel-cell batteries were installed as well as a new power junction box and a new solar panel. The boom is now 3.8 m above the snow surface. The 1/8 in diameter antenna was replaced with a 1/4 in diameter one. On 24 January, a Twin Otter flight was made to Gill site, and the site was raised in a similar fashion as that at Marilyn.

A Twin Otter flight was made to Schwerdtfeger site on 27 January, and AWS 8913 was installed. A Bendix aerovane was installed as well as 2 boxes of three gel-cell batteries and new battery cables.

Using parts from the AWS units returned from Up Stream Bravo, AWS units 8980 and 8983 were repaired. Crew members of the USCG Polar Star installed a dog house AWS 8980 at Young Island on 26 January. Dog house AWS 8983 was not installed at Scott Island because of fog. AWS 8983 was returned to Seattle for installation during the next field season.

On the Antarctic Peninsula, members of the Long Term Ecological Research group replaced the batteries at Bonaparte Point AWS site on 14 January and installed a sea-water temperature probe at Santa Claus Island AWS site on 13 February. The sea water temperature probe did not function properly due to inadequate instrument design and manufacture.

Members of Programma Nazionale di Ricerche in Antartide at Terra Nova Bay installed a Belfort aerovane at Manuela site on 4 February. The aerovane was delivered to them by the Polar Star on the refueling trip for the base.

Members of the Institut Francais pour la Recherche et la Technologie Polaires (IFRTP) removed AWS 8919 from D-80 and installed AWS 8916 in its place on 24 January. On 8 February, AWS 21360 was installed at D-57, and AWS 8986 was installed at D-47 on 11 February. Also, AWS 21364 was inadvertently removed from D-10 on 21 January. The replacement unit, AWS 8919, did not function.

In December, 1996 Tony Amos took the place of C.R. Stearns on the Polar Duke to repair the AWS units on Bonaparte Point and Santa Claus Island. At Bonaparte Point on 23 December, Amos replaced the AWS electronics, batteries, and boom. The electronic box connectors to the boom and junction box were replaced with connectors that are supposed to be capable of withstanding corrosion by salt water. The connections between the junction box and the batteries and solar panel were wired directly and the openings were plugged with modeling clay. The water temperature sensor was installed in the sea water at Bonaparte Point. The water temperature probe that was removed was severely damaged by the salt water and the action of the sea ice. At Santa Claus Island on 26 December the pipes protecting the water temperature probe were destroyed. In addition, the AWS tower was bent at the base but left in place. The replacements were similar to those at Bonaparte Point. The water temperature probe was left on the surface and not put into the water. A stop was made at Racer Rock. The AWS unit was operating intermittently but the equipment was not available to make the necessary repairs.

7.  GLOBAL TELECOMMUNICATIONS SYSTEM

The data from 35 Antarctic AWS units were entered into the Global Telecommunications System (GTS) during 1995. The data are collected by Service ARGOS. As soon as the data are received, Service ARGOS processes them and sends them on to the National Weather Service which distributes the data to the GTS. The data headers are:

SMAA14 KARS YYGGgg

SIAA14 KARS YYGGgg

SNAA14 KARS YYGGgg

where S indicates surface, M is main observations (at 00, 06, 12, and 18 UT), I is intermediate observations (at 03, 09, 15, and 21 UT), and N is any other time.  AA14 is for Antarctica, and KARS stands for the Landover receiving center (backup is LFPW for the center in Toulouse, France).  YY indicates the day in the month, GG is the hour, and gg is the minutes.  Table 3.1 contains the WMO # used by the GTS grouped according to their purpose and proximity where possible.

The University of Wisconsin-Madison is responsible for obtaining WMO numbers for AWS sites and for providing Service ARGOS with calibration information for processing the data.  The main reason for getting the AWS data into the GTS is to make sure that the data are available in near real time for all organizations operating in Antarctica.  Of all the meteorological data in the GTS received by the Australian Bureau of Meteorology at Hobart, Tasmania, the AWS units provided more surface meteorological data than all the manned stations.

8.  DATA AVAILABILITY

The data from our Automatic Weather Stations are available by anonymous FTP.  The IP number is 144.92.108.169 (ice.ssec.wisc.edu).  The login is "anonymous" (do not use the quotation marks), and the password is your email address.  Once you have logged in, change to the pub subdirectory.  A listing of our station locations, names, and ARGOS ID numbers is located in the file "biglist" in this subdirectory.  It is meant to serve as a guide to our stations as their ID numbers sometimes change.  A complete guide for navigating the site may be found in the file Areadme.faq@.

Our three-hourly interval data for Antarctica are contained in the year subdirectories of pub/antrdr.  The data have been corrected, i.e. an effort has been made to remove the bad data points.  These data take longer to process, so the data for recent months are not available in this format.  Within each of the year subdirectories of pub/antrdr, there are text files named "3hrlist??" (where ?? indicates the last two digits of the year).  These files list what station's data are contained in which files.  The file Areadme.updates@ in pub/antrdr contains information on updates and/or corrections to the data, and the file Areadme.3format@ contains file name construction information and format of the three-hourly data.  The file "readme.mailinglist" contains information on joining a mailing list which distributes information on data updates and changes. To subscribe, send email to majordomo@ice.ssec.wisc.edu with the subject line left blank. In the message body, type Asubscribe three yourname@email.address@ (do no use quotation marks) and substitute your own email address for Ayourname@email.address@.

The directory pub/summary/monthly contains printable text files of the paper data summary sheets.  The format of the files can be found in the file "readme.sum" while updates and corrections to the data are located in "readme.sumupdates".  The data are located in year subdirectories of pub/summary/monthly.

For those users who need more current information, we have created 10 minute interval data for each station.  These data are located in year subdirectories of pub/10min/rdr.  The data have been calibrated for the individual station instruments, but no other corrections have been made.  The data are generally available up to and including the last full month of the current year.  The year subdirectories also contain a text file named "namelist??" (where ?? indicates the last two digits of the year in question).  These files list what station's data are contained in which files.

Several important readme files are located in pub/10min/rdr.  The file "readme.5digit" contains information on the Siple Coast stations which have a different station identification.  The file "readme.format" contains information on filename construction of the data, as well as file content and is a must for those unfamiliar with the data.  The file "readme.updates" contains important information on changes/additions to the data, and the file Areadme.mailinglist@ contains information on joining a mailing list to receive notification by email of data changes and updates. To subscribe, send email to majordomo@ice.ssec.wisc.edu with the subject line left blank. In the message body, type Asubscribe ant yourname@email.address@ (do no use quotation marks) and substitute your own email address for Ayourname@email.address@. If you would like to see a list of all available mailing lists, please send email to majordomo@ice.ssec.wisc.edu with the subject line blank. In the message body type Alist@.

Our site is available 24 hours a day, 7 days a week.  If you have questions or problems, send email to aws@ice.ssec.wisc.edu.  We can also be reached by phone at (608) 265-2209 or fax at (608) 263-6738.

By mail, please contact:

Linda M. Keller

University of Wisconsin

Dept. of Atmospheric and Oceanic Sciences

1225 W. Dayton St.

Madison, WI  53706

USA

9.  ACKNOWLEDGMENTS

This work is supported by the National Science Foundation, Office of Polar Programs, Grants 9303569 and 9419128 under the management of Dr. Bernhard Lettau of the National Science Foundation.  Expeditions Polaires Francaises installs and maintains the AWS units from the Adelie Coast to Dome C.  The British Antarctic Survey maintains the AWS units on the east side of the Antarctic Peninsula and south of Adelaide Island.